## Data In
Data In (From USB Serial Device (COM7))
Data coming from the current data source will appear below as it is received.
Current Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10
44775.6454 | 51.05 | 51.31 | 46.15 | 28.01 | 28.33 | 28.77 | 50.75 | 28.91
Historical Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10 | track velocity | a | b | c | Tc | k (AB) | k (BC) | k (AC) | Th (AB) | Th (BC) | Th (AC) | Th! (AB) | Th! (BC) | Th! (AC) | Th Pred | Th test | Delta
44775.6447 | 47.73 | 48.13 | 45.57 | 27.43 | 27.67 | 27.97 | 47.85 | 27.93 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.69 | -0.0054899 | 0.039825 | 0.016386 | 47.3378 | 54.9176 | 48.9477 | 47.3378 | 48.9477 | 48.9477 | 48.4111 | 47.85 | 0.56109
44775.6448 | 46.95 | 47.67 | 45.67 | 27.43 | 27.67 | 27.99 | 48.11 | 27.93 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.6967 | -0.010198 | 0.031401 | 0.0098843 | 46.256 | 52.737 | 47.6474 | 46.256 | 47.6474 | 47.6474 | 47.1836 | 48.11 | -0.92639
44775.6448 | 46.81 | 47.29 | 45.67 | 27.45 | 27.67 | 28.01 | 48.03 | 27.95 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.71 | -0.0068945 | 0.025703 | 0.0088421 | 46.3418 | 51.2704 | 47.4278 | 46.3418 | 47.4278 | 47.4278 | 47.0658 | 48.03 | -0.96423
44775.6448 | 46.39 | 46.99 | 45.67 | 27.47 | 27.67 | 27.99 | 48.39 | 27.95 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.71 | -0.0087819 | 0.021108 | 0.0056475 | 45.8087 | 50.1544 | 46.7737 | 45.8087 | 46.7737 | 46.7737 | 46.452 | 48.39 | -1.938
44775.6448 | 46.57 | 46.41 | 45.57 | 27.43 | 27.67 | 27.99 | 48.69 | 27.95 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.6967 | 0.0023649 | 0.013669 | 0.0078219 | 46.7314 | 48.3453 | 47.109 | 46.7314 | 47.109 | 47.109 | 46.9831 | 48.69 | -1.7069
44775.6448 | 45.79 | 45.81 | 45.71 | 27.45 | 27.69 | 28.01 | 48.59 | 27.97 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7167 | -0.00030722 | 0.0016495 | 0.00063739 | 45.77 | 46.0262 | 45.8315 | 45.77 | 45.8315 | 45.8315 | 45.811 | 48.59 | -2.779
44775.6448 | 45.45 | 45.83 | 45.81 | 27.47 | 27.71 | 28.01 | 49.11 | 27.97 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.73 | -0.0058939 | 0.00032904 | -0.0028897 | 45.078 | 45.8729 | 45.2666 | 45.078 | 45.2666 | 45.2666 | 45.2037 | 49.11 | -3.9063
44775.6448 | 45.37 | 45.29 | 46.07 | 27.47 | 27.71 | 28.01 | 49.87 | 27.95 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.73 | 0.0012626 | -0.012935 | -0.0055913 | 45.4504 | 43.7285 | 45.0185 | 45.4504 | 45.0185 | 45.0185 | 45.1624 | 49.87 | -4.7076
44775.6448 | 45.25 | 44.91 | 45.73 | 27.47 | 27.71 | 27.99 | 50.31 | 27.97 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7233 | 0.0054416 | -0.013871 | -0.003882 | 45.5967 | 43.2764 | 45.0068 | 45.5967 | 45.0068 | 45.0068 | 45.2034 | 50.31 | -5.1066
44775.6448 | 44.99 | 44.67 | 45.19 | 27.45 | 27.65 | 28.01 | 51.55 | 27.97 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7033 | 0.0051902 | -0.0089845 | -0.0016528 | 45.316 | 43.6072 | 44.8875 | 45.316 | 44.8875 | 44.8875 | 45.0303 | 51.55 | -6.5197
44775.6448 | 45.47 | 44.25 | 44.93 | 27.47 | 27.73 | 28.01 | 51.99 | 27.99 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7367 | 0.019799 | -0.01201 | 0.0044432 | 46.7801 | 42.8821 | 45.7559 | 46.7801 | 45.7559 | 45.7559 | 46.0973 | 51.99 | -5.8927
44775.6448 | 45.85 | 43.91 | 44.49 | 27.49 | 27.71 | 28.01 | 53.17 | 27.97 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7367 | 0.031468 | -0.010486 | 0.011214 | 48.0227 | 42.7339 | 46.5962 | 48.0227 | 46.5962 | 46.5962 | 47.0717 | 53.17 | -6.0983
44775.6448 | 45.97 | 44.01 | 43.73 | 27.49 | 27.75 | 28.01 | 53.45 | 27.99 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.75 | 0.031614 | 0.0051697 | 0.018848 | 48.1663 | 44.6266 | 47.2492 | 48.1663 | 47.2492 | 47.2492 | 47.5549 | 53.45 | -5.8951
44775.6448 | 46.17 | 43.51 | 43.83 | 27.51 | 27.71 | 28.01 | 54.53 | 27.99 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7433 | 0.043306 | -0.00598 | 0.019513 | 49.2788 | 42.8456 | 47.5109 | 49.2788 | 47.5109 | 47.5109 | 48.1002 | 54.53 | -6.4298
44775.6448 | 47.05 | 43.31 | 43.53 | 27.49 | 27.73 | 28.07 | 55.43 | 27.99 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7633 | 0.05988 | -0.0041821 | 0.028953 | 51.6897 | 42.8489 | 49.1688 | 51.6897 | 49.1688 | 49.1688 | 50.0091 | 55.43 | -5.4209
44775.6448 | 48.11 | 43.09 | 43.33 | 27.49 | 27.71 | 28.07 | 55.97 | 28.03 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7567 | 0.078671 | -0.0046223 | 0.03846 | 54.7735 | 42.5881 | 51.1325 | 54.7735 | 51.1325 | 51.1325 | 52.3462 | 55.97 | -3.6238
44775.6448 | 49.05 | 43.31 | 42.77 | 27.53 | 27.73 | 28.07 | 57.17 | 28.03 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7767 | 0.087352 | 0.010531 | 0.050266 | 56.9111 | 44.5335 | 53.2698 | 56.9111 | 53.2698 | 53.2698 | 54.4836 | 57.17 | -2.6864
44775.6448 | 49.77 | 43.73 | 42.49 | 27.51 | 27.75 | 28.07 | 57.35 | 28.05 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7767 | 0.089187 | 0.024081 | 0.057757 | 58.0968 | 46.7504 | 54.8531 | 58.0968 | 54.8531 | 54.8531 | 55.9343 | 57.35 | -1.4157
44775.6449 | 1037.55 | 43.99 | 42.57 | 27.53 | 27.73 | 1037.55 | 57.29 | 28.05 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 364.27 | #NUM! | -0.0013166 | #NUM! | #NUM! | 47.0118 | #NUM! |  |  |  | #DIV/0! | 57.29 | #DIV/0!
44775.6449 | 1037.55 | 44.13 | 41.83 | 27.49 | 27.73 | 1037.55 | 57.03 | 28.05 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 364.2567 | #NUM! | -0.0021306 | #NUM! | #NUM! | 49.0035 | #NUM! |  |  |  | #DIV/0! | 57.03 | #DIV/0!
44775.6449 | 1037.55 | 44.73 | 42.03 | 27.51 | 27.75 | 1037.55 | 56.51 | 28.07 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 364.27 | #NUM! | -0.0025042 | #NUM! | #NUM! | 50.4398 | #NUM! |  |  |  | #DIV/0! | 56.51 | #DIV/0!
44775.6449 | 52.85 | 45.51 | 41.93 | 27.53 | 27.73 | 28.07 | 55.79 | 28.09 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7767 | 0.096211 | 0.067112 | 0.082163 | 63.2281 | 56.5271 | 61.4798 | 63.2281 | 61.4798 | 61.4798 | 62.0626 | 55.79 | 6.2726
44775.6449 | 53.89 | 46.57 | 41.83 | 27.53 | 27.75 | 28.09 | 55.31 | 28.09 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.79 | 0.091429 | 0.086572 | 0.089084 | 64.0632 | 62.8167 | 63.7583 | 64.0632 | 63.7583 | 63.7583 | 63.8599 | 55.31 | 8.5499
44775.6449 | 54.13 | 47.09 | 42.33 | 27.53 | 27.79 | 28.07 | 54.35 | 28.09 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7967 | 0.08641 | 0.08432 | 0.085401 | 63.7388 | 63.202 | 63.6085 | 63.7388 | 63.6085 | 63.6085 | 63.652 | 54.35 | 9.302
44775.6449 | 54.21 | 47.75 | 42.35 | 27.59 | 27.81 | 28.11 | 53.05 | 28.13 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8367 | 0.078046 | 0.094143 | 0.085817 | 62.7657 | 67.058 | 63.7567 | 62.7657 | 63.7567 | 63.7567 | 63.4263 | 53.05 | 10.3763
44775.6449 | 53.93 | 47.63 | 42.67 | 27.57 | 27.75 | 28.11 | 52.09 | 28.09 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.81 | 0.076669 | 0.08572 | 0.081039 | 62.2325 | 64.5503 | 62.7782 | 62.2325 | 62.7782 | 62.7782 | 62.5963 | 52.09 | 10.5063
44775.6449 | 53.35 | 48.75 | 43.01 | 27.53 | 27.75 | 28.11 | 52.07 | 28.09 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.7967 | 0.055131 | 0.095275 | 0.074511 | 58.9599 | 69.4042 | 61.2117 | 58.9599 | 61.2117 | 61.2117 | 60.4611 | 52.07 | 8.3911
44775.6449 | 52.97 | 49.27 | 43.37 | 27.57 | 27.79 | 28.11 | 51.49 | 28.11 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8233 | 0.04421 | 0.095751 | 0.069092 | 57.3083 | 70.5565 | 60.0713 | 57.3083 | 60.0713 | 60.0713 | 59.1503 | 51.49 | 7.6603
44775.6449 | 52.49 | 49.65 | 43.87 | 27.53 | 27.81 | 28.11 | 50.93 | 28.17 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8167 | 0.033968 | 0.091524 | 0.061754 | 55.6994 | 70.0163 | 58.6328 | 55.6994 | 58.6328 | 58.6328 | 57.655 | 50.93 | 6.725
44775.6449 | 52.21 | 50.09 | 44.23 | 27.59 | 27.81 | 28.13 | 50.35 | 28.17 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8433 | 0.025284 | 0.090989 | 0.057004 | 54.532 | 70.6766 | 57.7604 | 54.532 | 57.7604 | 57.7604 | 56.6843 | 50.35 | 6.3343
44775.6449 | 51.15 | 50.49 | 44.61 | 27.57 | 27.81 | 28.17 | 49.71 | 28.17 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.85 | 0.007982 | 0.089501 | 0.047336 | 51.8292 | 70.976 | 55.4789 | 51.8292 | 55.4789 | 55.4789 | 54.2624 | 49.71 | 4.5524
44775.6449 | 50.35 | 50.61 | 44.99 | 27.57 | 27.79 | 28.17 | 49.55 | 28.17 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8433 | -0.0031905 | 0.084373 | 0.039082 | 50.093 | 69.6386 | 53.7501 | 50.093 | 53.7501 | 53.7501 | 52.5311 | 49.55 | 2.9811
44775.6449 | 49.05 | 50.49 | 45.39 | 27.61 | 27.81 | 28.17 | 49.41 | 28.19 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8633 | -0.018266 | 0.076014 | 0.027248 | 47.7016 | 66.9752 | 51.2336 | 47.7016 | 51.2336 | 51.2336 | 50.0563 | 49.41 | 0.64631
44775.6449 | 48.85 | 50.27 | 45.37 | 27.59 | 27.81 | 28.17 | 48.89 | 28.19 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8567 | -0.018181 | 0.073421 | 0.026041 | 47.52 | 65.8832 | 50.9132 | 47.52 | 50.9132 | 50.9132 | 49.7821 | 48.89 | 0.89215
44775.6449 | 48.61 | 50.21 | 46.29 | 27.57 | 27.81 | 28.17 | 48.35 | 28.17 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.85 | -0.020624 | 0.057366 | 0.017027 | 47.1245 | 61.645 | 49.9223 | 47.1245 | 49.9223 | 49.9223 | 48.9897 | 48.35 | 0.63971
44775.645 | 48.41 | 49.79 | 46.53 | 27.57 | 27.85 | 28.19 | 48.49 | 28.19 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.87 | -0.018063 | 0.047922 | 0.013792 | 47.1169 | 58.822 | 49.4556 | 47.1169 | 49.4556 | 49.4556 | 48.676 | 48.49 | 0.18601
44775.645 | 47.55 | 49.13 | 46.79 | 27.57 | 27.85 | 28.19 | 48.35 | 28.21 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.87 | -0.021451 | 0.034705 | 0.0056585 | 46.0874 | 55.1649 | 47.955 | 46.0874 | 47.955 | 47.955 | 47.3325 | 48.35 | -1.0175
44775.645 | 47.29 | 48.97 | 47.31 | 27.59 | 27.83 | 28.21 | 48.59 | 28.21 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8767 | -0.023055 | 0.024395 | -0.00014794 | 45.7438 | 53.0202 | 47.2797 | 45.7438 | 47.2797 | 47.2797 | 46.7677 | 48.59 | -1.8223
44775.645 | 47.03 | 48.37 | 47.41 | 27.61 | 27.85 | 28.17 | 48.89 | 28.19 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8767 | -0.018784 | 0.014279 | -0.0028226 | 45.7776 | 50.589 | 46.8364 | 45.7776 | 46.8364 | 46.8364 | 46.4834 | 48.89 | -2.4066
44775.645 | 46.85 | 47.63 | 47.55 | 27.57 | 27.85 | 28.21 | 48.91 | 28.21 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8767 | -0.011191 | 0.0012078 | -0.0052054 | 46.1008 | 47.8025 | 46.4978 | 46.1008 | 46.4978 | 46.4978 | 46.3654 | 48.91 | -2.5446
44775.645 | 46.53 | 46.69 | 47.33 | 27.59 | 27.87 | 28.21 | 49.29 | 28.29 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.89 | -0.0023742 | -0.0099631 | -0.0060378 | 46.3714 | 45.3886 | 46.1292 | 46.3714 | 46.1292 | 46.1292 | 46.2099 | 49.29 | -3.0801
44775.645 | 46.07 | 1037.55 | 47.23 | 27.61 | 1037.55 | 28.23 | 49.65 | 28.25 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 364.4633 | #NUM! | #NUM! | 0.00052442 | #NUM! | #NUM! | 45.4683 |  | 45.4683 | 45.4683 | 45.4683 | 49.65 | -4.1817
44775.645 | 45.97 | 1037.55 | 47.07 | 27.61 | 1037.55 | 28.27 | 50.05 | 28.25 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 364.4767 | #NUM! | #NUM! | 0.00049707 | #NUM! | #NUM! | 45.3995 |  | 45.3995 | 45.3995 | 45.3995 | 50.05 | -4.6505
44775.645 | 45.97 | 45.75 | 46.81 | 27.61 | 27.87 | 28.21 | 50.45 | 28.25 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.8967 | 0.003402 | -0.017166 | -0.0065272 | 46.1927 | 43.6744 | 45.5503 | 46.1927 | 45.5503 | 45.5503 | 45.7644 | 50.45 | -4.6856
44775.645 | 46.51 | 45.23 | 46.53 | 27.61 | 27.87 | 28.23 | 51.67 | 28.27 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.9033 | 0.019798 | -0.021532 | -0.00015435 | 47.8846 | 42.7417 | 46.4997 | 47.8846 | 46.4997 | 46.4997 | 46.9613 | 51.67 | -4.7087
44775.645 | 46.63 | 44.77 | 45.89 | 27.61 | 27.91 | 28.27 | 53.15 | 28.29 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.93 | 0.029102 | -0.019164 | 0.0058012 | 48.6954 | 42.5996 | 47.0246 | 48.6954 | 47.0246 | 47.0246 | 47.5816 | 53.15 | -5.5684
44775.645 | 46.93 | 44.55 | 45.39 | 27.61 | 27.91 | 28.27 | 53.41 | 28.29 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.93 | 0.037176 | -0.014674 | 0.012145 | 49.6508 | 42.8836 | 47.7791 | 49.6508 | 47.7791 | 47.7791 | 48.403 | 53.41 | -5.007
44775.645 | 47.35 | 44.45 | 44.43 | 27.63 | 27.91 | 28.23 | 54.15 | 28.29 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.9233 | 0.044909 | 0.00036039 | 0.023403 | 50.7589 | 44.4929 | 49.0576 | 50.7589 | 49.0576 | 49.0576 | 49.6247 | 54.15 | -4.5253
44775.645 | 48.27 | 43.91 | 43.73 | 27.65 | 27.91 | 28.29 | 54.49 | 28.31 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.95 | 0.067089 | 0.0033757 | 0.036331 | 53.8211 | 44.3027 | 51.1093 | 53.8211 | 51.1093 | 51.1093 | 52.0132 | 54.49 | -2.4768
44775.645 | 49.03 | 1037.55 | 43.51 | 27.61 | 1037.55 | 28.29 | 55.25 | 28.31 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 364.4833 | #NUM! | #NUM! | -0.0024924 | #NUM! | #NUM! | 51.8478 |  | 51.8478 | 51.8478 | 51.8478 | 55.25 | -3.4022
44775.645 | 49.57 | 1037.55 | 43.41 | 27.63 | 1037.55 | 28.29 | 55.43 | 28.31 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 364.49 | #NUM! | #NUM! | -0.0027833 | #NUM! | #NUM! | 52.7097 |  | 52.7097 | 52.7097 | 52.7097 | 55.43 | -2.7203
44775.645 | 50.83 | 1037.55 | 42.97 | 27.65 | 1037.55 | 28.31 | 55.81 | 28.33 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 364.5033 | #NUM! | #NUM! | -0.0035559 | #NUM! | #NUM! | 54.8198 |  | 54.8198 | 54.8198 | 54.8198 | 55.81 | -0.99018
44775.6451 | 51.07 | 44.65 | 42.77 | 27.61 | 27.93 | 28.31 | 55.65 | 28.33 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.95 | 0.090358 | 0.035545 | 0.063897 | 59.958 | 49.5206 | 57.0496 | 59.958 | 57.0496 | 57.0496 | 58.0191 | 55.65 | 2.3691
44775.6451 | 51.49 | 44.77 | 42.45 | 27.63 | 27.93 | 28.33 | 56.55 | 28.33 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.9633 | 0.093433 | 0.04421 | 0.06967 | 60.8969 | 51.0693 | 58.1968 | 60.8969 | 58.1968 | 58.1968 | 59.0968 | 56.55 | 2.5468
44775.6451 | 51.83 | 45.13 | 42.29 | 27.65 | 27.93 | 28.31 | 56.37 | 28.31 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.9633 | 0.091531 | 0.053823 | 0.073328 | 61.145 | 53.2556 | 59.0402 | 61.145 | 59.0402 | 59.0402 | 59.7418 | 56.37 | 3.3718
44775.6451 | 52.61 | 45.79 | 42.15 | 27.65 | 27.97 | 28.33 | 56.27 | 28.35 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.9833 | 0.090071 | 0.06806 | 0.079445 | 62.0421 | 57.0503 | 60.7638 | 62.0421 | 60.7638 | 60.7638 | 61.1899 | 56.27 | 4.9199
44775.6451 | 52.69 | 46.15 | 42.49 | 27.67 | 27.97 | 28.35 | 55.61 | 28.35 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.9967 | 0.085466 | 0.067014 | 0.076558 | 61.5861 | 57.4072 | 60.526 | 61.5861 | 60.526 | 60.526 | 60.8794 | 55.61 | 5.2694
44775.6451 | 53.09 | 47.03 | 42.41 | 27.67 | 27.97 | 28.33 | 54.89 | 28.37 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.99 | 0.076757 | 0.082716 | 0.079634 | 61.0788 | 62.5293 | 61.4232 | 61.0788 | 61.4232 | 61.4232 | 61.3084 | 54.89 | 6.4184
44775.6451 | 53.03 | 47.87 | 42.81 | 27.67 | 27.95 | 28.35 | 54.19 | 28.37 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 27.99 | 0.0641 | 0.087422 | 0.075359 | 59.5293 | 65.2958 | 60.8339 | 59.5293 | 60.8339 | 60.8339 | 60.399 | 54.19 | 6.209
44775.6451 | 53.51 | 48.31 | 42.67 | 27.65 | 28.01 | 28.37 | 53.23 | 28.37 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.01 | 0.063349 | 0.096874 | 0.079534 | 60.042 | 68.787 | 61.9638 | 60.042 | 61.9638 | 61.9638 | 61.3232 | 53.23 | 8.0932
44775.6451 | 53.57 | 48.67 | 42.93 | 27.67 | 27.97 | 28.37 | 52.45 | 28.39 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.0033 | 0.059102 | 0.096837 | 0.077319 | 59.6318 | 69.5057 | 61.7755 | 59.6318 | 61.7755 | 61.7755 | 61.0609 | 52.45 | 8.6109
44775.6451 | 53.17 | 48.97 | 43.51 | 27.69 | 28.01 | 28.41 | 52.03 | 28.41 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.0367 | 0.050792 | 0.089948 | 0.069695 | 58.2127 | 68.0402 | 60.3376 | 58.2127 | 60.3376 | 60.3376 | 59.6293 | 52.03 | 7.5993
44775.6451 | 52.59 | 49.65 | 43.51 | 27.67 | 27.97 | 28.39 | 51.31 | 28.43 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.01 | 0.035386 | 0.099316 | 0.066249 | 55.9294 | 72.2497 | 59.2104 | 55.9294 | 59.2104 | 59.2104 | 58.1167 | 51.31 | 6.8067
44775.6451 | 52.35 | 49.61 | 44.01 | 27.69 | 27.97 | 28.39 | 51.39 | 28.43 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.0167 | 0.033184 | 0.089349 | 0.060298 | 55.4377 | 69.1039 | 58.2493 | 55.4377 | 58.2493 | 58.2493 | 57.3121 | 51.39 | 5.9221
44775.6451 | 51.81 | 49.57 | 44.61 | 27.71 | 28.03 | 28.39 | 51.19 | 28.41 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.0433 | 0.027498 | 0.077946 | 0.051852 | 54.2831 | 65.7753 | 56.6876 | 54.2831 | 56.6876 | 56.6876 | 55.8861 | 51.19 | 4.6961
44775.6451 | 51.19 | 49.79 | 45.39 | 27.69 | 28.05 | 28.43 | 51.37 | 28.43 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.0567 | 0.017341 | 0.067326 | 0.041472 | 52.6802 | 63.3465 | 54.9149 | 52.6802 | 54.9149 | 54.9149 | 54.17 | 51.37 | 2.8
44775.6451 | 50.33 | 50.07 | 45.85 | 27.71 | 28.03 | 28.43 | 50.93 | 28.43 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.0567 | 0.0032616 | 0.063341 | 0.032265 | 50.5931 | 62.79 | 53.0734 | 50.5931 | 53.0734 | 53.0734 | 52.2466 | 50.93 | 1.3166
44775.6451 | 49.27 | 50.39 | 45.91 | 27.71 | 28.05 | 28.43 | 51.47 | 28.49 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.0633 | -0.014296 | 0.066656 | 0.024784 | 48.2062 | 64.1422 | 51.2491 | 48.2062 | 51.2491 | 51.2491 | 50.2348 | 51.47 | -1.2352
44775.6451 | 49.13 | 50.33 | 46.15 | 27.69 | 28.03 | 28.49 | 52.05 | 28.47 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.07 | -0.015393 | 0.0619 | 0.021921 | 47.9947 | 62.8302 | 50.8593 | 47.9947 | 50.8593 | 50.8593 | 49.9044 | 52.05 | -2.1456
44775.6452 | 49.11 | 50.23 | 46.79 | 27.73 | 28.07 | 28.45 | 52.33 | 28.47 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.0833 | -0.014415 | 0.05024 | 0.016798 | 48.0466 | 59.8817 | 50.4207 | 48.0466 | 50.4207 | 50.4207 | 49.6294 | 52.33 | -2.7006
44775.6452 | 48.91 | 49.81 | 46.91 | 27.71 | 28.09 | 28.45 | 52.87 | 28.51 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.0833 | -0.011752 | 0.042639 | 0.014506 | 48.0473 | 57.6172 | 50.0265 | 48.0473 | 50.0265 | 50.0265 | 49.3667 | 52.87 | -3.5033
44775.6452 | 48.85 | 49.45 | 47.27 | 27.73 | 28.07 | 28.49 | 52.81 | 28.49 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.0967 | -0.0079169 | 0.03205 | 0.011377 | 48.2669 | 54.9924 | 49.7177 | 48.2669 | 49.7177 | 49.7177 | 49.2341 | 52.81 | -3.5759
44775.6452 | 48.85 | 49.05 | 1037.55 | 1037.55 | 28.07 | 28.43 | 52.57 | 28.51 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 364.6833 | 0.00017596 | #NUM! | #NUM! | 48.6499 | #NUM! | #NUM! | 48.6499 |  |  | 48.6499 | 52.57 | -3.9201
44775.6452 | 49.23 | 47.87 | 1037.55 | 1037.55 | 28.07 | 28.49 | 52.81 | 28.53 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 364.7033 | -0.0011949 | #NUM! | #NUM! | 50.5842 | #NUM! | #NUM! | 50.5842 |  |  | 50.5842 | 52.81 | -2.2258
44775.6452 | 49.65 | 47.35 | 48.13 | 27.75 | 28.07 | 28.51 | 53.17 | 28.51 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.11 | 0.031367 | -0.011827 | 0.010514 | 52.2249 | 45.7794 | 50.481 | 52.2249 | 50.481 | 50.481 | 51.0623 | 53.17 | -2.1077
44775.6452 | 50.33 | 46.95 | 48.05 | 27.73 | 28.07 | 28.53 | 53.51 | 28.51 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.11 | 0.045836 | -0.016889 | 0.015555 | 54.3164 | 44.7929 | 51.6098 | 54.3164 | 51.6098 | 51.6098 | 52.512 | 53.51 | -0.998
44775.6452 | 50.63 | 47.11 | 47.87 | 27.79 | 28.11 | 28.55 | 54.31 | 28.53 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.15 | 0.047304 | -0.011697 | 0.018821 | 54.8035 | 45.5786 | 52.2059 | 54.8035 | 52.2059 | 52.2059 | 53.0718 | 54.31 | -1.2382
44775.6452 | 50.25 | 46.79 | 47.47 | 27.75 | 28.11 | 28.53 | 54.73 | 28.55 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.13 | 0.04725 | -0.010653 | 0.019297 | 54.3516 | 45.4123 | 51.8413 | 54.3516 | 51.8413 | 51.8413 | 52.678 | 54.73 | -2.052
44775.6452 | 50.27 | 46.71 | 47.09 | 27.75 | 28.09 | 28.55 | 55.19 | 28.59 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.13 | 0.048694 | -0.0060255 | 0.022278 | 54.5121 | 45.9212 | 52.1188 | 54.5121 | 52.1188 | 52.1188 | 52.9166 | 55.19 | -2.2734
44775.6452 | 50.59 | 46.61 | 46.47 | 27.79 | 28.13 | 28.55 | 55.37 | 28.55 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.1567 | 0.054251 | 0.0022666 | 0.029155 | 55.4284 | 46.9136 | 53.0726 | 55.4284 | 53.0726 | 53.0726 | 53.8578 | 55.37 | -1.5122
44775.6452 | 50.63 | 46.93 | 45.37 | 27.75 | 28.11 | 28.53 | 55.35 | 28.55 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.13 | 0.049905 | 0.025781 | 0.038259 | 55.0582 | 50.7646 | 53.9525 | 55.0582 | 53.9525 | 53.9525 | 54.3211 | 55.35 | -1.0289
44775.6452 | 51.07 | 47.27 | 45.19 | 27.81 | 28.11 | 28.55 | 54.89 | 28.59 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.1567 | 0.05037 | 0.03429 | 0.042607 | 55.6255 | 52.6224 | 54.8685 | 55.6255 | 54.8685 | 54.8685 | 55.1208 | 54.89 | 0.23081
44775.6452 | 51.49 | 47.75 | 44.85 | 27.79 | 28.13 | 28.57 | 53.81 | 28.57 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.1633 | 0.048541 | 0.04769 | 0.04813 | 55.9441 | 55.7745 | 55.9031 | 55.9441 | 55.9031 | 55.9031 | 55.9168 | 53.81 | 2.1068
44775.6452 | 52.07 | 48.17 | 44.99 | 27.81 | 28.11 | 28.59 | 53.71 | 28.59 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.17 | 0.049485 | 0.051537 | 0.050476 | 56.7305 | 57.1555 | 56.8325 | 56.7305 | 56.8325 | 56.8325 | 56.7985 | 53.71 | 3.0885
44775.6452 | 52.33 | 47.79 | 44.83 | 27.83 | 28.11 | 28.55 | 52.83 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.1633 | 0.057801 | 0.048654 | 0.053386 | 57.9202 | 56.0236 | 57.4509 | 57.9202 | 57.4509 | 57.4509 | 57.6073 | 52.83 | 4.7773
44775.6452 | 52.75 | 47.73 | 44.81 | 27.81 | 28.13 | 28.59 | 52.07 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.1767 | 0.063477 | 0.048136 | 0.056071 | 59.0588 | 55.8294 | 58.2463 | 59.0588 | 58.2463 | 58.2463 | 58.5172 | 52.07 | 6.4472
44775.6453 | 52.45 | 47.73 | 44.45 | 27.81 | 28.13 | 28.59 | 51.61 | 28.59 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.1767 | 0.060065 | 0.054648 | 0.05745 | 58.3094 | 57.1569 | 58.027 | 58.3094 | 58.027 | 58.027 | 58.1212 | 51.61 | 6.5112
44775.6453 | 52.57 | 48.19 | 44.73 | 27.83 | 28.13 | 28.59 | 51.61 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.1833 | 0.054992 | 0.056512 | 0.055726 | 57.9089 | 58.2361 | 57.9875 | 57.9089 | 57.9875 | 57.9875 | 57.9613 | 51.61 | 6.3513
44775.6453 | 51.83 | 47.97 | 45.03 | 27.83 | 28.15 | 28.61 | 51.05 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.1967 | 0.049534 | 0.047909 | 0.04875 | 56.4435 | 56.1148 | 56.3638 | 56.4435 | 56.3638 | 56.3638 | 56.3904 | 51.05 | 5.3404
44775.6453 | 51.11 | 48.11 | 45.09 | 27.83 | 28.13 | 28.59 | 50.73 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.1833 | 0.038956 | 0.048914 | 0.043763 | 54.5617 | 56.5223 | 55.0221 | 54.5617 | 55.0221 | 55.0221 | 54.8686 | 50.73 | 4.1386
44775.6453 | 50.97 | 48.49 | 45.59 | 27.87 | 28.17 | 28.61 | 50.45 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2167 | 0.032057 | 0.045943 | 0.038761 | 53.7534 | 56.4386 | 54.3772 | 53.7534 | 54.3772 | 54.3772 | 54.1692 | 50.45 | 3.7192
44775.6453 | 50.21 | 48.69 | 45.71 | 27.83 | 28.19 | 28.61 | 50.39 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.21 | 0.019887 | 0.0468 | 0.03288 | 51.8428 | 56.896 | 52.9744 | 51.8428 | 52.9744 | 52.9744 | 52.5972 | 50.39 | 2.2072
44775.6453 | 49.53 | 48.81 | 45.61 | 27.85 | 28.17 | 28.65 | 50.61 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2233 | 0.009549 | 0.05028 | 0.029212 | 50.2752 | 57.7903 | 51.8927 | 50.2752 | 51.8927 | 51.8927 | 51.3536 | 50.61 | 0.74356
44775.6453 | 49.07 | 48.85 | 45.27 | 27.83 | 28.17 | 28.63 | 50.89 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.21 | 0.0029451 | 0.056695 | 0.028893 | 49.2923 | 59.2549 | 51.3566 | 49.2923 | 51.3566 | 51.3566 | 50.6685 | 50.89 | -0.22147
44775.6453 | 48.79 | 49.15 | 45.27 | 27.87 | 28.17 | 28.63 | 51.07 | 28.69 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2233 | -0.0048202 | 0.061033 | 0.026971 | 48.4362 | 60.698 | 50.8871 | 48.4362 | 50.8871 | 50.8871 | 50.0701 | 51.07 | -0.99988
44775.6453 | 48.59 | 49.33 | 45.53 | 27.87 | 28.19 | 28.63 | 51.47 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.23 | -0.0099169 | 0.059097 | 0.0234 | 47.876 | 60.5205 | 50.3795 | 47.876 | 50.3795 | 50.3795 | 49.545 | 51.47 | -1.925
44775.6453 | 48.25 | 49.07 | 45.35 | 27.87 | 28.23 | 28.65 | 51.95 | 28.69 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.25 | -0.011162 | 0.058582 | 0.022508 | 47.4623 | 59.994 | 49.938 | 47.4623 | 49.938 | 49.938 | 49.1128 | 51.95 | -2.8372
44775.6453 | 48.17 | 48.35 | 45.71 | 27.87 | 28.23 | 28.65 | 52.33 | 28.69 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.25 | -0.0024988 | 0.041907 | 0.018938 | 47.9916 | 55.4291 | 49.5755 | 47.9916 | 49.5755 | 49.5755 | 49.0475 | 52.33 | -3.2825
44775.6453 | 48.27 | 48.05 | 46.29 | 27.87 | 28.23 | 28.65 | 52.89 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.25 | 0.0030694 | 0.027705 | 0.014963 | 48.4924 | 52.4212 | 49.378 | 48.4924 | 49.378 | 49.378 | 49.0828 | 52.89 | -3.8072
44775.6453 | 48.35 | 47.45 | 46.51 | 27.91 | 28.19 | 28.63 | 53.41 | 28.71 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2433 | 0.012721 | 0.014934 | 0.013789 | 49.2922 | 49.6304 | 49.3733 | 49.2922 | 49.3733 | 49.3733 | 49.3463 | 53.41 | -4.0637
44775.6453 | 48.99 | 47.11 | 46.81 | 27.89 | 28.19 | 28.67 | 54.27 | 28.73 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.25 | 0.026395 | 0.0047722 | 0.015956 | 51.0574 | 47.7693 | 50.2162 | 51.0574 | 50.2162 | 50.2162 | 50.4966 | 54.27 | -3.7734
44775.6453 | 48.99 | 46.65 | 47.27 | 27.89 | 28.23 | 28.67 | 55.05 | 28.73 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2633 | 0.033276 | -0.0098702 | 0.012447 | 51.6278 | 45.3887 | 49.9399 | 51.6278 | 49.9399 | 49.9399 | 50.5025 | 55.05 | -4.5475
44775.6453 | 50.11 | 46.69 | 47.21 | 27.89 | 28.23 | 28.67 | 55.63 | 28.71 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2633 | 0.047292 | -0.0082825 | 0.020463 | 54.1648 | 45.6233 | 51.7801 | 54.1648 | 51.7801 | 51.7801 | 52.575 | 55.63 | -3.055
44775.6454 | 50.47 | 46.39 | 46.57 | 27.89 | 28.23 | 28.67 | 57.03 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2633 | 0.056391 | -0.0029408 | 0.027748 | 55.4683 | 46.0102 | 52.8029 | 55.4683 | 52.8029 | 52.8029 | 53.6914 | 57.03 | -3.3386
44775.6454 | 50.83 | 46.23 | 46.35 | 27.93 | 28.27 | 28.67 | 57.55 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.29 | 0.063405 | -0.0019841 | 0.031838 | 56.6095 | 45.9755 | 53.5673 | 56.6095 | 53.5673 | 53.5673 | 54.5814 | 57.55 | -2.9686
44775.6454 | 51.15 | 46.29 | 45.89 | 27.91 | 28.25 | 28.67 | 58.37 | 28.77 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2767 | 0.06635 | 0.0066833 | 0.037545 | 57.3212 | 47.178 | 54.4603 | 57.3212 | 54.4603 | 54.4603 | 55.414 | 58.37 | -2.956
44775.6454 | 52.27 | 46.51 | 45.29 | 27.91 | 28.27 | 28.67 | 58.43 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2833 | 0.076281 | 0.020619 | 0.04941 | 59.8503 | 49.4271 | 56.9396 | 59.8503 | 56.9396 | 56.9396 | 57.9099 | 58.43 | -0.52015
44775.6454 | 52.67 | 46.93 | 45.05 | 27.93 | 28.27 | 28.73 | 58.19 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.31 | 0.074641 | 0.031677 | 0.0539 | 60.1795 | 51.7001 | 57.8865 | 60.1795 | 57.8865 | 57.8865 | 58.6508 | 58.19 | 0.46084
44775.6454 | 53.79 | 47.31 | 44.91 | 27.93 | 28.27 | 28.73 | 57.11 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.31 | 0.081515 | 0.040189 | 0.061565 | 62.48 | 53.686 | 60.1119 | 62.48 | 60.1119 | 60.1119 | 60.9013 | 57.11 | 3.7913
44775.6454 | 54.25 | 47.81 | 44.55 | 27.95 | 28.27 | 28.73 | 56.41 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3167 | 0.079294 | 0.054466 | 0.067308 | 62.8176 | 57.1701 | 61.3606 | 62.8176 | 61.3606 | 61.3606 | 61.8462 | 56.41 | 5.4362
44775.6454 | 55.07 | 48.17 | 44.33 | 27.93 | 28.29 | 28.73 | 55.17 | 28.83 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3167 | 0.082858 | 0.063973 | 0.073741 | 64.3681 | 59.7849 | 63.2041 | 64.3681 | 63.2041 | 63.2041 | 63.5921 | 55.17 | 8.4221
44775.6454 | 55.31 | 48.59 | 44.23 | 27.95 | 28.27 | 28.69 | 54.49 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3033 | 0.079478 | 0.072015 | 0.075875 | 64.256 | 62.3751 | 63.7927 | 64.256 | 63.7927 | 63.7927 | 63.9471 | 54.49 | 9.4571
44775.6454 | 55.25 | 48.91 | 44.39 | 27.95 | 28.31 | 28.75 | 53.87 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3367 | 0.074618 | 0.073833 | 0.074239 | 63.5438 | 63.3453 | 63.4958 | 63.5438 | 63.4958 | 63.4958 | 63.5118 | 53.87 | 9.6418
44775.6454 | 55.07 | 49.17 | 44.67 | 27.95 | 28.31 | 28.75 | 53.33 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3367 | 0.069266 | 0.072424 | 0.070791 | 62.6409 | 63.43 | 62.8297 | 62.6409 | 62.8297 | 62.8297 | 62.7668 | 53.33 | 9.4368
44775.6454 | 54.43 | 49.61 | 44.91 | 27.97 | 28.29 | 28.75 | 52.81 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3367 | 0.056729 | 0.074303 | 0.065213 | 60.3421 | 64.6592 | 61.3347 | 60.3421 | 61.3347 | 61.3347 | 61.0038 | 52.81 | 8.1938
44775.6454 | 53.91 | 49.69 | 45.23 | 28.01 | 28.31 | 28.75 | 52.11 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3567 | 0.050138 | 0.069802 | 0.059631 | 58.9648 | 63.6202 | 60.0289 | 58.9648 | 60.0289 | 60.0289 | 59.6742 | 52.11 | 7.5642
44775.6454 | 52.93 | 50.55 | 45.35 | 28.01 | 28.31 | 28.77 | 51.55 | 28.87 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3633 | 0.028305 | 0.079483 | 0.053012 | 55.5653 | 67.6847 | 58.0956 | 55.5653 | 58.0956 | 58.0956 | 57.2522 | 51.55 | 5.7022
44775.6454 | 52.03 | 51.05 | 45.57 | 27.97 | 28.29 | 28.81 | 51.05 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3567 | 0.011744 | 0.082258 | 0.045785 | 53.0523 | 69.3877 | 56.272 | 53.0523 | 56.272 | 56.272 | 55.1988 | 51.05 | 4.1488
44775.6454 | 51.69 | 51.19 | 45.97 | 28.01 | 28.31 | 28.77 | 50.73 | 28.87 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3633 | 0.0060188 | 0.077277 | 0.040419 | 52.201 | 68.1816 | 55.3436 | 52.201 | 55.3436 | 55.3436 | 54.2961 | 50.73 | 3.5661
44775.6454 | 51.05 | 51.31 | 46.15 | 28.01 | 28.33 | 28.77 | 50.75 | 28.91 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.37 | -0.0031663 | 0.075836 | 0.034973 | 50.7929 | 67.9728 | 54.093 | 50.7929 | 54.093 | 54.093 | 52.993 | 50.75 | 2.243
◀ Newest
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Modulised Ln Inputs, Physics Uncertain

## Data Out
Data Out (To Device)
Data entered into the channels below will be sent to the currently connected device as a comma-delimited string.
CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10

## Settings
Workbook Settings
Settings below will affect how data is read into the current workbook from data sources. Clear a field's contents to revert to its default setting.
Data interval (ms) | 150 | 150
Data rows | 15 | 120
Data channels | 10 | 10
Data orientation | Newest last | Newest last
WARNING: Changing settings may result in the loss of content and/or custom formatting in the Data In and Data Out worksheets. Always save before changing values.

## Manifest
USB Serial Device
This manifest was generated for the connected device. You can edit the device name and channel data here and the Data In worksheet will be updated.
Channels
Data Source Id
|  | Id | Name | Description | Unit of Measure | Active | 2F465D66-D6BB-4B18-BE00-AC44BBBC9374 | 1
|  | CH1 | CH1 |  |  | ü | Data Interval (ms)
|  | CH2 | CH2 |  |  | ü | 150
|  | CH3 | CH3 |  |  | ü | Baud Rate
|  | CH4 | CH4 |  |  | ü | 115200
|  | CH5 | CH5 |  |  | ü
|  | CH6 | CH6 |  |  | ü
|  | CH7 | CH7 |  |  | ü
|  | CH8 | CH8 |  |  | ü
|  | CH9 | CH9 |  |  | ü
|  | CH10 | CH10 |  |  | ü