## Data In
Data In (From USB Serial Device (COM7))
Data coming from the current data source will appear below as it is received.
Current Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10
44775.6867 | 35.23 | 41.15 | 30.65 | 28.19 | 28.47 | 28.77 | 31.55 | 28.91
Historical Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10 | track velocity | a | b | c | Tc | k (AB) | k (BC) | k (AC) | Th (AB) | Th (BC) | Th (AC) | Th! (AB) | Th! (BC) | Th! (AC) | Th Pred | Th test | Delta
44775.686 | 29.55 | 29.15 | 29.05 | 28.01 | 28.25 | 28.51 | 29.63 | 28.59 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2567 | 0.10278 | 0.035332 | 0.07022 | 30.1291 | 29.4088 | 29.922 | 30.1291 | 29.922 | 29.922 | 29.991 | 29.63 | 0.36103
44775.686 | 29.35 | 29.15 | 29.17 | 28.05 | 28.31 | 28.53 | 29.85 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2967 | 0.05849 | -0.006895 | 0.026925 | 29.5969 | 29.1087 | 29.4572 | 29.5969 | 29.4572 | 29.4572 | 29.5038 | 29.85 | -0.34623
44775.686 | 29.51 | 29.25 | 29.09 | 28.03 | 28.27 | 28.51 | 29.77 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.27 | 0.065365 | 0.05305 | 0.05942 | 29.839 | 29.7059 | 29.8058 | 29.839 | 29.8058 | 29.8058 | 29.8168 | 29.77 | 0.046831
44775.686 | 29.31 | 29.19 | 29.03 | 28.03 | 28.27 | 28.53 | 29.65 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2767 | 0.03429 | 0.057319 | 0.045408 | 29.4458 | 29.6566 | 29.4935 | 29.4458 | 29.4935 | 29.4935 | 29.4776 | 29.65 | -0.17241
44775.6861 | 29.51 | 29.23 | 29.15 | 28.03 | 28.31 | 28.53 | 29.49 | 28.59 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.29 | 0.072424 | 0.026472 | 0.05024 | 29.8734 | 29.4274 | 29.7519 | 29.8734 | 29.7519 | 29.7519 | 29.7924 | 29.49 | 0.30238
44775.6861 | 29.31 | 29.35 | 29.03 | 28.07 | 28.27 | 28.51 | 29.97 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2833 | -0.010617 | 0.10615 | 0.045755 | 29.2715 | 30.574 | 29.4938 | 29.2715 | 29.4938 | 29.4938 | 29.4197 | 29.97 | -0.55028
44775.6861 | 29.37 | 29.31 | 28.99 | 28.07 | 28.27 | 28.53 | 30.57 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.29 | 0.015877 | 0.11205 | 0.062304 | 29.4335 | 30.5754 | 29.6416 | 29.4335 | 29.6416 | 29.6416 | 29.5722 | 30.57 | -0.99779
44775.6861 | 29.63 | 29.19 | 29.23 | 28.03 | 28.27 | 28.53 | 32.55 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2767 | 0.10923 | -0.012757 | 0.050339 | 30.282 | 29.1098 | 29.8989 | 30.282 | 29.8989 | 29.8989 | 30.0266 | 32.55 | -2.5234
44775.6861 | 29.29 | 29.19 | 29.05 | 28.05 | 28.27 | 28.53 | 36.09 | 28.59 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2833 | 0.029062 | 0.049917 | 0.03913 | 29.401 | 29.5821 | 29.4423 | 29.401 | 29.4423 | 29.4423 | 29.4285 | 36.09 | -6.6615
44775.6861 | 29.63 | 29.17 | 29.03 | 28.03 | 28.29 | 28.53 | 38.97 | 28.59 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2833 | 0.11609 | 0.051146 | 0.084737 | 30.3286 | 29.5647 | 30.1104 | 30.3286 | 30.1104 | 30.1104 | 30.1831 | 38.97 | -8.7869
44775.6861 | 29.71 | 29.09 | 29.15 | 28.05 | 28.27 | 28.53 | 41.71 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2833 | 0.15838 | -0.021352 | 0.071615 | 30.8065 | 28.975 | 30.1296 | 30.8065 | 30.1296 | 30.1296 | 30.3552 | 41.71 | -11.3548
44775.6861 | 30.19 | 29.19 | 29.17 | 28.05 | 28.29 | 28.53 | 42.91 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.29 | 0.20756 | 0.0066883 | 0.11059 | 32.3011 | 29.2344 | 31.1191 | 32.3011 | 31.1191 | 31.1191 | 31.5131 | 42.91 | -11.3969
44775.6861 | 32.11 | 29.25 | 29.15 | 28.03 | 28.27 | 28.53 | 43.73 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2767 | 0.38077 | 0.032265 | 0.21252 | 43.3737 | 29.5045 | 36.5152 | 43.3737 | 36.5152 | 36.5152 | 38.8014 | 43.73 | -4.9286
44775.6861 | 34.03 | 29.35 | 29.15 | 28.03 | 28.29 | 28.53 | 42.73 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2833 | 0.4678 | 0.061797 | 0.2718 | 59.2435 | 29.9478 | 43.5718 | 59.2435 | 43.5718 | 43.5718 | 48.7957 | 42.73 | 6.0657
44775.6861 | 37.69 | 29.17 | 29.23 | 28.03 | 28.29 | 28.53 | 40.79 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2833 | 0.65603 | -0.019487 | 0.32992 | 128.0789 | 29.0539 | 59.1329 | 128.0789 | 59.1329 | 59.1329 | 82.1149 | 40.79 | 41.3249
44775.6861 | 39.65 | 29.35 | 29.17 | 28.03 | 28.27 | 28.51 | 37.21 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.27 | 0.65414 | 0.054262 | 0.36454 | 148.1815 | 29.8662 | 70.5457 | 148.1815 | 70.5457 | 70.5457 | 96.4243 | 37.21 | 59.2143
44775.6861 | 41.29 | 29.51 | 29.05 | 28.07 | 28.27 | 28.55 | 35.01 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2967 | 0.65863 | 0.14185 | 0.40915 | 167.4396 | 31.6659 | 84.9741 | 167.4396 | 84.9741 | 84.9741 | 112.4626 | 35.01 | 77.4526
44775.6861 | 42.19 | 29.49 | 29.15 | 28.05 | 28.27 | 28.53 | 32.83 | 28.59 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2833 | 0.67903 | 0.098501 | 0.39877 | 188.5557 | 30.7357 | 86.7207 | 188.5557 | 86.7207 | 86.7207 | 120.6657 | 32.83 | 87.8357
44775.6861 | 41.97 | 30.31 | 29.09 | 28.03 | 28.29 | 28.53 | 32.03 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2833 | 0.53056 | 0.27418 | 0.40679 | 120.7134 | 42.8753 | 87.4803 | 120.7134 | 87.4803 | 87.4803 | 98.558 | 32.03 | 66.528
44775.6861 | 40.93 | 32.03 | 29.23 | 28.03 | 28.25 | 28.55 | 31.29 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2767 | 0.33758 | 0.40787 | 0.37151 | 70.9339 | 99.0364 | 76.4766 | 70.9339 | 76.4766 | 76.4766 | 74.629 | 31.29 | 43.339
44775.6861 | 38.03 | 34.81 | 29.23 | 28.05 | 28.29 | 28.57 | 30.65 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3033 | 0.11168 | 0.58006 | 0.33779 | 42.8435 | 452.0906 | 61.1195 | 42.8435 | 61.1195 | 61.1195 | 55.0275 | 30.65 | 24.3775
44775.6862 | 35.75 | 37.03 | 29.15 | 28.07 | 28.27 | 28.53 | 30.31 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.29 | -0.043987 | 0.6901 | 0.3104 | 34.6575 | 1285.4669 | 51.0953 | 34.6575 | 51.0953 | 51.0953 | 45.616 | 30.31 | 15.306
44775.6862 | 33.17 | 39.11 | 29.37 | 28.05 | 28.27 | 28.55 | 30.59 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.29 | -0.22118 | 0.68584 | 0.21669 | 30.491 | 1537.6964 | 38.9366 | 30.491 | 38.9366 | 38.9366 | 36.1214 | 30.59 | 5.5314
44775.6862 | 32.05 | 39.99 | 29.57 | 28.03 | 28.25 | 28.53 | 30.37 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.27 | -0.31433 | 0.65444 | 0.15336 | 29.4891 | 1332.4047 | 34.8354 | 29.4891 | 34.8354 | 34.8354 | 33.0533 | 30.37 | 2.6833
44775.6862 | 31.27 | 40.99 | 30.23 | 28.03 | 28.31 | 28.53 | 31.19 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.29 | -0.40269 | 0.5592 | 0.061672 | 28.9892 | 740.1251 | 32.0108 | 28.9892 | 32.0108 | 32.0108 | 31.0036 | 31.19 | -0.18638
44775.6862 | 30.73 | 40.25 | 31.55 | 28.05 | 28.31 | 28.55 | 33.07 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3033 | -0.44276 | 0.38775 | -0.041826 | 28.7962 | 223.1508 | 30.3908 | 28.7962 | 30.3908 | 30.3908 | 29.8593 | 33.07 | -3.2107
44775.6862 | 30.39 | 38.51 | 33.65 | 28.05 | 28.29 | 28.55 | 35.55 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2967 | -0.44026 | 0.19225 | -0.13491 | 28.7257 | 69.0658 | 29.5847 | 28.7257 | 29.5847 | 29.5847 | 29.2983 | 35.55 | -6.2517
44775.6862 | 30.29 | 36.15 | 36.63 | 28.07 | 28.27 | 28.55 | 39.05 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2967 | -0.38087 | -0.017656 | -0.20553 | 28.8026 | 35.2125 | 29.2478 | 28.8026 | 29.2478 | 29.2478 | 29.0994 | 39.05 | -9.9506
44775.6862 | 30.33 | 33.35 | 37.95 | 28.05 | 28.29 | 28.55 | 40.75 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2967 | -0.25288 | -0.19264 | -0.2238 | 29.1148 | 29.5591 | 29.2051 | 29.1148 | 29.2051 | 29.2051 | 29.175 | 40.75 | -11.575
44775.6862 | 30.33 | 32.11 | 38.93 | 28.05 | 28.29 | 28.57 | 42.23 | 28.61 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3033 | -0.1751 | -0.30554 | -0.23807 | 29.3823 | 28.7252 | 29.1635 | 29.3823 | 29.1635 | 29.1635 | 29.2364 | 42.23 | -12.9936
44775.6862 | 31.81 | 30.99 | 39.51 | 28.05 | 28.33 | 28.55 | 43.09 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.31 | 0.074152 | -0.42562 | -0.16712 | 32.8809 | 28.4351 | 30.2277 | 32.8809 | 30.2277 | 30.2277 | 31.1121 | 43.09 | -11.9779
44775.6862 | 33.93 | 30.47 | 38.79 | 28.05 | 28.31 | 28.55 | 43.29 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3033 | 0.26509 | -0.46932 | -0.089452 | 42.9154 | 28.3772 | 32.3809 | 42.9154 | 32.3809 | 32.3809 | 35.8924 | 43.29 | -7.3976
44775.6862 | 37.17 | 30.29 | 37.53 | 28.05 | 28.29 | 28.57 | 43.03 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3033 | 0.41551 | -0.45704 | -0.0057182 | 67.876 | 28.3773 | 36.9893 | 67.876 | 36.9893 | 36.9893 | 47.2849 | 43.03 | 4.2549
44775.6862 | 39.59 | 29.91 | 34.59 | 28.07 | 28.31 | 28.57 | 42.23 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3167 | 0.5435 | -0.40788 | 0.084214 | 108.079 | 28.4012 | 43.5824 | 108.079 | 43.5824 | 43.5824 | 65.0813 | 42.23 | 22.8513
44775.6862 | 40.81 | 29.91 | 32.99 | 28.03 | 28.31 | 28.55 | 39.29 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.2967 | 0.56903 | -0.31781 | 0.1409 | 125.3526 | 28.4603 | 49.0774 | 125.3526 | 49.0774 | 49.0774 | 74.5025 | 39.29 | 35.2125
44775.6862 | 41.53 | 29.97 | 31.83 | 28.07 | 28.33 | 28.57 | 37.09 | 28.69 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3233 | 0.57832 | -0.22497 | 0.19053 | 134.244 | 28.6493 | 54.5457 | 134.244 | 54.5457 | 54.5457 | 81.1118 | 37.09 | 44.0218
44775.6862 | 41.73 | 30.39 | 30.91 | 28.07 | 28.31 | 28.55 | 34.15 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.31 | 0.51788 | -0.066412 | 0.23581 | 114.8948 | 29.5994 | 59.674 | 114.8948 | 59.674 | 59.674 | 78.0809 | 34.15 | 43.9309
44775.6862 | 41.97 | 32.31 | 30.45 | 28.07 | 28.31 | 28.55 | 32.75 | 28.69 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.31 | 0.34116 | 0.18616 | 0.26633 | 74.9589 | 43.5913 | 63.9427 | 74.9589 | 63.9427 | 63.9427 | 67.6148 | 32.75 | 34.8648
44775.6863 | 41.73 | 34.31 | 30.11 | 28.07 | 28.31 | 28.55 | 31.71 | 28.63 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.31 | 0.22361 | 0.35833 | 0.28864 | 58.3261 | 107.4882 | 66.2446 | 58.3261 | 66.2446 | 66.2446 | 63.6051 | 31.71 | 31.8951
44775.6863 | 39.63 | 36.89 | 29.83 | 28.07 | 28.33 | 28.55 | 31.19 | 28.69 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3167 | 0.077035 | 0.51617 | 0.28903 | 43.2457 | 380.8353 | 60.3411 | 43.2457 | 60.3411 | 60.3411 | 54.6426 | 31.19 | 23.4526
44775.6863 | 37.35 | 38.45 | 29.59 | 28.07 | 28.31 | 28.59 | 31.07 | 28.65 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3233 | -0.031941 | 0.61869 | 0.28215 | 36.3695 | 899.381 | 53.25 | 36.3695 | 53.25 | 53.25 | 47.6232 | 31.07 | 16.5532
44775.6863 | 34.33 | 39.89 | 29.91 | 28.05 | 28.33 | 28.59 | 30.85 | 28.69 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3233 | -0.18202 | 0.59122 | 0.19127 | 31.4426 | 844.7165 | 40.2818 | 31.4426 | 40.2818 | 40.2818 | 37.3354 | 30.85 | 6.4854
44775.6863 | 32.97 | 40.35 | 30.53 | 28.07 | 28.33 | 28.61 | 31.39 | 28.69 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3367 | -0.26465 | 0.50613 | 0.10745 | 30.1237 | 487.8411 | 35.1583 | 30.1237 | 35.1583 | 35.1583 | 33.4801 | 31.39 | 2.0901
44775.6863 | 31.75 | 40.63 | 31.81 | 28.07 | 28.29 | 28.63 | 32.67 | 28.71 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.33 | -0.35554 | 0.37576 | -0.0024988 | 29.2809 | 212.3602 | 31.7194 | 29.2809 | 31.7194 | 31.7194 | 30.9066 | 32.67 | -1.7634
44775.6863 | 31.21 | 40.65 | 34.33 | 28.05 | 28.29 | 28.61 | 36.07 | 28.71 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3167 | -0.40275 | 0.21379 | -0.10511 | 28.9954 | 85.8047 | 30.2985 | 28.9954 | 30.2985 | 30.2985 | 29.8641 | 36.07 | -6.2059
44775.6863 | 30.79 | 39.13 | 36.81 | 28.07 | 28.31 | 28.61 | 38.69 | 28.71 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.33 | -0.41094 | 0.071975 | -0.17781 | 28.8903 | 46.4636 | 29.627 | 28.8903 | 29.627 | 29.627 | 29.3814 | 38.69 | -9.3086
44775.6863 | 30.51 | 37.25 | 37.95 | 28.07 | 28.35 | 28.63 | 41.49 | 28.73 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.35 | -0.39332 | -0.022533 | -0.21432 | 28.8742 | 35.9171 | 29.3486 | 28.8742 | 29.3486 | 29.3486 | 29.1905 | 41.49 | -12.2995
44775.6863 | 31.01 | 34.21 | 39.11 | 28.07 | 28.35 | 28.61 | 42.99 | 28.73 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3433 | -0.21902 | -0.1807 | -0.20052 | 29.5555 | 29.9405 | 29.6389 | 29.5555 | 29.6389 | 29.6389 | 29.6111 | 42.99 | -13.3789
44775.6863 | 31.83 | 32.59 | 39.15 | 28.09 | 28.37 | 28.59 | 43.97 | 28.69 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.35 | -0.05487 | -0.27827 | -0.16272 | 31.2062 | 28.9218 | 30.2872 | 31.2062 | 30.2872 | 30.2872 | 30.5935 | 43.97 | -13.3765
44775.6863 | 34.37 | 31.67 | 39.39 | 28.09 | 28.35 | 28.63 | 44.29 | 28.71 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3567 | 0.16556 | -0.35803 | -0.087204 | 39.2702 | 28.6083 | 32.7498 | 39.2702 | 32.7498 | 32.7498 | 34.9233 | 44.29 | -9.3667
44775.6863 | 37.03 | 30.81 | 39.33 | 28.09 | 28.37 | 28.61 | 44.07 | 28.73 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3567 | 0.35078 | -0.44584 | -0.033795 | 59.0197 | 28.4557 | 36.0364 | 59.0197 | 36.0364 | 36.0364 | 43.6975 | 44.07 | -0.37246
44775.6863 | 39.77 | 30.39 | 38.09 | 28.11 | 28.35 | 28.63 | 43.43 | 28.71 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3633 | 0.47995 | -0.46681 | 0.022892 | 92.5634 | 28.4337 | 40.7498 | 92.5634 | 40.7498 | 40.7498 | 58.021 | 43.43 | 14.591
44775.6863 | 40.71 | 30.33 | 36.13 | 28.09 | 28.33 | 28.63 | 42.29 | 28.71 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.35 | 0.50871 | -0.40728 | 0.06651 | 105.5064 | 28.4555 | 44.0538 | 105.5064 | 44.0538 | 44.0538 | 64.538 | 42.29 | 22.248
44775.6863 | 42.43 | 30.51 | 34.09 | 28.09 | 28.33 | 28.65 | 39.65 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3567 | 0.52146 | -0.29145 | 0.12902 | 120.3344 | 28.6208 | 50.7498 | 120.3344 | 50.7498 | 50.7498 | 73.9447 | 39.65 | 34.2947
44775.6863 | 42.77 | 31.01 | 32.75 | 28.09 | 28.37 | 28.65 | 37.05 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.37 | 0.47124 | -0.15068 | 0.171 | 106.9155 | 29.2622 | 55.0213 | 106.9155 | 55.0213 | 55.0213 | 72.3194 | 37.05 | 35.2694
44775.6864 | 42.97 | 31.97 | 31.49 | 28.07 | 28.33 | 28.61 | 34.51 | 28.73 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3367 | 0.38699 | 0.04217 | 0.22052 | 87.2728 | 33.259 | 60.7052 | 87.2728 | 60.7052 | 60.7052 | 69.561 | 34.51 | 35.051
44775.6864 | 42.59 | 34.61 | 31.11 | 28.09 | 28.33 | 28.63 | 32.91 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.35 | 0.2283 | 0.24373 | 0.23575 | 60.7426 | 64.5505 | 61.6234 | 60.7426 | 61.6234 | 61.6234 | 61.3298 | 32.91 | 28.4198
44775.6864 | 41.59 | 36.77 | 30.45 | 28.09 | 28.35 | 28.63 | 32.19 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3567 | 0.12581 | 0.41401 | 0.26494 | 49.1714 | 194.1365 | 62.7039 | 49.1714 | 62.7039 | 62.7039 | 58.1931 | 32.19 | 26.0031
44775.6864 | 40.27 | 38.87 | 30.31 | 28.09 | 28.35 | 28.63 | 31.61 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3567 | 0.034726 | 0.50092 | 0.25979 | 41.8564 | 415.6964 | 58.7096 | 41.8564 | 58.7096 | 58.7096 | 53.0919 | 31.61 | 21.4819
44775.6864 | 37.55 | 39.99 | 30.29 | 28.09 | 28.33 | 28.67 | 31.13 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3633 | -0.06543 | 0.53497 | 0.22442 | 35.6221 | 575.7242 | 48.971 | 35.6221 | 48.971 | 48.971 | 44.5214 | 31.13 | 13.3914
44775.6864 | 35.19 | 40.81 | 30.65 | 28.09 | 28.35 | 28.65 | 31.05 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3633 | -0.16684 | 0.50427 | 0.15715 | 32.1076 | 498.1221 | 40.3832 | 32.1076 | 40.3832 | 40.3832 | 37.6247 | 31.05 | 6.5747
44775.6864 | 33.13 | 41.09 | 31.55 | 28.13 | 28.35 | 28.67 | 30.77 | 28.77 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3833 | -0.27352 | 0.41353 | 0.058156 | 30.1565 | 277.897 | 34.2354 | 30.1565 | 34.2354 | 34.2354 | 32.8758 | 30.77 | 2.1058
44775.6864 | 32.45 | 41.17 | 33.83 | 28.09 | 28.35 | 28.65 | 31.05 | 28.77 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3633 | -0.31729 | 0.25336 | -0.041802 | 29.6674 | 107.7375 | 31.8791 | 29.6674 | 31.8791 | 31.8791 | 31.1418 | 31.05 | 0.091837
44775.6864 | 31.57 | 40.75 | 35.81 | 28.11 | 28.37 | 28.65 | 32.09 | 28.77 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3767 | -0.37624 | 0.15166 | -0.12139 | 29.2008 | 65.2496 | 30.4394 | 29.2008 | 30.4394 | 30.4394 | 30.0266 | 32.09 | -2.0634
44775.6864 | 30.93 | 39.37 | 37.95 | 28.13 | 28.37 | 28.65 | 34.29 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3833 | -0.40608 | 0.04119 | -0.19016 | 28.9736 | 43.1629 | 29.6676 | 28.9736 | 29.6676 | 29.6676 | 29.4363 | 34.29 | -4.8537
44775.6864 | 30.65 | 37.67 | 39.01 | 28.11 | 28.33 | 28.67 | 37.55 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.37 | -0.39051 | -0.040061 | -0.22133 | 28.929 | 35.3397 | 29.3978 | 28.929 | 29.3978 | 29.3978 | 29.2415 | 37.55 | -8.3085
44775.6864 | 30.73 | 34.83 | 39.67 | 28.11 | 28.39 | 28.65 | 40.11 | 28.77 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3833 | -0.28071 | -0.16668 | -0.22566 | 29.2375 | 30.3248 | 29.4248 | 29.2375 | 29.4248 | 29.4248 | 29.3624 | 40.11 | -10.7476
44775.6864 | 30.67 | 33.17 | 39.93 | 28.11 | 28.37 | 28.65 | 41.71 | 28.77 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3767 | -0.20478 | -0.26183 | -0.23232 | 29.4739 | 29.1043 | 29.3703 | 29.4739 | 29.3703 | 29.3703 | 29.4049 | 41.71 | -12.3051
44775.6864 | 31.39 | 31.99 | 39.93 | 28.11 | 28.41 | 28.67 | 43.23 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3967 | -0.050748 | -0.34707 | -0.1938 | 30.8902 | 28.6919 | 29.8866 | 30.8902 | 29.8866 | 29.8866 | 30.2211 | 43.23 | -13.0089
44775.6864 | 32.91 | 31.35 | 39.55 | 28.11 | 28.39 | 28.65 | 43.59 | 28.77 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3833 | 0.11737 | -0.39449 | -0.12973 | 35.2903 | 28.5566 | 31.2209 | 35.2903 | 31.2209 | 31.2209 | 32.5774 | 43.59 | -11.0126
44775.6864 | 35.77 | 30.81 | 38.37 | 28.15 | 28.39 | 28.65 | 43.53 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3967 | 0.31024 | -0.42229 | -0.043397 | 50.924 | 28.512 | 34.7035 | 50.924 | 34.7035 | 34.7035 | 40.1104 | 43.53 | -3.4196
44775.6864 | 37.83 | 30.63 | 36.33 | 28.13 | 28.39 | 28.63 | 42.71 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3833 | 0.39895 | -0.37598 | 0.024843 | 68.1042 | 28.5333 | 38.7138 | 68.1042 | 38.7138 | 38.7138 | 48.5106 | 42.71 | 5.8006
44775.6865 | 39.83 | 30.29 | 34.55 | 28.13 | 28.37 | 28.67 | 41.07 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.39 | 0.49868 | -0.35007 | 0.088942 | 97.2708 | 28.5428 | 44.1474 | 97.2708 | 44.1474 | 44.1474 | 61.8552 | 41.07 | 20.7852
44775.6865 | 40.91 | 30.39 | 32.89 | 28.13 | 28.39 | 28.69 | 37.75 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4033 | 0.51106 | -0.24246 | 0.14729 | 107.1366 | 28.7501 | 49.6566 | 107.1366 | 49.6566 | 49.6566 | 68.8166 | 37.75 | 31.0666
44775.6865 | 41.59 | 30.39 | 32.03 | 28.13 | 28.39 | 28.65 | 35.53 | 28.75 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.39 | 0.52419 | -0.17823 | 0.18509 | 115.51 | 28.9443 | 54.0914 | 115.51 | 54.0914 | 54.0914 | 74.5642 | 35.53 | 39.0342
44775.6865 | 42.05 | 31.57 | 31.13 | 28.11 | 28.45 | 28.67 | 33.57 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.41 | 0.40623 | 0.044625 | 0.23166 | 87.2865 | 32.7674 | 59.8158 | 87.2865 | 59.8158 | 59.8158 | 68.9727 | 33.57 | 35.4027
44775.6865 | 41.67 | 32.89 | 30.65 | 28.15 | 28.39 | 28.67 | 32.71 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4033 | 0.30115 | 0.20585 | 0.25514 | 67.6317 | 48.1551 | 61.644 | 67.6317 | 61.644 | 61.644 | 63.6399 | 32.71 | 30.9299
44775.6865 | 40.61 | 35.59 | 30.11 | 28.11 | 28.39 | 28.69 | 31.71 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3967 | 0.14705 | 0.427 | 0.2822 | 49.1333 | 184.036 | 62.1283 | 49.1333 | 62.1283 | 62.1283 | 57.7966 | 31.71 | 26.0866
44775.6865 | 37.91 | 37.03 | 29.99 | 28.17 | 28.37 | 28.67 | 31.33 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4033 | 0.026982 | 0.50394 | 0.25724 | 38.8798 | 353.1979 | 52.403 | 38.8798 | 52.403 | 52.403 | 47.8953 | 31.33 | 16.5653
44775.6865 | 35.89 | 38.69 | 30.03 | 28.13 | 28.39 | 28.67 | 31.25 | 28.83 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3967 | -0.08819 | 0.54788 | 0.21888 | 33.8517 | 560.1743 | 44.8738 | 33.8517 | 44.8738 | 44.8738 | 41.1998 | 31.25 | 9.9498
44775.6865 | 33.49 | 39.75 | 30.17 | 28.11 | 28.41 | 28.69 | 30.97 | 28.77 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4033 | -0.22286 | 0.55352 | 0.15194 | 30.6837 | 638.9 | 37.1934 | 30.6837 | 37.1934 | 37.1934 | 35.0235 | 30.97 | 4.0535
44775.6865 | 32.45 | 40.25 | 30.97 | 28.13 | 28.41 | 28.69 | 30.97 | 28.83 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.41 | -0.29868 | 0.4558 | 0.065551 | 29.7885 | 343.6136 | 33.5253 | 29.7885 | 33.5253 | 33.5253 | 32.2797 | 30.97 | 1.3097
44775.6865 | 31.35 | 40.35 | 32.81 | 28.13 | 28.37 | 28.69 | 31.97 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.3967 | -0.38835 | 0.29654 | -0.057715 | 29.1264 | 129.4967 | 30.7959 | 29.1264 | 30.7959 | 30.7959 | 30.2394 | 31.97 | -1.7306
44775.6865 | 31.19 | 39.55 | 34.67 | 28.15 | 28.45 | 28.69 | 33.83 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.43 | -0.38709 | 0.17195 | -0.11721 | 29.115 | 66.7823 | 30.2399 | 29.115 | 30.2399 | 30.2399 | 29.865 | 33.83 | -3.965
44775.6865 | 30.87 | 38.27 | 36.47 | 28.13 | 28.41 | 28.67 | 37.25 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4033 | -0.38508 | 0.059947 | -0.17024 | 29.02 | 43.5955 | 29.7398 | 29.02 | 29.7398 | 29.7398 | 29.4998 | 37.25 | -7.7502
44775.6865 | 30.77 | 35.63 | 37.35 | 28.13 | 28.45 | 28.69 | 41.03 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4233 | -0.31167 | -0.063701 | -0.19196 | 29.1875 | 32.9789 | 29.5991 | 29.1875 | 29.5991 | 29.5991 | 29.4619 | 41.03 | -11.5681
44775.6865 | 30.59 | 33.57 | 38.59 | 28.17 | 28.41 | 28.73 | 42.59 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4367 | -0.24132 | -0.20299 | -0.22281 | 29.3399 | 29.627 | 29.4022 | 29.3399 | 29.4022 | 29.4022 | 29.3814 | 42.59 | -13.2086
44775.6865 | 30.87 | 32.19 | 39.09 | 28.15 | 28.45 | 28.73 | 44.29 | 28.79 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4433 | -0.12065 | -0.31083 | -0.21246 | 30.0151 | 28.843 | 29.5727 | 30.0151 | 29.5727 | 29.5727 | 29.7202 | 44.29 | -14.5698
44775.6865 | 32.69 | 31.69 | 39.05 | 28.15 | 28.47 | 28.73 | 44.63 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.45 | 0.074719 | -0.35276 | -0.13165 | 33.9986 | 28.7056 | 31.0896 | 33.9986 | 31.0896 | 31.0896 | 32.0593 | 44.63 | -12.5707
44775.6866 | 34.99 | 31.11 | 38.35 | 28.15 | 28.45 | 28.69 | 44.77 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.43 | 0.24866 | -0.3895 | -0.05942 | 44.4873 | 28.5922 | 33.7267 | 44.4873 | 33.7267 | 33.7267 | 37.3136 | 44.77 | -7.4564
44775.6866 | 38.41 | 30.63 | 37.17 | 28.15 | 28.47 | 28.75 | 44.13 | 28.81 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4567 | 0.42268 | -0.41327 | 0.019117 | 74.0405 | 28.5675 | 39.1191 | 74.0405 | 39.1191 | 39.1191 | 50.7596 | 44.13 | 6.6296
44775.6866 | 40.39 | 30.39 | 35.45 | 28.15 | 28.45 | 28.69 | 42.99 | 28.83 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.43 | 0.5024 | -0.37971 | 0.076552 | 101.4104 | 28.5573 | 44.185 | 101.4104 | 44.185 | 44.185 | 63.2601 | 42.99 | 20.2701
44775.6866 | 42.43 | 30.29 | 33.03 | 28.17 | 28.41 | 28.73 | 39.75 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4367 | 0.56155 | -0.27013 | 0.16005 | 134.0914 | 28.7017 | 53.3344 | 134.0914 | 53.3344 | 53.3344 | 80.2534 | 39.75 | 40.5034
44775.6866 | 43.11 | 30.45 | 31.99 | 28.15 | 28.45 | 28.73 | 37.59 | 28.83 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4433 | 0.55253 | -0.1695 | 0.20396 | 135.6416 | 29.0355 | 59.0078 | 135.6416 | 59.0078 | 59.0078 | 84.5524 | 37.59 | 46.9624
44775.6866 | 43.19 | 30.81 | 31.29 | 28.17 | 28.41 | 28.73 | 34.71 | 28.83 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4367 | 0.50755 | -0.054819 | 0.23606 | 120.1477 | 30.036 | 62.948 | 120.1477 | 62.948 | 62.948 | 82.0145 | 34.71 | 47.3045
44775.6866 | 43.03 | 32.41 | 30.47 | 28.15 | 28.41 | 28.73 | 33.61 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.43 | 0.36104 | 0.19891 | 0.28277 | 81.9878 | 45.0969 | 68.8365 | 81.9878 | 68.8365 | 68.8365 | 73.2202 | 33.61 | 39.6102
44775.6866 | 42.29 | 35.55 | 30.37 | 28.17 | 28.41 | 28.73 | 32.59 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4367 | 0.18515 | 0.38772 | 0.28294 | 55.4163 | 144.4291 | 66.8007 | 55.4163 | 66.8007 | 66.8007 | 63.0059 | 32.59 | 30.4159
44775.6866 | 40.89 | 37.69 | 29.99 | 28.17 | 28.41 | 28.75 | 32.05 | 28.87 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4433 | 0.082553 | 0.53219 | 0.29962 | 45.1974 | 455.1244 | 65.0446 | 45.1974 | 65.0446 | 65.0446 | 58.4289 | 32.05 | 26.3789
44775.6866 | 37.69 | 39.67 | 30.17 | 28.19 | 28.45 | 28.75 | 31.39 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4633 | -0.054003 | 0.56011 | 0.24246 | 36.0598 | 660.7195 | 50.5499 | 36.0598 | 50.5499 | 50.5499 | 45.7199 | 31.39 | 14.3299
44775.6866 | 35.59 | 40.91 | 30.05 | 28.15 | 28.47 | 28.77 | 31.29 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4633 | -0.15489 | 0.61304 | 0.21583 | 32.5439 | 1056.4397 | 43.9635 | 32.5439 | 43.9635 | 43.9635 | 40.1569 | 31.29 | 8.8669
44775.6866 | 33.47 | 41.49 | 30.33 | 28.17 | 28.47 | 28.77 | 31.11 | 28.87 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.47 | -0.26585 | 0.57914 | 0.14208 | 30.3901 | 870.903 | 36.8088 | 30.3901 | 36.8088 | 36.8088 | 34.6692 | 31.11 | 3.5592
44775.6866 | 32.47 | 41.67 | 31.77 | 28.15 | 28.49 | 28.73 | 31.91 | 28.83 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4567 | -0.331 | 0.41169 | 0.027538 | 29.6757 | 284.5085 | 32.8883 | 29.6757 | 32.8883 | 32.8883 | 31.8174 | 31.91 | -0.092606
44775.6866 | 31.77 | 41.17 | 33.91 | 28.17 | 28.47 | 28.77 | 34.25 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.47 | -0.37436 | 0.25233 | -0.071818 | 29.3275 | 106.5993 | 31.0182 | 29.3275 | 31.0182 | 31.0182 | 30.4546 | 34.25 | -3.7954
44775.6866 | 31.43 | 40.29 | 36.77 | 28.15 | 28.47 | 28.75 | 36.81 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4567 | -0.38368 | 0.10508 | -0.14773 | 29.2038 | 53.6726 | 30.2036 | 29.2038 | 30.2036 | 30.2036 | 29.8703 | 36.81 | -6.9397
44775.6866 | 31.15 | 37.99 | 38.49 | 28.17 | 28.49 | 28.73 | 40.07 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4633 | -0.35161 | -0.015224 | -0.18922 | 29.221 | 37.0009 | 29.8228 | 29.221 | 29.8228 | 29.8228 | 29.6222 | 40.07 | -10.4478
44775.6866 | 30.93 | 35.83 | 39.65 | 28.17 | 28.49 | 28.73 | 42.13 | 28.87 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4633 | -0.30392 | -0.12433 | -0.21722 | 29.2893 | 31.4728 | 29.5918 | 29.2893 | 29.5918 | 29.5918 | 29.491 | 42.13 | -12.639
44775.6867 | 31.25 | 33.63 | 40.19 | 28.19 | 28.49 | 28.75 | 43.57 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4767 | -0.17211 | -0.24437 | -0.20699 | 29.9692 | 29.3637 | 29.793 | 29.9692 | 29.793 | 29.793 | 29.8517 | 43.57 | -13.7183
44775.6867 | 32.27 | 32.53 | 40.25 | 28.19 | 28.47 | 28.75 | 44.23 | 28.85 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.47 | -0.018384 | -0.31703 | -0.16256 | 32.0267 | 28.8842 | 30.5866 | 32.0267 | 30.5866 | 30.5866 | 31.0666 | 44.23 | -13.1634
44775.6867 | 33.93 | 31.67 | 39.81 | 28.15 | 28.49 | 28.77 | 44.57 | 28.91 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.47 | 0.14842 | -0.37654 | -0.10501 | 37.7861 | 28.6827 | 32.2112 | 37.7861 | 32.2112 | 32.2112 | 34.0695 | 44.57 | -10.5005
44775.6867 | 37.11 | 31.11 | 39.33 | 28.19 | 28.49 | 28.75 | 44.25 | 28.91 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4767 | 0.32983 | -0.42149 | -0.03288 | 56.7809 | 28.6033 | 36.1463 | 56.7809 | 36.1463 | 36.1463 | 43.0245 | 44.25 | -1.2255
44775.6867 | 39.05 | 30.97 | 37.79 | 28.19 | 28.49 | 28.75 | 44.01 | 28.87 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4767 | 0.40131 | -0.39221 | 0.018231 | 73.3144 | 28.6247 | 39.7672 | 73.3144 | 39.7672 | 39.7672 | 50.9496 | 44.01 | 6.9396
44775.6867 | 41.37 | 30.81 | 36.05 | 28.19 | 28.49 | 28.77 | 42.91 | 28.93 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4833 | 0.47549 | -0.35099 | 0.0765 | 99.8585 | 28.6692 | 45.4558 | 99.8585 | 45.4558 | 45.4558 | 63.59 | 42.91 | 20.68
44775.6867 | 42.23 | 30.67 | 33.71 | 28.19 | 28.47 | 28.75 | 40.91 | 28.91 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.47 | 0.50925 | -0.25829 | 0.13871 | 114.5325 | 28.8126 | 51.1421 | 114.5325 | 51.1421 | 51.1421 | 72.2722 | 40.91 | 31.3622
44775.6867 | 42.57 | 30.91 | 32.45 | 28.19 | 28.49 | 28.75 | 37.55 | 28.87 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4767 | 0.4879 | -0.14594 | 0.18191 | 110.1022 | 29.3276 | 55.605 | 110.1022 | 55.605 | 55.605 | 73.7707 | 37.55 | 36.2207
44775.6867 | 42.81 | 31.61 | 31.61 | 28.19 | 28.49 | 28.75 | 34.89 | 28.87 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4767 | 0.42236 | 0 | 0.21846 | 94.044 | 31.61 | 59.9471 | 94.044 | 59.9471 | 59.9471 | 71.3127 | 34.89 | 36.4227
44775.6867 | 42.67 | 34.01 | 30.91 | 28.19 | 28.49 | 28.77 | 33.47 | 28.93 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4833 | 0.26187 | 0.24496 | 0.2537 | 64.8998 | 60.7262 | 63.8454 | 64.8998 | 63.8454 | 63.8454 | 64.1968 | 33.47 | 30.7268
44775.6867 | 42.29 | 36.17 | 30.85 | 28.23 | 28.47 | 28.79 | 32.69 | 28.91 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4967 | 0.1629 | 0.35176 | 0.25407 | 53.2911 | 125.0826 | 62.924 | 53.2911 | 62.924 | 62.924 | 59.713 | 32.69 | 27.023
44775.6867 | 40.67 | 38.79 | 30.47 | 28.23 | 28.51 | 28.79 | 32.11 | 28.91 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.51 | 0.046653 | 0.49323 | 0.26224 | 42.8938 | 386.843 | 59.7664 | 42.8938 | 59.7664 | 59.7664 | 54.1422 | 32.11 | 22.0322
44775.6867 | 38.37 | 40.13 | 30.23 | 28.19 | 28.49 | 28.81 | 31.77 | 28.91 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4967 | -0.045566 | 0.56662 | 0.24997 | 36.8763 | 716.3024 | 52.7785 | 36.8763 | 52.7785 | 52.7785 | 47.4778 | 31.77 | 15.7078
44775.6867 | 35.23 | 41.15 | 30.65 | 28.19 | 28.47 | 28.77 | 31.55 | 28.91 |  |  | 0.083333 | 0.3 | 0.6 | 0.88 | 28.4767 | -0.17485 | 0.52477 | 0.1629 | 32.0754 | 582.8659 | 40.6162 | 32.0754 | 40.6162 | 40.6162 | 37.7693 | 31.55 | 6.2193
◀ Newest
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Modulised Ln Inputs, Physics Uncertain

## Data Out
Data Out (To Device)
Data entered into the channels below will be sent to the currently connected device as a comma-delimited string.
CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10

## Settings
Workbook Settings
Settings below will affect how data is read into the current workbook from data sources. Clear a field's contents to revert to its default setting.
Data interval (ms) | 150 | 150
Data rows | 15 | 120
Data channels | 10 | 10
Data orientation | Newest last | Newest last
WARNING: Changing settings may result in the loss of content and/or custom formatting in the Data In and Data Out worksheets. Always save before changing values.

## Manifest
USB Serial Device
This manifest was generated for the connected device. You can edit the device name and channel data here and the Data In worksheet will be updated.
Channels
Data Source Id
|  | Id | Name | Description | Unit of Measure | Active | 3475A562-D427-4F4F-8BFB-9807C84606D5 | 1
|  | CH1 | CH1 |  |  | ü | Data Interval (ms)
|  | CH2 | CH2 |  |  | ü | 150
|  | CH3 | CH3 |  |  | ü | Baud Rate
|  | CH4 | CH4 |  |  | ü | 115200
|  | CH5 | CH5 |  |  | ü
|  | CH6 | CH6 |  |  | ü
|  | CH7 | CH7 |  |  | ü
|  | CH8 | CH8 |  |  | ü
|  | CH9 | CH9 |  |  | ü
|  | CH10 | CH10 |  |  | ü