## Data In
Data In (From USB Serial Device (COM7))
Data coming from the current data source will appear below as it is received.
Current Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10
44775.5744 | 42.51 | 41.73 | 40.89 | 29.39 | 29.67 | 29.85 | 44.15 | 29.49
Historical Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10 | track velocity | a | b | c | Tc | k (AB) | k (BC) | k (AC) | Th (AB) | Th (BC) | Th (AC) | Th! (AB) | Th! (BC) | Th! (AC) | Th Pred | Th test | Delta
44775.5737 | 47.45 | 45.05 | 45.67 | 28.97 | 29.25 | 29.41 | 52.81 | 29.09 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.21 | 0.070539 | -0.019197 | 0.025671 | 50.2136 | 43.8792 | 48.4109 | 50.2136 | 48.4109 | 48.4109 | 49.0118 | 52.81 | -3.7982
44775.5737 | 47.87 | 44.71 | 44.99 | 29.01 | 29.21 | 29.41 | 54.13 | 29.11 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.21 | 0.092771 | -0.0089516 | 0.04191 | 51.6742 | 44.1648 | 49.5015 | 51.6742 | 49.5015 | 49.5015 | 50.2257 | 54.13 | -3.9043
44775.5737 | 48.67 | 45.03 | 44.39 | 28.97 | 29.23 | 29.39 | 53.93 | 29.09 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.1967 | 0.10346 | 0.02063 | 0.062047 | 53.1468 | 46.392 | 51.2429 | 53.1468 | 51.2429 | 51.2429 | 51.8775 | 53.93 | -2.0525
44775.5737 | 49.31 | 45.27 | 43.97 | 28.99 | 29.25 | 29.41 | 54.55 | 29.15 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2167 | 0.11224 | 0.042224 | 0.07723 | 54.3667 | 48.2237 | 52.6661 | 54.3667 | 52.6661 | 52.6661 | 53.233 | 54.55 | -1.317
44775.5738 | 50.61 | 45.49 | 43.87 | 29.01 | 29.25 | 29.41 | 55.45 | 29.15 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2233 | 0.13682 | 0.052453 | 0.094639 | 57.3415 | 49.2874 | 55.0665 | 57.3415 | 55.0665 | 55.0665 | 55.8248 | 55.45 | 0.37483
44775.5738 | 51.21 | 46.11 | 43.71 | 29.01 | 29.23 | 29.41 | 55.67 | 29.15 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2167 | 0.13191 | 0.076615 | 0.10426 | 57.8497 | 52.1681 | 56.3094 | 57.8497 | 56.3094 | 56.3094 | 56.8228 | 55.67 | 1.1528
44775.5738 | 52.07 | 46.63 | 43.81 | 29.03 | 29.23 | 29.43 | 55.79 | 29.15 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.23 | 0.13602 | 0.08841 | 0.11222 | 59.2108 | 54.0118 | 57.8168 | 59.2108 | 57.8168 | 57.8168 | 58.2815 | 55.79 | 2.4915
44775.5738 | 52.35 | 47.41 | 43.93 | 28.99 | 29.25 | 29.43 | 56.41 | 29.15 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2233 | 0.12015 | 0.10619 | 0.11317 | 58.6318 | 57.0352 | 58.2243 | 58.6318 | 58.2243 | 58.2243 | 58.3601 | 56.41 | 1.9501
44775.5738 | 53.33 | 48.59 | 44.15 | 29.01 | 29.27 | 29.45 | 56.91 | 29.17 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2433 | 0.10957 | 0.13036 | 0.11996 | 59.2313 | 61.8313 | 59.8612 | 59.2313 | 59.8612 | 59.8612 | 59.6512 | 56.91 | 2.7412
44775.5738 | 53.79 | 49.37 | 44.75 | 28.99 | 29.27 | 29.43 | 57.03 | 29.19 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.23 | 0.099206 | 0.13029 | 0.11475 | 59.18 | 63.1452 | 60.1256 | 59.18 | 60.1256 | 60.1256 | 59.8104 | 57.03 | 2.7804
44775.5738 | 53.59 | 50.53 | 45.07 | 29.01 | 29.25 | 29.45 | 57.45 | 29.17 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2367 | 0.067137 | 0.14814 | 0.10764 | 57.0897 | 67.7478 | 59.4398 | 57.0897 | 59.4398 | 59.4398 | 58.6564 | 57.45 | 1.2064
44775.5738 | 54.07 | 50.45 | 45.79 | 29.03 | 29.27 | 29.45 | 58.33 | 29.17 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.25 | 0.078824 | 0.12411 | 0.10147 | 58.3081 | 64.0786 | 59.6543 | 58.3081 | 59.6543 | 59.6543 | 59.2056 | 58.33 | 0.87557
44775.5738 | 54.57 | 51.11 | 46.65 | 29.01 | 29.27 | 29.47 | 57.95 | 29.19 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.25 | 0.073468 | 0.11409 | 0.093781 | 58.5776 | 63.7526 | 59.7936 | 58.5776 | 59.7936 | 59.7936 | 59.3883 | 57.95 | 1.4383
44775.5738 | 54.73 | 51.81 | 47.67 | 29.01 | 29.27 | 29.47 | 57.65 | 29.19 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.25 | 0.060858 | 0.10137 | 0.081114 | 58.0279 | 63.0906 | 59.2178 | 58.0279 | 59.2178 | 59.2178 | 58.8212 | 57.65 | 1.1712
44775.5738 | 54.85 | 52.07 | 48.51 | 29.03 | 29.27 | 29.47 | 57.83 | 29.19 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2567 | 0.057493 | 0.08483 | 0.071162 | 57.9688 | 61.2865 | 58.7645 | 57.9688 | 58.7645 | 58.7645 | 58.4993 | 57.83 | 0.66926
44775.5738 | 55.79 | 51.95 | 48.81 | 29.03 | 29.31 | 29.43 | 57.79 | 29.17 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2567 | 0.078165 | 0.074463 | 0.076314 | 60.2798 | 59.8237 | 60.1651 | 60.2798 | 60.1651 | 60.1651 | 60.2033 | 57.79 | 2.4133
44775.5738 | 55.89 | 52.37 | 49.11 | 29.03 | 29.31 | 29.47 | 57.07 | 29.19 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.27 | 0.070915 | 0.076066 | 0.073491 | 59.9464 | 60.585 | 60.1048 | 59.9464 | 60.1048 | 60.1048 | 60.052 | 57.07 | 2.982
44775.5738 | 55.55 | 52.69 | 49.45 | 29.03 | 29.31 | 29.49 | 57.53 | 29.19 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2767 | 0.057624 | 0.074472 | 0.066048 | 58.7594 | 60.8147 | 59.2603 | 58.7594 | 59.2603 | 59.2603 | 59.0933 | 57.53 | 1.5633
44775.5738 | 55.83 | 52.51 | 49.93 | 29.03 | 29.33 | 29.49 | 58.31 | 29.21 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2833 | 0.066802 | 0.058874 | 0.062838 | 59.6246 | 58.6775 | 59.385 | 59.6246 | 59.385 | 59.385 | 59.4648 | 58.31 | 1.1548
44775.5738 | 55.87 | 53.21 | 49.73 | 29.03 | 29.31 | 29.51 | 58.05 | 29.23 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2833 | 0.052708 | 0.078587 | 0.065647 | 58.8257 | 62.0477 | 59.6002 | 58.8257 | 59.6002 | 59.6002 | 59.3421 | 58.05 | 1.2921
44775.5738 | 55.45 | 53.85 | 50.09 | 29.05 | 29.31 | 29.53 | 57.35 | 29.23 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2967 | 0.031565 | 0.083108 | 0.057336 | 57.1543 | 63.5327 | 58.6278 | 57.1543 | 58.6278 | 58.6278 | 58.1366 | 57.35 | 0.78661
44775.5739 | 55.23 | 53.89 | 50.45 | 29.05 | 29.33 | 29.51 | 57.65 | 29.23 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.2967 | 0.026527 | 0.075339 | 0.050933 | 56.643 | 62.5392 | 58.011 | 56.643 | 58.011 | 58.011 | 57.555 | 57.65 | -0.095024
44775.5739 | 55.79 | 53.69 | 50.63 | 29.07 | 29.35 | 29.51 | 57.83 | 29.21 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.31 | 0.041313 | 0.067059 | 0.054186 | 58.0709 | 61.1906 | 58.821 | 58.0709 | 58.821 | 58.821 | 58.5709 | 57.83 | 0.74094
44775.5739 | 56.01 | 53.79 | 50.77 | 29.11 | 29.35 | 29.51 | 57.09 | 29.23 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.3233 | 0.043426 | 0.065871 | 0.054649 | 58.4314 | 61.1657 | 59.0922 | 58.4314 | 59.0922 | 59.0922 | 58.8719 | 57.09 | 1.7819
44775.5739 | 55.27 | 53.79 | 51.21 | 29.07 | 29.35 | 29.51 | 56.55 | 29.23 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.31 | 0.02935 | 0.055685 | 0.042518 | 56.8395 | 59.8976 | 57.5741 | 56.8395 | 57.5741 | 57.5741 | 57.3292 | 56.55 | 0.77922
44775.5739 | 54.99 | 53.35 | 51.65 | 29.11 | 29.35 | 29.53 | 57.37 | 29.25 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.33 | 0.033023 | 0.036702 | 0.034863 | 56.742 | 57.1483 | 56.843 | 56.742 | 56.843 | 56.843 | 56.8093 | 57.37 | -0.56068
44775.5739 | 55.29 | 53.13 | 51.47 | 29.05 | 29.37 | 29.53 | 56.79 | 29.27 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.3167 | 0.043412 | 0.036129 | 0.039771 | 57.6459 | 56.8325 | 57.4403 | 57.6459 | 57.4403 | 57.4403 | 57.5089 | 56.79 | 0.71887
44775.5739 | 55.07 | 53.45 | 51.35 | 29.11 | 29.39 | 29.53 | 55.95 | 29.25 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.3433 | 0.03252 | 0.045571 | 0.039046 | 56.7989 | 58.2703 | 57.1596 | 56.7989 | 57.1596 | 57.1596 | 57.0393 | 55.95 | 1.0893
44775.5739 | 54.67 | 53.71 | 51.35 | 29.11 | 29.41 | 29.53 | 55.19 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.35 | 0.019326 | 0.05095 | 0.035138 | 55.6678 | 59.2166 | 56.5134 | 55.6678 | 56.5134 | 56.5134 | 56.2315 | 55.19 | 1.0415
44775.5739 | 54.39 | 53.25 | 51.49 | 29.11 | 29.39 | 29.55 | 55.23 | 29.25 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.35 | 0.023298 | 0.038246 | 0.030772 | 55.5844 | 57.2009 | 55.9795 | 55.5844 | 55.9795 | 55.9795 | 55.8478 | 55.23 | 0.61778
44775.5739 | 54.85 | 53.23 | 51.35 | 29.11 | 29.39 | 29.55 | 54.77 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.35 | 0.032819 | 0.040999 | 0.036909 | 56.5799 | 57.4857 | 56.8036 | 56.5799 | 56.8036 | 56.8036 | 56.729 | 54.77 | 1.959
44775.5739 | 54.23 | 53.09 | 50.95 | 29.11 | 29.39 | 29.55 | 54.01 | 29.27 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.35 | 0.023451 | 0.047234 | 0.035343 | 55.4247 | 58.0271 | 56.0523 | 55.4247 | 56.0523 | 56.0523 | 55.8431 | 54.01 | 1.8331
44775.5739 | 53.21 | 53.17 | 51.33 | 29.11 | 29.41 | 29.57 | 53.69 | 29.27 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.3633 | 0.0008394 | 0.04022 | 0.02053 | 53.2501 | 57.3253 | 54.2095 | 53.2501 | 54.2095 | 54.2095 | 53.8897 | 53.69 | 0.19969
44775.5739 | 52.91 | 52.97 | 51.43 | 29.13 | 29.43 | 29.59 | 53.65 | 29.27 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.3833 | -0.0012735 | 0.03376 | 0.016243 | 52.8502 | 56.3802 | 53.6869 | 52.8502 | 53.6869 | 53.6869 | 53.408 | 53.65 | -0.24205
44775.5739 | 52.91 | 52.33 | 50.83 | 29.13 | 29.45 | 29.59 | 53.25 | 29.27 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.39 | 0.012485 | 0.033812 | 0.023148 | 53.5047 | 55.6522 | 54.0245 | 53.5047 | 54.0245 | 54.0245 | 53.8512 | 53.25 | 0.60122
44775.5739 | 52.35 | 52.59 | 50.73 | 29.13 | 29.43 | 29.59 | 52.91 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.3833 | -0.0051979 | 0.041772 | 0.018287 | 52.1125 | 56.8103 | 53.2055 | 52.1125 | 53.2055 | 53.2055 | 52.8412 | 52.91 | -0.068815
44775.5739 | 51.83 | 52.21 | 50.77 | 29.13 | 29.43 | 29.63 | 52.71 | 29.27 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.3967 | -0.0083986 | 0.032601 | 0.012101 | 51.4563 | 55.3876 | 52.3796 | 51.4563 | 52.3796 | 52.3796 | 52.0718 | 52.71 | -0.63819
44775.574 | 51.77 | 51.47 | 51.05 | 29.13 | 29.45 | 29.57 | 52.77 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.3833 | 0.0067457 | 0.0095996 | 0.0081726 | 52.0741 | 52.3346 | 52.1389 | 52.0741 | 52.1389 | 52.1389 | 52.1173 | 52.77 | -0.65269
44775.574 | 51.85 | 51.17 | 50.25 | 29.15 | 29.47 | 29.59 | 52.55 | 29.27 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4033 | 0.015381 | 0.021593 | 0.018487 | 52.5512 | 53.1336 | 52.6955 | 52.5512 | 52.6955 | 52.6955 | 52.6474 | 52.55 | 0.0974
44775.574 | 51.33 | 51.11 | 50.31 | 29.15 | 29.45 | 29.63 | 52.65 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.41 | 0.0050436 | 0.018782 | 0.011913 | 51.5522 | 52.803 | 51.8585 | 51.5522 | 51.8585 | 51.8585 | 51.7564 | 52.65 | -0.89358
44775.574 | 50.95 | 50.69 | 50.53 | 29.13 | 29.47 | 29.59 | 53.69 | 29.31 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.3967 | 0.0060682 | 0.0037712 | 0.0049197 | 51.2132 | 51.0136 | 51.1631 | 51.2132 | 51.1631 | 51.1631 | 51.1798 | 53.69 | -2.5102
44775.574 | 50.83 | 50.33 | 50.27 | 29.15 | 29.47 | 29.63 | 54.19 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4167 | 0.011813 | 0.0014366 | 0.006625 | 51.342 | 50.4505 | 51.1156 | 51.342 | 51.1156 | 51.1156 | 51.1911 | 54.19 | -2.9989
44775.574 | 50.97 | 50.25 | 49.43 | 29.15 | 29.45 | 29.63 | 54.15 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.41 | 0.016983 | 0.020071 | 0.018527 | 51.7149 | 51.9921 | 51.7839 | 51.7149 | 51.7839 | 51.7839 | 51.7609 | 54.15 | -2.3891
44775.574 | 51.15 | 49.79 | 49.43 | 29.15 | 29.47 | 29.59 | 54.19 | 29.25 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4033 | 0.03229 | 0.0089082 | 0.020599 | 52.6007 | 50.5295 | 52.0646 | 52.6007 | 52.0646 | 52.0646 | 52.2433 | 54.19 | -1.9467
44775.574 | 51.43 | 49.59 | 48.97 | 29.15 | 29.47 | 29.63 | 54.55 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4167 | 0.043643 | 0.015608 | 0.029626 | 53.4378 | 50.8896 | 52.7737 | 53.4378 | 52.7737 | 52.7737 | 52.9951 | 54.55 | -1.5549
44775.574 | 51.83 | 49.41 | 48.75 | 29.17 | 29.45 | 29.63 | 54.53 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4167 | 0.057129 | 0.016784 | 0.036956 | 54.5429 | 50.7984 | 53.5494 | 54.5429 | 53.5494 | 53.5494 | 53.8806 | 54.53 | -0.64944
44775.574 | 52.19 | 49.39 | 48.43 | 29.17 | 29.45 | 29.67 | 54.53 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.43 | 0.065637 | 0.024646 | 0.045141 | 55.3828 | 51.458 | 54.3405 | 55.3828 | 54.3405 | 54.3405 | 54.6879 | 54.53 | 0.1579
44775.574 | 52.09 | 49.55 | 48.47 | 29.17 | 29.45 | 29.63 | 54.85 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4167 | 0.059406 | 0.027567 | 0.043487 | 54.9504 | 51.8971 | 54.1503 | 54.9504 | 54.1503 | 54.1503 | 54.417 | 54.85 | -0.433
44775.574 | 52.51 | 49.49 | 48.17 | 29.15 | 29.49 | 29.65 | 55.19 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.43 | 0.070119 | 0.034034 | 0.052077 | 55.9847 | 52.4155 | 55.0435 | 55.9847 | 55.0435 | 55.0435 | 55.3572 | 55.19 | 0.16722
44775.574 | 52.69 | 49.87 | 47.75 | 29.17 | 29.49 | 29.65 | 55.05 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4367 | 0.06464 | 0.054769 | 0.059705 | 55.8992 | 54.8747 | 55.6393 | 55.8992 | 55.6393 | 55.6393 | 55.7259 | 55.05 | 0.6759
44775.574 | 52.35 | 50.55 | 47.67 | 29.17 | 29.53 | 29.65 | 55.33 | 29.27 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.45 | 0.040932 | 0.073377 | 0.057154 | 54.3036 | 57.7477 | 55.1231 | 54.3036 | 55.1231 | 55.1231 | 54.8499 | 55.33 | -0.48005
44775.574 | 52.77 | 50.61 | 47.87 | 29.17 | 29.49 | 29.59 | 56.13 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4167 | 0.048527 | 0.069221 | 0.058874 | 55.1501 | 57.3709 | 55.6882 | 55.1501 | 55.6882 | 55.6882 | 55.5089 | 56.13 | -0.62113
44775.574 | 53.13 | 50.65 | 48.07 | 29.17 | 29.49 | 29.63 | 56.27 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.43 | 0.055265 | 0.064817 | 0.060041 | 55.8998 | 56.9307 | 56.1539 | 55.8998 | 56.1539 | 56.1539 | 56.0692 | 56.27 | -0.2008
44775.574 | 53.13 | 51.21 | 48.49 | 29.21 | 29.47 | 29.65 | 56.87 | 29.31 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4433 | 0.042266 | 0.066744 | 0.054505 | 55.2194 | 57.8708 | 55.8581 | 55.2194 | 55.8581 | 55.8581 | 55.6452 | 56.87 | -1.2248
44775.5741 | 53.69 | 50.95 | 49.23 | 29.19 | 29.49 | 29.63 | 57.27 | 29.33 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4367 | 0.059941 | 0.041664 | 0.050802 | 56.779 | 54.8514 | 56.2838 | 56.779 | 56.2838 | 56.2838 | 56.4488 | 57.27 | -0.82115
44775.5741 | 53.85 | 51.07 | 49.19 | 29.21 | 29.53 | 29.65 | 57.11 | 29.31 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4633 | 0.060517 | 0.045515 | 0.053016 | 56.9877 | 55.3846 | 56.5778 | 56.9877 | 56.5778 | 56.5778 | 56.7145 | 57.11 | -0.39554
44775.5741 | 54.21 | 51.25 | 49.17 | 29.19 | 29.49 | 29.67 | 56.99 | 29.29 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.45 | 0.06366 | 0.050138 | 0.056899 | 57.5719 | 56.0913 | 57.1942 | 57.5719 | 57.1942 | 57.1942 | 57.3201 | 56.99 | 0.33012
44775.5741 | 54.71 | 51.45 | 49.53 | 29.21 | 29.49 | 29.65 | 57.29 | 29.31 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.45 | 0.06909 | 0.045659 | 0.057374 | 58.4531 | 55.8583 | 57.7814 | 58.4531 | 57.7814 | 57.7814 | 58.0053 | 57.29 | 0.7153
44775.5741 | 54.95 | 51.33 | 49.57 | 29.23 | 29.53 | 29.67 | 57.43 | 29.27 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4767 | 0.076639 | 0.041983 | 0.059311 | 59.1697 | 55.326 | 58.1582 | 59.1697 | 58.1582 | 58.1582 | 58.4954 | 57.43 | 1.0654
44775.5741 | 55.43 | 51.65 | 49.29 | 29.23 | 29.49 | 29.65 | 57.85 | 29.33 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4567 | 0.078639 | 0.056214 | 0.067427 | 59.8538 | 57.2459 | 59.1797 | 59.8538 | 59.1797 | 59.1797 | 59.4044 | 57.85 | 1.5544
44775.5741 | 55.15 | 52.43 | 49.73 | 29.21 | 29.53 | 29.65 | 57.89 | 29.31 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4633 | 0.055964 | 0.062533 | 0.059249 | 58.1921 | 58.957 | 58.3815 | 58.1921 | 58.3815 | 58.3815 | 58.3184 | 57.89 | 0.42837
44775.5741 | 55.13 | 52.81 | 49.67 | 29.23 | 29.53 | 29.65 | 58.21 | 29.33 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.47 | 0.047382 | 0.072243 | 0.059813 | 57.6806 | 60.6302 | 58.3907 | 57.6806 | 58.3907 | 58.3907 | 58.154 | 58.21 | -0.055975
44775.5741 | 55.45 | 53.07 | 49.79 | 29.21 | 29.49 | 29.69 | 57.95 | 29.31 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4633 | 0.048027 | 0.074798 | 0.061412 | 58.0699 | 61.3032 | 58.8461 | 58.0699 | 58.8461 | 58.8461 | 58.5874 | 57.95 | 0.63739
44775.5741 | 55.67 | 53.03 | 49.81 | 29.23 | 29.49 | 29.69 | 57.45 | 29.31 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.47 | 0.053105 | 0.07348 | 0.063293 | 58.6058 | 61.08 | 59.2056 | 58.6058 | 59.2056 | 59.2056 | 59.0057 | 57.45 | 1.5557
44775.5741 | 55.69 | 53.05 | 50.35 | 29.25 | 29.53 | 29.69 | 57.11 | 29.31 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.49 | 0.053105 | 0.060858 | 0.056981 | 58.6258 | 59.5437 | 58.8526 | 58.6258 | 58.8526 | 58.8526 | 58.777 | 57.11 | 1.667
44775.5741 | 55.79 | 53.03 | 50.51 | 29.23 | 29.49 | 29.69 | 56.65 | 29.31 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.47 | 0.055389 | 0.056562 | 0.055976 | 58.8733 | 59.0116 | 58.9078 | 58.8733 | 58.9078 | 58.9078 | 58.8963 | 56.65 | 2.2463
44775.5741 | 55.83 | 53.35 | 50.59 | 29.23 | 29.53 | 29.69 | 56.09 | 29.33 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4833 | 0.049429 | 0.061447 | 0.055438 | 58.5677 | 59.9999 | 58.9193 | 58.5677 | 58.9193 | 58.9193 | 58.8021 | 56.09 | 2.7121
44775.5741 | 55.61 | 53.63 | 50.89 | 29.27 | 29.53 | 29.67 | 55.63 | 29.33 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.49 | 0.039416 | 0.06024 | 0.049828 | 57.7524 | 60.2074 | 58.3471 | 57.7524 | 58.3471 | 58.3471 | 58.1489 | 55.63 | 2.5189
44775.5741 | 55.27 | 53.75 | 51.17 | 29.25 | 29.55 | 29.69 | 55.65 | 29.37 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.4967 | 0.030393 | 0.056236 | 0.043314 | 56.8853 | 59.8679 | 57.6023 | 56.8853 | 57.6023 | 57.6023 | 57.3633 | 55.65 | 1.7133
44775.5741 | 54.91 | 53.73 | 51.23 | 29.27 | 29.57 | 29.73 | 55.73 | 29.37 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5233 | 0.023798 | 0.054504 | 0.039151 | 56.1475 | 59.627 | 56.9777 | 56.1475 | 56.9777 | 56.9777 | 56.701 | 55.73 | 0.971
44775.5741 | 54.39 | 53.87 | 51.11 | 29.27 | 29.55 | 29.73 | 55.45 | 29.33 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5167 | 0.010564 | 0.060142 | 0.035353 | 54.9211 | 60.4934 | 56.2124 | 54.9211 | 56.2124 | 56.2124 | 55.7819 | 55.45 | 0.33194
44775.5742 | 54.07 | 53.81 | 51.37 | 29.29 | 29.57 | 29.73 | 54.91 | 29.31 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.53 | 0.0053257 | 0.052955 | 0.02914 | 54.3328 | 59.5383 | 55.5427 | 54.3328 | 55.5427 | 55.5427 | 55.1394 | 54.91 | 0.2294
44775.5742 | 53.39 | 53.65 | 51.61 | 29.27 | 29.59 | 29.71 | 55.33 | 29.37 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5233 | -0.0054175 | 0.044172 | 0.019377 | 53.1328 | 58.3127 | 54.3331 | 53.1328 | 54.3331 | 54.3331 | 53.933 | 55.33 | -1.397
44775.5742 | 53.47 | 53.41 | 51.73 | 29.29 | 29.57 | 29.73 | 55.51 | 29.33 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.53 | 0.0012547 | 0.036474 | 0.018865 | 53.5302 | 57.161 | 54.3905 | 53.5302 | 54.3905 | 54.3905 | 54.1037 | 55.51 | -1.4063
44775.5742 | 53.41 | 53.07 | 51.37 | 29.27 | 29.61 | 29.73 | 55.63 | 29.37 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5367 | 0.0071721 | 0.03749 | 0.022331 | 53.7549 | 56.8774 | 54.5004 | 53.7549 | 54.5004 | 54.5004 | 54.2519 | 55.63 | -1.3781
44775.5742 | 53.17 | 52.59 | 51.55 | 29.29 | 29.61 | 29.75 | 55.49 | 29.37 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.55 | 0.012431 | 0.023095 | 0.017763 | 53.7646 | 54.8198 | 54.0242 | 53.7646 | 54.0242 | 54.0242 | 53.9377 | 55.49 | -1.5523
44775.5742 | 52.91 | 52.43 | 51.45 | 29.29 | 29.59 | 29.73 | 54.89 | 29.33 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5367 | 0.010375 | 0.021875 | 0.016125 | 53.4001 | 54.5234 | 53.6761 | 53.4001 | 53.6761 | 53.6761 | 53.5841 | 54.89 | -1.3059
44775.5742 | 52.93 | 51.69 | 51.11 | 29.33 | 29.59 | 29.75 | 55.07 | 29.37 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5567 | 0.027256 | 0.013277 | 0.020266 | 54.2395 | 52.8972 | 53.8968 | 54.2395 | 53.8968 | 53.8968 | 54.0111 | 55.07 | -1.0589
44775.5742 | 53.03 | 51.53 | 50.77 | 29.33 | 29.61 | 29.75 | 54.85 | 29.37 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5633 | 0.033027 | 0.017605 | 0.025316 | 54.6324 | 53.1327 | 54.2488 | 54.6324 | 54.2488 | 54.2488 | 54.3767 | 54.85 | -0.47334
44775.5742 | 53.17 | 51.39 | 50.53 | 29.29 | 29.61 | 29.77 | 53.93 | 29.37 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5567 | 0.039187 | 0.020093 | 0.02964 | 55.0951 | 53.2172 | 54.6121 | 55.0951 | 54.6121 | 54.6121 | 54.7731 | 53.93 | 0.84312
44775.5742 | 52.89 | 51.15 | 50.39 | 29.29 | 29.63 | 29.77 | 53.51 | 29.39 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5633 | 0.038761 | 0.017921 | 0.028341 | 54.7703 | 52.7542 | 54.2504 | 54.7703 | 54.2504 | 54.2504 | 54.4237 | 53.51 | 0.91367
44775.5742 | 52.67 | 50.87 | 50.15 | 29.35 | 29.63 | 29.75 | 53.55 | 29.39 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5767 | 0.040575 | 0.017199 | 0.028887 | 54.6222 | 52.3865 | 54.0435 | 54.6222 | 54.0435 | 54.0435 | 54.2364 | 53.55 | 0.68638
44775.5742 | 52.43 | 50.67 | 49.81 | 29.33 | 29.63 | 29.77 | 53.49 | 29.41 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5767 | 0.04007 | 0.020813 | 0.030441 | 54.3369 | 52.5012 | 53.8646 | 54.3369 | 53.8646 | 53.8646 | 54.022 | 53.49 | 0.53202
44775.5742 | 52.41 | 50.55 | 49.41 | 29.37 | 29.65 | 29.79 | 53.23 | 29.39 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6033 | 0.042537 | 0.02798 | 0.035259 | 54.4352 | 53.0306 | 54.0763 | 54.4352 | 54.0763 | 54.0763 | 54.1959 | 53.23 | 0.96594
44775.5742 | 51.89 | 50.95 | 49.01 | 29.35 | 29.63 | 29.75 | 53.37 | 29.41 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5767 | 0.02152 | 0.047577 | 0.034549 | 52.8713 | 55.4303 | 53.4863 | 52.8713 | 53.4863 | 53.4863 | 53.2813 | 53.37 | -0.088682
44775.5742 | 51.39 | 50.97 | 49.15 | 29.39 | 29.63 | 29.79 | 53.67 | 29.39 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6033 | 0.009733 | 0.044514 | 0.027123 | 51.8183 | 55.1342 | 52.6045 | 51.8183 | 52.6045 | 52.6045 | 52.3424 | 53.67 | -1.3276
44775.5742 | 51.19 | 50.91 | 48.85 | 29.37 | 29.65 | 29.77 | 54.35 | 29.41 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5967 | 0.0065259 | 0.050824 | 0.028675 | 51.4737 | 55.7148 | 52.4646 | 51.4737 | 52.4646 | 52.4646 | 52.1343 | 54.35 | -2.2157
44775.5742 | 51.29 | 50.49 | 48.49 | 29.35 | 29.65 | 29.79 | 54.25 | 29.43 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.5967 | 0.018787 | 0.050311 | 0.034549 | 52.1206 | 55.1476 | 52.842 | 52.1206 | 52.842 | 52.842 | 52.6015 | 54.25 | -1.6485
44775.5743 | 51.29 | 50.35 | 48.49 | 29.37 | 29.65 | 29.81 | 53.75 | 29.41 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.61 | 0.022163 | 0.046981 | 0.034572 | 52.2726 | 54.6378 | 52.8421 | 52.2726 | 52.8421 | 52.8421 | 52.6522 | 53.75 | -1.0978
44775.5743 | 50.91 | 50.45 | 48.67 | 29.39 | 29.65 | 29.79 | 53.41 | 29.41 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.61 | 0.010916 | 0.044641 | 0.027779 | 51.3802 | 54.5242 | 52.1269 | 51.3802 | 52.1269 | 52.1269 | 51.878 | 53.41 | -1.532
44775.5743 | 51.31 | 49.77 | 48.81 | 29.41 | 29.65 | 29.79 | 53.79 | 29.43 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6167 | 0.036818 | 0.024403 | 0.03061 | 52.9677 | 51.8365 | 52.6796 | 52.9677 | 52.6796 | 52.6796 | 52.7756 | 53.79 | -1.0144
44775.5743 | 51.35 | 49.31 | 48.39 | 29.37 | 29.65 | 29.81 | 53.71 | 29.45 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.61 | 0.049268 | 0.023913 | 0.03659 | 53.6012 | 51.2874 | 53.0006 | 53.6012 | 53.0006 | 53.0006 | 53.2008 | 53.71 | -0.50918
44775.5743 | 50.83 | 49.01 | 48.15 | 29.39 | 29.67 | 29.81 | 53.13 | 29.45 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6233 | 0.044865 | 0.022687 | 0.033776 | 52.8209 | 50.8516 | 52.3121 | 52.8209 | 52.3121 | 52.3121 | 52.4817 | 53.13 | -0.64835
44775.5743 | 50.65 | 48.73 | 47.77 | 29.39 | 29.67 | 29.79 | 52.65 | 29.45 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6167 | 0.047861 | 0.025766 | 0.036814 | 52.7629 | 50.805 | 52.2571 | 52.7629 | 52.2571 | 52.2571 | 52.4257 | 52.65 | -0.22434
44775.5743 | 50.09 | 48.29 | 47.33 | 29.37 | 29.67 | 29.81 | 52.33 | 29.43 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6167 | 0.046013 | 0.026389 | 0.036201 | 52.0635 | 50.3689 | 51.6273 | 52.0635 | 51.6273 | 51.6273 | 51.7727 | 52.33 | -0.55729
44775.5743 | 49.85 | 47.81 | 47.17 | 29.39 | 29.69 | 29.81 | 51.93 | 29.45 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.63 | 0.053175 | 0.017919 | 0.035547 | 52.1189 | 49.1609 | 51.3399 | 52.1189 | 51.3399 | 51.3399 | 51.5995 | 51.93 | -0.33046
44775.5743 | 49.33 | 47.63 | 46.63 | 29.39 | 29.69 | 29.87 | 51.33 | 29.45 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.65 | 0.045171 | 0.028612 | 0.036892 | 51.1907 | 49.8101 | 50.837 | 51.1907 | 50.837 | 50.837 | 50.9549 | 51.33 | -0.37511
44775.5743 | 48.91 | 47.23 | 46.51 | 29.39 | 29.71 | 29.85 | 51.05 | 29.43 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.65 | 0.045634 | 0.020909 | 0.033272 | 50.7505 | 48.7636 | 50.2352 | 50.7505 | 50.2352 | 50.2352 | 50.407 | 51.05 | -0.643
44775.5743 | 48.73 | 47.03 | 45.95 | 29.39 | 29.67 | 29.89 | 50.53 | 29.47 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.65 | 0.04666 | 0.032078 | 0.039369 | 50.5963 | 49.4094 | 50.293 | 50.5963 | 50.293 | 50.293 | 50.3941 | 50.53 | -0.13588
44775.5743 | 48.37 | 46.41 | 45.71 | 29.39 | 29.67 | 29.87 | 50.15 | 29.47 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6433 | 0.055278 | 0.021323 | 0.0383 | 50.5591 | 47.9028 | 49.8609 | 50.5591 | 49.8609 | 49.8609 | 50.0936 | 50.15 | -0.056392
44775.5743 | 47.79 | 46.29 | 45.69 | 29.39 | 29.69 | 29.87 | 49.85 | 29.47 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.65 | 0.043155 | 0.018362 | 0.030758 | 49.4252 | 47.5582 | 48.941 | 49.4252 | 48.941 | 48.941 | 49.1024 | 49.85 | -0.74762
44775.5743 | 47.43 | 46.13 | 45.35 | 29.43 | 29.69 | 29.85 | 49.31 | 29.47 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6567 | 0.037978 | 0.024253 | 0.031116 | 48.8326 | 47.8082 | 48.5712 | 48.8326 | 48.5712 | 48.5712 | 48.6583 | 49.31 | -0.65167
44775.5743 | 47.17 | 45.93 | 45.15 | 29.39 | 29.67 | 29.85 | 49.05 | 29.49 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6367 | 0.036674 | 0.024528 | 0.030601 | 48.5044 | 47.6096 | 48.2766 | 48.5044 | 48.2766 | 48.2766 | 48.3525 | 49.05 | -0.69748
44775.5743 | 46.85 | 45.61 | 44.83 | 29.41 | 29.67 | 29.85 | 48.81 | 29.49 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6433 | 0.037397 | 0.025043 | 0.03122 | 48.1863 | 47.2922 | 47.9586 | 48.1863 | 47.9586 | 47.9586 | 48.0345 | 48.81 | -0.77548
44775.5743 | 46.61 | 45.19 | 44.41 | 29.37 | 29.71 | 29.87 | 48.67 | 29.47 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.65 | 0.04372 | 0.025748 | 0.034734 | 48.1598 | 46.8758 | 47.8301 | 48.1598 | 47.8301 | 47.8301 | 47.94 | 48.67 | -0.73003
44775.5744 | 46.39 | 44.99 | 44.25 | 29.39 | 29.71 | 29.85 | 48.19 | 29.49 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.65 | 0.043669 | 0.024721 | 0.034195 | 47.9178 | 46.5844 | 47.5749 | 47.9178 | 47.5749 | 47.5749 | 47.6892 | 48.19 | -0.50081
44775.5744 | 45.85 | 44.65 | 43.97 | 29.39 | 29.71 | 29.85 | 47.81 | 29.53 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.65 | 0.038481 | 0.023197 | 0.030839 | 47.146 | 46.1084 | 46.8806 | 47.146 | 46.8806 | 46.8806 | 46.9691 | 47.81 | -0.84092
44775.5744 | 45.69 | 44.57 | 43.63 | 29.39 | 29.71 | 29.89 | 47.43 | 29.51 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6633 | 0.036223 | 0.032568 | 0.034395 | 46.8942 | 46.6441 | 46.8313 | 46.8942 | 46.8313 | 46.8313 | 46.8522 | 47.43 | -0.57776
44775.5744 | 45.45 | 44.15 | 43.39 | 29.39 | 29.69 | 29.89 | 47.11 | 29.49 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6567 | 0.04295 | 0.026931 | 0.03494 | 46.8666 | 45.7985 | 46.5931 | 46.8666 | 46.5931 | 46.5931 | 46.6843 | 47.11 | -0.42571
44775.5744 | 45.07 | 43.97 | 43.17 | 29.41 | 29.69 | 29.91 | 46.83 | 29.49 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.67 | 0.037054 | 0.028785 | 0.032919 | 46.2546 | 45.715 | 46.118 | 46.2546 | 46.118 | 46.118 | 46.1636 | 46.83 | -0.66643
44775.5744 | 44.67 | 43.59 | 43.07 | 29.39 | 29.65 | 29.85 | 46.49 | 29.49 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.63 | 0.037259 | 0.01898 | 0.028119 | 45.8336 | 44.6911 | 45.5401 | 45.8336 | 45.5401 | 45.5401 | 45.6379 | 46.49 | -0.8521
44775.5744 | 44.63 | 43.49 | 42.63 | 29.41 | 29.71 | 29.87 | 46.39 | 29.51 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6633 | 0.039613 | 0.032109 | 0.035861 | 45.864 | 45.3849 | 45.7429 | 45.864 | 45.7429 | 45.7429 | 45.7832 | 46.39 | -0.60676
44775.5744 | 44.41 | 43.19 | 42.45 | 29.39 | 29.69 | 29.91 | 45.89 | 29.51 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6633 | 0.043177 | 0.02813 | 0.035654 | 45.74 | 44.801 | 45.4999 | 45.74 | 45.4999 | 45.4999 | 45.58 | 45.89 | -0.31003
44775.5744 | 43.91 | 43.11 | 42.23 | 29.37 | 29.69 | 29.89 | 45.59 | 29.49 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.65 | 0.028868 | 0.033807 | 0.031338 | 44.7575 | 45.059 | 44.8323 | 44.7575 | 44.8323 | 44.8323 | 44.8074 | 45.59 | -0.78258
44775.5744 | 43.59 | 42.77 | 42.01 | 29.41 | 29.69 | 29.89 | 45.29 | 29.49 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6633 | 0.030342 | 0.029867 | 0.030105 | 44.4613 | 44.4332 | 44.4543 | 44.4613 | 44.4543 | 44.4543 | 44.4566 | 45.29 | -0.83338
44775.5744 | 43.53 | 42.41 | 41.93 | 29.39 | 29.69 | 29.89 | 44.93 | 29.47 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6567 | 0.042088 | 0.019182 | 0.030635 | 44.7484 | 43.4271 | 44.4066 | 44.7484 | 44.4066 | 44.4066 | 44.5205 | 44.93 | -0.40948
44775.5744 | 43.19 | 42.09 | 41.47 | 29.39 | 29.69 | 29.87 | 44.75 | 29.49 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.65 | 0.042366 | 0.025562 | 0.033964 | 44.3873 | 43.4293 | 44.1417 | 44.3873 | 44.1417 | 44.1417 | 44.2236 | 44.75 | -0.52645
44775.5744 | 42.99 | 41.87 | 41.43 | 29.39 | 29.69 | 29.87 | 44.67 | 29.47 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.65 | 0.043847 | 0.018335 | 0.031091 | 44.2127 | 42.7999 | 43.8458 | 44.2127 | 43.8458 | 43.8458 | 43.9681 | 44.67 | -0.70189
44775.5744 | 42.77 | 41.81 | 40.99 | 29.41 | 29.71 | 29.89 | 44.21 | 29.53 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.67 | 0.038053 | 0.034967 | 0.03651 | 43.8059 | 43.6325 | 43.7624 | 43.8059 | 43.7624 | 43.7624 | 43.7769 | 44.21 | -0.43312
44775.5744 | 42.51 | 41.73 | 40.89 | 29.39 | 29.67 | 29.85 | 44.15 | 29.49 |  |  | 0.05 | 0.1 | 0.2 | 0.3 | 29.6367 | 0.031252 | 0.035995 | 0.033623 | 43.3403 | 43.6028 | 43.4055 | 43.3403 | 43.4055 | 43.4055 | 43.3837 | 44.15 | -0.76626
◀ Newest
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Modulised Ln Inputs, Physics Uncertain

## Data Out
Data Out (To Device)
Data entered into the channels below will be sent to the currently connected device as a comma-delimited string.
CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10

## Settings
Workbook Settings
Settings below will affect how data is read into the current workbook from data sources. Clear a field's contents to revert to its default setting.
Data interval (ms) | 150 | 150
Data rows | 15 | 120
Data channels | 10 | 10
Data orientation | Newest last | Newest last
WARNING: Changing settings may result in the loss of content and/or custom formatting in the Data In and Data Out worksheets. Always save before changing values.

## Manifest
USB Serial Device
This manifest was generated for the connected device. You can edit the device name and channel data here and the Data In worksheet will be updated.
Channels
Data Source Id
|  | Id | Name | Description | Unit of Measure | Active | 69A2B7BD-D0E0-4836-8381-FD05A6B214DD | 1
|  | CH1 | CH1 |  |  | ü | Data Interval (ms)
|  | CH2 | CH2 |  |  | ü | 150
|  | CH3 | CH3 |  |  | ü | Baud Rate
|  | CH4 | CH4 |  |  | ü | 115200
|  | CH5 | CH5 |  |  | ü
|  | CH6 | CH6 |  |  | ü
|  | CH7 | CH7 |  |  | ü
|  | CH8 | CH8 |  |  | ü
|  | CH9 | CH9 |  |  | ü
|  | CH10 | CH10 |  |  | ü