## Data In
Data In (From USB Serial Device (COM7))
Data coming from the current data source will appear below as it is received.
Current Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10
44775.5787 | 40.25 | 41.49 | 51.79 | 29.05 | 29.53 | 29.91 | 41.63 | 29.51
Historical Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10 | track velocity | a | b | c | Tc | k (AB) | k (BC) | k (AC) | Th (AB) | Th (BC) | Th (AC) | Th! (AB) | Th! (BC) | Th! (AC) | Th Pred | Th test | Delta
44775.578 | 51.03 | 51.21 | 49.31 | 28.69 | 29.05 | 29.39 | 50.09 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0433 | -0.0027178 | 0.029871 | 0.013576 | 50.8515 | 55.5611 | 51.944 | 50.8515 | 51.944 | 51.944 | 51.5798 | 50.09 | 1.4898
44775.5781 | 50.53 | 50.87 | 49.51 | 28.69 | 29.03 | 29.41 | 49.91 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0433 | -0.0052333 | 0.021445 | 0.0081058 | 50.1953 | 53.8671 | 51.0589 | 50.1953 | 51.0589 | 51.0589 | 50.771 | 49.91 | 0.86104
44775.5781 | 50.19 | 50.51 | 49.23 | 28.71 | 29.01 | 29.39 | 49.27 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0367 | -0.0050048 | 0.020486 | 0.0077408 | 49.8748 | 53.3186 | 50.687 | 49.8748 | 50.687 | 50.687 | 50.4162 | 49.27 | 1.1462
44775.5781 | 49.71 | 50.15 | 48.93 | 28.71 | 29.03 | 29.43 | 48.99 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0567 | -0.0070268 | 0.019859 | 0.0064163 | 49.2792 | 52.8193 | 50.1114 | 49.2792 | 50.1114 | 50.1114 | 49.834 | 48.99 | 0.844
44775.5781 | 49.03 | 49.61 | 48.81 | 28.73 | 29.01 | 29.43 | 48.59 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0567 | -0.0095417 | 0.013234 | 0.001846 | 48.4664 | 51.3085 | 49.1409 | 48.4664 | 49.1409 | 49.1409 | 48.9161 | 48.59 | 0.32607
44775.5781 | 48.51 | 49.17 | 48.37 | 28.73 | 29.03 | 29.43 | 48.41 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0633 | -0.011125 | 0.013534 | 0.0012042 | 47.8717 | 50.8708 | 48.5804 | 47.8717 | 48.5804 | 48.5804 | 48.3441 | 48.41 | -0.065858
44775.5781 | 47.99 | 48.93 | 48.01 | 28.71 | 29.09 | 29.43 | 47.57 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0767 | -0.016168 | 0.015816 | -0.00017615 | 47.0945 | 50.9063 | 47.98 | 47.0945 | 47.98 | 47.98 | 47.6848 | 47.57 | 0.11484
44775.5781 | 47.65 | 49.03 | 47.73 | 28.71 | 29.05 | 29.41 | 47.21 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0567 | -0.023865 | 0.022434 | -0.00071556 | 46.3653 | 51.9078 | 47.6101 | 46.3653 | 47.6101 | 47.6101 | 47.1952 | 47.21 | -0.014799
44775.5781 | 47.55 | 48.81 | 47.91 | 28.73 | 29.05 | 29.43 | 46.83 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.07 | -0.021986 | 0.015555 | -0.0032155 | 46.3704 | 50.741 | 47.3726 | 46.3704 | 47.3726 | 47.3726 | 47.0385 | 46.83 | 0.20853
44775.5781 | 47.43 | 48.41 | 47.51 | 28.73 | 29.05 | 29.45 | 46.61 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0767 | -0.01734 | 0.01589 | -0.0007249 | 46.4997 | 50.344 | 47.3901 | 46.4997 | 47.3901 | 47.3901 | 47.0933 | 46.61 | 0.48331
44775.5781 | 46.81 | 48.05 | 47.21 | 28.71 | 29.05 | 29.47 | 46.51 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0767 | -0.022529 | 0.015094 | -0.0037176 | 45.651 | 49.8485 | 46.6133 | 45.651 | 46.6133 | 46.6133 | 46.2926 | 46.51 | -0.21744
44775.5781 | 46.45 | 47.57 | 47.07 | 28.73 | 29.09 | 29.43 | 45.93 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0833 | -0.020832 | 0.0091397 | -0.0058463 | 45.3979 | 48.6121 | 46.1481 | 45.3979 | 46.1481 | 46.1481 | 45.898 | 45.93 | -0.032008
44775.5781 | 46.37 | 47.27 | 46.87 | 28.77 | 29.05 | 29.43 | 45.73 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0833 | -0.016918 | 0.0074132 | -0.0047523 | 45.5145 | 48.0972 | 46.1253 | 45.5145 | 46.1253 | 46.1253 | 45.9217 | 45.73 | 0.19171
44775.5781 | 45.93 | 46.87 | 46.45 | 28.73 | 29.11 | 29.43 | 45.39 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.09 | -0.018106 | 0.0079685 | -0.0050686 | 45.0397 | 47.7407 | 45.6759 | 45.0397 | 45.6759 | 45.6759 | 45.4638 | 45.39 | 0.073812
44775.5781 | 45.97 | 46.57 | 46.07 | 28.75 | 29.09 | 29.47 | 45.31 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1033 | -0.011652 | 0.0096812 | -0.00098522 | 45.3906 | 47.6146 | 45.9202 | 45.3906 | 45.9202 | 45.9202 | 45.7437 | 45.31 | 0.43368
44775.5781 | 45.63 | 46.13 | 45.85 | 28.73 | 29.09 | 29.51 | 45.05 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.11 | -0.0099391 | 0.0055294 | -0.0022049 | 45.1447 | 46.7041 | 45.5211 | 45.1447 | 45.5211 | 45.5211 | 45.3956 | 45.05 | 0.34562
44775.5781 | 45.27 | 45.95 | 45.49 | 28.77 | 29.09 | 29.45 | 44.55 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1033 | -0.013734 | 0.0092283 | -0.0022527 | 44.6174 | 46.9091 | 45.1611 | 44.6174 | 45.1611 | 45.1611 | 44.9799 | 44.55 | 0.42989
44775.5781 | 44.95 | 45.69 | 45.19 | 28.77 | 29.09 | 29.47 | 44.51 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.11 | -0.01522 | 0.010207 | -0.0025063 | 44.243 | 46.7371 | 44.8313 | 44.243 | 44.8313 | 44.8313 | 44.6352 | 44.51 | 0.12524
44775.5782 | 44.57 | 45.37 | 44.75 | 28.77 | 29.09 | 29.45 | 44.09 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1033 | -0.01681 | 0.012953 | -0.0019285 | 43.8093 | 46.6847 | 44.4808 | 43.8093 | 44.4808 | 44.4808 | 44.257 | 44.09 | 0.16697
44775.5782 | 44.45 | 45.03 | 44.57 | 28.75 | 29.09 | 29.47 | 43.73 | 29.39 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1033 | -0.012366 | 0.0097692 | -0.0012981 | 43.8911 | 45.9914 | 44.3903 | 43.8911 | 44.3903 | 44.3903 | 44.2239 | 43.73 | 0.49394
44775.5782 | 43.99 | 44.71 | 44.31 | 28.75 | 29.11 | 29.45 | 43.49 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1033 | -0.015744 | 0.0086547 | -0.0035447 | 43.3032 | 45.5418 | 43.8325 | 43.3032 | 43.8325 | 43.8325 | 43.6561 | 43.49 | 0.16609
44775.5782 | 43.79 | 44.53 | 44.11 | 28.79 | 29.05 | 29.47 | 43.27 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1033 | -0.016386 | 0.009201 | -0.0035924 | 43.0855 | 45.4056 | 43.6326 | 43.0855 | 43.6326 | 43.6326 | 43.4502 | 43.27 | 0.18021
44775.5782 | 43.33 | 44.15 | 43.73 | 28.77 | 29.11 | 29.47 | 43.03 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1167 | -0.018696 | 0.0094452 | -0.0046256 | 42.5547 | 45.0266 | 43.1341 | 42.5547 | 43.1341 | 43.1341 | 42.941 | 43.03 | -0.089008
44775.5782 | 43.39 | 43.87 | 43.59 | 28.77 | 29.13 | 29.47 | 42.71 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.01103 | 0.00639 | -0.0023202 | 42.9256 | 44.4464 | 43.291 | 42.9256 | 43.291 | 43.291 | 43.1692 | 42.71 | 0.45923
44775.5782 | 43.03 | 43.61 | 43.27 | 28.77 | 29.13 | 29.45 | 42.67 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1167 | -0.013614 | 0.0079129 | -0.0028504 | 42.4732 | 44.3147 | 42.9115 | 42.4732 | 42.9115 | 42.9115 | 42.7654 | 42.67 | 0.095424
44775.5782 | 42.87 | 43.47 | 43.23 | 28.79 | 29.11 | 29.47 | 42.39 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.01424 | 0.0056234 | -0.0043085 | 42.2951 | 43.9623 | 42.6935 | 42.2951 | 42.6935 | 42.6935 | 42.5607 | 42.39 | 0.17067
44775.5782 | 42.63 | 43.23 | 42.99 | 28.77 | 29.11 | 29.47 | 42.15 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1167 | -0.014481 | 0.0057171 | -0.0043819 | 42.0555 | 43.7225 | 42.4535 | 42.0555 | 42.4535 | 42.4535 | 42.3208 | 42.15 | 0.17085
44775.5782 | 42.19 | 43.03 | 42.63 | 28.79 | 29.13 | 29.47 | 41.97 | 29.39 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.13 | -0.020778 | 0.0097331 | -0.0055226 | 41.4008 | 43.8659 | 41.9754 | 41.4008 | 41.9754 | 41.9754 | 41.7839 | 41.97 | -0.18614
44775.5782 | 42.13 | 42.63 | 42.49 | 28.77 | 29.11 | 29.47 | 41.53 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1167 | -0.012567 | 0.0034714 | -0.004548 | 41.6485 | 42.9144 | 41.9537 | 41.6485 | 41.9537 | 41.9537 | 41.8519 | 41.53 | 0.32193
44775.5782 | 41.83 | 42.53 | 42.15 | 28.75 | 29.11 | 29.47 | 41.55 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.11 | -0.017857 | 0.0095749 | -0.004141 | 41.1665 | 43.3235 | 41.673 | 41.1665 | 41.673 | 41.673 | 41.5041 | 41.55 | -0.045858 | 1 | 36.45 | 34.29 | 33.91 | 33.93 | 0 | 0.15 | 0.3 | 0.45
44775.5782 | 41.57 | 42.33 | 42.19 | 28.79 | 29.09 | 29.47 | 41.27 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1167 | -0.019746 | 0.0035506 | -0.0080977 | 40.8537 | 42.6145 | 41.2711 | 40.8537 | 41.2711 | 41.2711 | 41.132 | 41.27 | -0.13802 | 2 | 37.75 | 34.07 | 33.43 | 33.47
44775.5782 | 41.39 | 41.97 | 41.59 | 28.79 | 29.13 | 29.45 | 40.97 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.0154 | 0.010009 | -0.0026955 | 40.8362 | 42.7651 | 41.2912 | 40.8362 | 41.2912 | 41.2912 | 41.1395 | 40.97 | 0.16953 | 3 | 38.85 | 35.91 | 33.27 | 33.55
44775.5782 | 41.19 | 41.83 | 41.37 | 28.79 | 29.11 | 29.47 | 41.01 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.017227 | 0.012291 | -0.0024678 | 40.5822 | 42.8025 | 41.101 | 40.5822 | 41.101 | 41.101 | 40.9281 | 41.01 | -0.081925 | 4 | 41.17 | 35.85 | 33.33 | 33.41
44775.5782 | 40.91 | 41.57 | 41.35 | 28.79 | 29.11 | 29.47 | 40.61 | 29.39 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.018161 | 0.0059445 | -0.0061084 | 40.285 | 42.0219 | 40.696 | 40.285 | 40.696 | 40.696 | 40.559 | 40.61 | -0.051018 | 5 | 44.77 | 36.71 | 33.99 | 33.27
44775.5782 | 40.91 | 41.35 | 41.27 | 28.79 | 29.11 | 29.49 | 40.53 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.13 | -0.012224 | 0.0021894 | -0.0050171 | 40.4858 | 41.5116 | 40.734 | 40.4858 | 40.734 | 40.734 | 40.6513 | 40.53 | 0.1213 | 6 | 49.95 | 38.67 | 35.15 | 33.19
44775.5783 | 40.45 | 41.01 | 40.85 | 28.79 | 29.11 | 29.47 | 40.19 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.016086 | 0.0045173 | -0.0057843 | 39.9164 | 41.3366 | 40.2551 | 39.9164 | 40.2551 | 40.2551 | 40.1422 | 40.19 | -0.047775
44775.5783 | 40.39 | 40.85 | 40.57 | 28.81 | 29.13 | 29.43 | 39.99 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.013339 | 0.0080556 | -0.0026417 | 39.948 | 41.4307 | 40.3011 | 39.948 | 40.3011 | 40.3011 | 40.1834 | 39.99 | 0.19339
44775.5783 | 40.21 | 40.83 | 40.45 | 28.79 | 29.11 | 29.47 | 39.89 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.018138 | 0.011 | -0.0035694 | 39.6228 | 41.6287 | 40.0919 | 39.6228 | 40.0919 | 40.0919 | 39.9356 | 39.89 | 0.045555
44775.5783 | 39.91 | 40.73 | 40.37 | 28.83 | 29.11 | 29.49 | 39.75 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1433 | -0.024467 | 0.010521 | -0.0069728 | 39.148 | 41.485 | 39.6871 | 39.148 | 39.6871 | 39.6871 | 39.5074 | 39.75 | -0.24258
44775.5783 | 39.89 | 40.43 | 40.03 | 28.83 | 29.11 | 29.47 | 39.57 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1367 | -0.016332 | 0.012021 | -0.0021559 | 39.3758 | 41.2746 | 39.8207 | 39.3758 | 39.8207 | 39.8207 | 39.6724 | 39.57 | 0.10239
44775.5783 | 39.83 | 40.01 | 40.07 | 28.79 | 29.11 | 29.47 | 39.51 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.0055574 | -0.0018321 | -0.0036947 | 39.653 | 39.891 | 39.712 | 39.653 | 39.712 | 39.712 | 39.6923 | 39.51 | 0.18231
44775.5783 | 39.55 | 39.95 | 39.75 | 28.79 | 29.09 | 29.47 | 39.03 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1167 | -0.012541 | 0.0062114 | -0.0031647 | 39.1648 | 40.3614 | 39.4514 | 39.1648 | 39.4514 | 39.4514 | 39.3559 | 39.03 | 0.32587
44775.5783 | 39.49 | 40.03 | 39.37 | 28.77 | 29.11 | 29.49 | 38.75 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.016926 | 0.020807 | 0.0019405 | 38.9767 | 41.4803 | 39.5505 | 38.9767 | 39.5505 | 39.5505 | 39.3593 | 38.75 | 0.60926
44775.5783 | 38.97 | 39.71 | 39.31 | 28.85 | 29.11 | 29.49 | 38.79 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.15 | -0.024217 | 0.012872 | -0.0056729 | 38.2819 | 40.5579 | 38.8043 | 38.2819 | 38.8043 | 38.8043 | 38.6301 | 38.79 | -0.15985
44775.5783 | 38.85 | 39.41 | 39.21 | 28.83 | 29.13 | 29.47 | 38.55 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1433 | -0.018696 | 0.0065576 | -0.0060695 | 38.3205 | 39.822 | 38.6749 | 38.3205 | 38.6749 | 38.6749 | 38.5568 | 38.55 | 0.0067531
44775.5783 | 38.71 | 39.37 | 39.01 | 28.79 | 29.11 | 29.47 | 38.33 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.022193 | 0.011922 | -0.0051356 | 38.0925 | 40.1298 | 38.5634 | 38.0925 | 38.5634 | 38.5634 | 38.4065 | 38.33 | 0.076458
44775.5783 | 38.63 | 38.97 | 39.03 | 28.79 | 29.13 | 29.49 | 38.09 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1367 | -0.011729 | -0.0020277 | -0.0068786 | 38.3018 | 38.8511 | 38.4361 | 38.3018 | 38.4361 | 38.4361 | 38.3913 | 38.09 | 0.30132
44775.5783 | 38.17 | 38.89 | 38.63 | 28.81 | 29.13 | 29.43 | 38.17 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.025526 | 0.008994 | -0.0082662 | 37.5031 | 39.4315 | 37.9484 | 37.5031 | 37.9484 | 37.9484 | 37.8 | 38.17 | -0.37003
44775.5783 | 38.09 | 38.77 | 38.55 | 28.83 | 29.11 | 29.45 | 37.95 | 29.29 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.13 | -0.024384 | 0.0076953 | -0.0083441 | 37.458 | 39.2255 | 37.8685 | 37.458 | 37.8685 | 37.8685 | 37.7317 | 37.95 | -0.21835
44775.5783 | 37.79 | 38.41 | 38.27 | 28.79 | 29.11 | 29.45 | 37.53 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1167 | -0.023015 | 0.0050597 | -0.0089775 | 37.2114 | 38.6965 | 37.5595 | 37.2114 | 37.5595 | 37.5595 | 37.4435 | 37.53 | -0.08653
44775.5783 | 37.83 | 38.27 | 38.25 | 28.81 | 29.15 | 29.47 | 37.53 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1433 | -0.01647 | 0.00073126 | -0.0078696 | 37.4112 | 38.3101 | 37.6273 | 37.4112 | 37.6273 | 37.6273 | 37.5553 | 37.53 | 0.025285
44775.5783 | 37.45 | 38.11 | 37.99 | 28.81 | 29.11 | 29.45 | 37.25 | 29.29 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.025426 | 0.004481 | -0.010473 | 36.8385 | 38.3549 | 37.1925 | 36.8385 | 37.1925 | 37.1925 | 37.0745 | 37.25 | -0.17554
44775.5784 | 37.55 | 38.21 | 37.79 | 28.81 | 29.09 | 29.47 | 37.27 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.025136 | 0.015775 | -0.0046805 | 36.9379 | 39.112 | 37.4325 | 36.9379 | 37.4325 | 37.4325 | 37.2676 | 37.27 | -0.0023513
44775.5784 | 37.03 | 37.75 | 37.69 | 28.79 | 29.11 | 29.47 | 37.05 | 29.29 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.029051 | 0.0023265 | -0.013362 | 36.3701 | 37.8713 | 36.7193 | 36.3701 | 36.7193 | 36.7193 | 36.6029 | 37.05 | -0.44709
44775.5784 | 37.09 | 37.53 | 37.53 | 28.81 | 29.11 | 29.45 | 37.09 | 29.31 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.01792 | 0 | -0.0089598 | 36.673 | 37.53 | 36.8787 | 36.673 | 36.8787 | 36.8787 | 36.8102 | 37.09 | -0.27985
44775.5784 | 36.95 | 37.61 | 37.21 | 28.79 | 29.11 | 29.45 | 37.01 | 29.29 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1167 | -0.026964 | 0.01608 | -0.0054421 | 36.3413 | 38.4703 | 36.8231 | 36.3413 | 36.8231 | 36.8231 | 36.6625 | 37.01 | -0.34747
44775.5784 | 37.01 | 37.21 | 37.27 | 28.79 | 29.11 | 29.45 | 36.65 | 29.29 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1167 | -0.0083407 | -0.0024621 | -0.0054014 | 36.8149 | 37.0913 | 36.8831 | 36.8149 | 36.8831 | 36.8831 | 36.8604 | 36.65 | 0.2104
44775.5784 | 37.01 | 37.19 | 37.03 | 28.81 | 29.13 | 29.45 | 36.47 | 29.29 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.13 | -0.0075286 | 0.0066836 | -0.00042248 | 36.834 | 37.5198 | 37 | 36.834 | 37 | 37 | 36.9447 | 36.47 | 0.47469
44775.5784 | 36.39 | 37.03 | 36.89 | 28.81 | 29.09 | 29.47 | 36.39 | 29.27 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | -0.028136 | 0.0059551 | -0.011091 | 35.8018 | 37.3176 | 36.1522 | 35.8018 | 36.1522 | 36.1522 | 36.0354 | 36.39 | -0.3546
44775.5784 | 36.47 | 36.97 | 36.57 | 28.77 | 29.09 | 29.47 | 36.15 | 29.27 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.11 | -0.021909 | 0.01741 | -0.0022492 | 36.0018 | 37.8355 | 36.4205 | 36.0018 | 36.4205 | 36.4205 | 36.2809 | 36.15 | 0.13094
44775.5784 | 36.15 | 36.71 | 36.41 | 28.77 | 29.11 | 29.43 | 36.21 | 29.27 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1033 | -0.02549 | 0.013413 | -0.0060387 | 35.6312 | 37.3475 | 36.0235 | 35.6312 | 36.0235 | 36.0235 | 35.8927 | 36.21 | -0.31726
44775.5784 | 36.15 | 36.65 | 36.39 | 28.79 | 29.09 | 29.43 | 35.75 | 29.27 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1033 | -0.02285 | 0.011687 | -0.0055819 | 35.6831 | 37.1982 | 36.033 | 35.6831 | 36.033 | 36.033 | 35.9164 | 35.75 | 0.16636
44775.5784 | 36.07 | 36.29 | 36.25 | 28.79 | 29.09 | 29.43 | 35.89 | 29.29 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1033 | -0.010364 | 0.0018605 | -0.0042515 | 35.8567 | 36.3707 | 35.9817 | 35.8567 | 35.9817 | 35.9817 | 35.94 | 35.89 | 0.05005
44775.5784 | 35.85 | 36.37 | 36.29 | 28.79 | 29.11 | 29.45 | 35.81 | 29.27 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1167 | -0.024797 | 0.0036969 | -0.01055 | 35.3673 | 36.5327 | 35.6402 | 35.3673 | 35.6402 | 35.6402 | 35.5492 | 35.81 | -0.26076
44775.5784 | 35.93 | 36.13 | 35.81 | 28.79 | 29.11 | 29.43 | 35.69 | 29.29 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.11 | -0.0096346 | 0.015552 | 0.0029587 | 35.7357 | 36.8166 | 35.9908 | 35.7357 | 35.9908 | 35.9908 | 35.9058 | 35.69 | 0.21577
44775.5784 | 35.63 | 35.71 | 35.89 | 28.77 | 29.05 | 29.45 | 35.23 | 29.29 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.09 | -0.0040527 | -0.0089424 | -0.0064976 | 35.551 | 35.3642 | 35.5038 | 35.551 | 35.5038 | 35.5038 | 35.5195 | 35.23 | 0.28949
44775.5784 | 35.47 | 35.93 | 35.51 | 28.77 | 29.09 | 29.43 | 35.31 | 29.27 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0967 | -0.02323 | 0.021144 | -0.0010428 | 35.041 | 36.8543 | 35.4501 | 35.041 | 35.4501 | 35.4501 | 35.3137 | 35.31 | 0.0037177
44775.5784 | 35.43 | 35.81 | 35.63 | 28.79 | 29.09 | 29.43 | 35.29 | 29.27 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1033 | -0.019443 | 0.0090686 | -0.0051871 | 35.0715 | 36.185 | 35.3323 | 35.0715 | 35.3323 | 35.3323 | 35.2454 | 35.29 | -0.044616
44775.5784 | 35.19 | 35.61 | 35.35 | 28.77 | 29.05 | 29.43 | 35.05 | 29.25 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0833 | -0.022172 | 0.013551 | -0.0043106 | 34.797 | 36.1628 | 35.1115 | 34.797 | 35.1115 | 35.1115 | 35.0067 | 35.05 | -0.043298
44775.5785 | 35.13 | 35.53 | 35.13 | 28.77 | 29.05 | 29.43 | 34.97 | 29.25 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0833 | -0.021352 | 0.021352 | 0 | 34.7548 | 36.4111 | 35.13 | 34.7548 | 35.13 | 35.13 | 35.0049 | 34.97 | 0.03494
44775.5785 | 35.13 | 35.45 | 35.15 | 28.77 | 29.09 | 29.47 | 34.83 | 29.25 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.11 | -0.017264 | 0.016158 | -0.00055279 | 34.8262 | 36.0954 | 35.12 | 34.8262 | 35.12 | 35.12 | 35.0221 | 34.83 | 0.19207
44775.5785 | 34.81 | 35.13 | 35.01 | 28.79 | 29.05 | 29.41 | 34.77 | 29.25 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0833 | -0.018125 | 0.0066817 | -0.0057214 | 34.5069 | 35.3773 | 34.7125 | 34.5069 | 34.7125 | 34.7125 | 34.644 | 34.77 | -0.12599
44775.5785 | 34.71 | 35.05 | 34.93 | 28.77 | 29.09 | 29.43 | 34.43 | 29.23 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0967 | -0.019602 | 0.0067876 | -0.0064073 | 34.3894 | 35.2975 | 34.6031 | 34.3894 | 34.6031 | 34.6031 | 34.5319 | 34.43 | 0.10189
44775.5785 | 34.51 | 34.93 | 34.75 | 28.79 | 29.05 | 29.41 | 34.51 | 29.23 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0833 | -0.024849 | 0.010424 | -0.0072127 | 34.1202 | 35.3073 | 34.3938 | 34.1202 | 34.3938 | 34.3938 | 34.3026 | 34.51 | -0.20738
44775.5785 | 34.53 | 34.81 | 34.55 | 28.79 | 29.11 | 29.43 | 34.33 | 29.23 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.11 | -0.01679 | 0.015562 | -0.00061387 | 34.2638 | 35.3679 | 34.52 | 34.2638 | 34.52 | 34.52 | 34.4346 | 34.33 | 0.1046
44775.5785 | 34.31 | 34.59 | 34.59 | 28.75 | 29.09 | 29.39 | 34.43 | 29.23 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0767 | -0.017374 | 0 | -0.0086868 | 34.0442 | 34.59 | 34.1754 | 34.0442 | 34.1754 | 34.1754 | 34.1317 | 34.43 | -0.29834
44775.5785 | 34.33 | 34.63 | 34.63 | 28.75 | 29.05 | 29.41 | 33.79 | 29.25 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.07 | -0.018489 | 0 | -0.0092445 | 34.0462 | 34.63 | 34.1861 | 34.0462 | 34.1861 | 34.1861 | 34.1395 | 33.79 | 0.34948
44775.5785 | 34.25 | 34.23 | 34.59 | 28.77 | 29.05 | 29.41 | 33.91 | 29.27 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0767 | 0.0012912 | -0.022509 | -0.010609 | 34.2701 | 33.579 | 34.0879 | 34.2701 | 34.0879 | 34.0879 | 34.1487 | 33.91 | 0.23866
44775.5785 | 34.13 | 34.09 | 34.43 | 28.77 | 29.09 | 29.39 | 34.99 | 29.21 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0833 | 0.0026525 | -0.021901 | -0.0096242 | 34.1703 | 33.4735 | 33.9864 | 34.1703 | 33.9864 | 33.9864 | 34.0477 | 34.99 | -0.94231
44775.5785 | 33.91 | 34.03 | 34.37 | 28.79 | 29.03 | 29.41 | 34.43 | 29.21 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0767 | -0.0081748 | -0.022129 | -0.015152 | 33.7929 | 33.4141 | 33.6952 | 33.7929 | 33.6952 | 33.6952 | 33.7278 | 34.43 | -0.70222
44775.5785 | 33.95 | 34.09 | 34.23 | 28.77 | 29.05 | 29.39 | 35.75 | 29.19 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.07 | -0.0094282 | -0.0091689 | -0.0092986 | 33.8139 | 33.8213 | 33.8158 | 33.8139 | 33.8158 | 33.8158 | 33.8151 | 35.75 | -1.9349
44775.5785 | 33.73 | 33.87 | 33.91 | 28.77 | 29.05 | 29.39 | 35.93 | 29.21 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.07 | -0.0098668 | -0.0027663 | -0.0063165 | 33.5941 | 33.791 | 33.6425 | 33.5941 | 33.6425 | 33.6425 | 33.6264 | 35.93 | -2.3036
44775.5785 | 34.29 | 33.91 | 33.93 | 28.75 | 29.09 | 29.39 | 36.45 | 29.23 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0767 | 0.025228 | -0.0013765 | 0.011926 | 34.6999 | 33.8702 | 34.4799 | 34.6999 | 34.4799 | 34.4799 | 34.5532 | 36.45 | -1.8968
44775.5785 | 34.07 | 33.43 | 33.47 | 28.75 | 29.01 | 29.35 | 37.75 | 29.21 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0367 | 0.045331 | -0.0030212 | 0.021155 | 34.8032 | 33.3511 | 34.3998 | 34.8032 | 34.3998 | 34.3998 | 34.5343 | 37.75 | -3.2157
44775.5785 | 35.91 | 33.27 | 33.55 | 28.73 | 29.01 | 29.33 | 38.85 | 29.21 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0233 | 0.16115 | -0.021284 | 0.069934 | 40.1912 | 32.7609 | 37.5176 | 40.1912 | 37.5176 | 37.5176 | 38.4088 | 38.85 | -0.44122
44775.5785 | 35.85 | 33.33 | 33.41 | 28.73 | 29.05 | 29.39 | 41.17 | 29.19 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0567 | 0.15452 | -0.0061826 | 0.074167 | 39.8561 | 33.1744 | 37.5429 | 39.8561 | 37.5429 | 37.5429 | 38.3139 | 41.17 | -2.8561
44775.5786 | 36.71 | 33.99 | 33.27 | 28.73 | 29.03 | 29.41 | 44.77 | 29.19 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0567 | 0.14638 | 0.052587 | 0.099481 | 40.9297 | 35.8201 | 39.3715 | 40.9297 | 39.3715 | 39.3715 | 39.8909 | 44.77 | -4.8791
44775.5786 | 38.67 | 35.15 | 33.19 | 28.75 | 29.05 | 29.39 | 49.95 | 29.21 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0633 | 0.15212 | 0.12954 | 0.14083 | 44.2257 | 42.3049 | 43.7208 | 44.2257 | 43.7208 | 43.7208 | 43.8891 | 49.95 | -6.0609
44775.5786 | 40.63 | 35.85 | 33.25 | 28.75 | 29.01 | 29.35 | 64.09 | 29.21 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0367 | 0.17718 | 0.16021 | 0.1687 | 48.7635 | 46.8534 | 48.2676 | 48.7635 | 48.2676 | 48.2676 | 48.4329 | 64.09 | -15.6571
44775.5786 | 43.83 | 36.39 | 34.09 | 28.77 | 29.03 | 29.35 | 103.73 | 29.21 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.05 | 0.23331 | 0.12531 | 0.17931 | 58.8114 | 44.6178 | 54.3602 | 58.8114 | 54.3602 | 54.3602 | 55.844 | 103.73 | -47.886
44775.5786 | 48.65 | 38.19 | 34.71 | 28.77 | 29.05 | 29.39 | 147.49 | 29.21 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.07 | 0.25468 | 0.1602 | 0.20744 | 71.1069 | 52.9166 | 65.5521 | 71.1069 | 65.5521 | 65.5521 | 67.4037 | 147.49 | -80.0863
44775.5786 | 58.31 | 39.71 | 35.07 | 28.77 | 29.03 | 29.39 | 168.07 | 29.21 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0633 | 0.33684 | 0.19079 | 0.26382 | 109.4047 | 62.5116 | 93.5987 | 109.4047 | 93.5987 | 93.5987 | 98.8674 | 168.07 | -69.2026
44775.5786 | 87.77 | 41.45 | 35.53 | 28.75 | 29.01 | 29.41 | 129.69 | 29.27 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0567 | 0.5185 | 0.21649 | 0.3675 | 307.2107 | 74.4831 | 205.8806 | 307.2107 | 205.8806 | 205.8806 | 239.6573 | 129.69 | 109.9673
44775.5786 | 111.65 | 43.51 | 36.29 | 28.73 | 29.03 | 29.41 | 95.19 | 29.33 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0567 | 0.581 | 0.23074 | 0.40587 | 501.0349 | 86.7635 | 308.1492 | 501.0349 | 308.1492 | 308.1492 | 372.4444 | 95.19 | 277.2544
44775.5786 | 132.69 | 47.05 | 36.73 | 28.73 | 29.03 | 29.39 | 73.67 | 29.37 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.05 | 0.58352 | 0.28392 | 0.43372 | 625.7861 | 127.927 | 409.7742 | 625.7861 | 409.7742 | 409.7742 | 481.7782 | 73.67 | 408.1082
44775.5786 | 149.45 | 49.39 | 37.51 | 28.73 | 29.05 | 29.41 | 59.43 | 29.43 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0633 | 0.59293 | 0.29272 | 0.44282 | 742.0651 | 146.7772 | 483.5539 | 742.0651 | 483.5539 | 483.5539 | 569.7243 | 59.43 | 510.2943
44775.5786 | 157.47 | 54.39 | 38.25 | 28.79 | 29.01 | 29.47 | 54.15 | 29.45 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.09 | 0.5414 | 0.33865 | 0.44002 | 680.5297 | 222.0959 | 509.7061 | 680.5297 | 509.7061 | 509.7061 | 566.6473 | 54.15 | 512.4973
44775.5786 | 137.49 | 61.81 | 38.85 | 28.75 | 29.03 | 29.51 | 52.19 | 29.47 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.0967 | 0.39933 | 0.40339 | 0.40136 | 388.2504 | 397.114 | 390.4461 | 388.2504 | 390.4461 | 390.4461 | 389.7142 | 52.19 | 337.5242
44775.5786 | 117.61 | 71.29 | 39.29 | 28.73 | 29.11 | 29.53 | 50.47 | 29.47 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1233 | 0.24707 | 0.47417 | 0.36062 | 214.8124 | 754.4784 | 290.1756 | 214.8124 | 290.1756 | 290.1756 | 265.0545 | 50.47 | 214.5845
44775.5786 | 104.39 | 88.99 | 39.85 | 28.77 | 29.03 | 29.59 | 49.13 | 29.51 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.13 | 0.076313 | 0.5733 | 0.32481 | 123.7519 | 1895.5981 | 228.5409 | 123.7519 | 228.5409 | 228.5409 | 193.6112 | 49.13 | 144.4812
44775.5786 | 84.45 | 100.63 | 41.15 | 28.75 | 29.05 | 29.67 | 47.89 | 29.51 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1567 | -0.085557 | 0.59499 | 0.25472 | 71.9328 | 2567.5113 | 147.8809 | 71.9328 | 147.8809 | 147.8809 | 122.5648 | 47.89 | 74.6748
44775.5786 | 70.05 | 111.83 | 42.91 | 28.75 | 29.09 | 29.71 | 46.83 | 29.51 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1833 | -0.23475 | 0.59841 | 0.18183 | 49.3909 | 3025.2112 | 99.6967 | 49.3909 | 99.6967 | 99.6967 | 82.9281 | 46.83 | 36.0981
44775.5786 | 58.95 | 123.67 | 44.43 | 28.75 | 29.11 | 29.73 | 45.91 | 29.55 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.1967 | -0.38513 | 0.60828 | 0.11158 | 38.5672 | 3662.8026 | 70.7787 | 38.5672 | 70.7787 | 70.7787 | 60.0415 | 45.91 | 14.1315
44775.5787 | 55.15 | 135.51 | 46.41 | 28.77 | 29.15 | 29.75 | 44.83 | 29.53 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.2233 | -0.47029 | 0.60734 | 0.068523 | 35.5477 | 4094.1532 | 61.0671 | 35.5477 | 61.0671 | 61.0671 | 52.5606 | 44.83 | 7.7306
44775.5787 | 51.03 | 139.77 | 49.49 | 28.75 | 29.15 | 29.77 | 44.51 | 29.53 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.2233 | -0.54107 | 0.56549 | 0.012206 | 33.525 | 3318.2872 | 51.8433 | 33.525 | 51.8433 | 51.8433 | 45.7372 | 44.51 | 1.2272
44775.5787 | 48.91 | 121.29 | 52.99 | 28.75 | 29.19 | 29.85 | 43.81 | 29.53 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.2633 | -0.51472 | 0.45183 | -0.031449 | 33.4577 | 1413.6825 | 47.1412 | 33.4577 | 47.1412 | 47.1412 | 42.58 | 43.81 | -1.23
44775.5787 | 47.93 | 107.65 | 62.07 | 28.75 | 29.21 | 29.85 | 43.41 | 29.55 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.27 | -0.4784 | 0.29038 | -0.094008 | 33.7124 | 476.8473 | 43.3444 | 33.7124 | 43.3444 | 43.3444 | 40.1337 | 43.41 | -3.2763
44775.5787 | 46.25 | 93.61 | 70.25 | 28.75 | 29.25 | 29.85 | 42.83 | 29.59 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.2833 | -0.44424 | 0.15041 | -0.14692 | 33.7584 | 187.8865 | 40.2022 | 33.7584 | 40.2022 | 40.2022 | 38.0543 | 42.83 | -4.7757
44775.5787 | 45.57 | 79.51 | 83.41 | 28.79 | 29.27 | 29.89 | 42.21 | 29.55 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.3167 | -0.37586 | -0.024943 | -0.2004 | 34.5797 | 72.5333 | 38.2259 | 34.5797 | 38.2259 | 38.2259 | 37.0105 | 42.21 | -5.1995
44775.5787 | 44.55 | 67.87 | 91.03 | 28.79 | 29.35 | 29.87 | 42.39 | 29.53 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.3367 | -0.30978 | -0.15688 | -0.23333 | 35.343 | 44.3692 | 36.8914 | 35.343 | 36.8914 | 36.8914 | 36.3753 | 42.39 | -6.0147
44775.5787 | 43.79 | 57.31 | 100.25 | 28.81 | 29.37 | 29.89 | 41.77 | 29.53 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.3567 | -0.22033 | -0.31021 | -0.26527 | 36.8091 | 33.7027 | 35.8692 | 36.8091 | 35.8692 | 35.8692 | 36.1825 | 41.77 | -5.5875
44775.5787 | 42.83 | 52.93 | 109.25 | 28.83 | 29.41 | 29.91 | 41.77 | 29.53 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.3833 | -0.18675 | -0.40712 | -0.29694 | 37.0622 | 31.43 | 34.9008 | 37.0622 | 34.9008 | 34.9008 | 35.6213 | 41.77 | -6.1487
44775.5787 | 42.41 | 49.45 | 119.19 | 28.83 | 29.43 | 29.91 | 41.43 | 29.53 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.39 | -0.14408 | -0.49962 | -0.32185 | 37.8407 | 30.391 | 34.3477 | 37.8407 | 34.3477 | 34.3477 | 35.512 | 41.43 | -5.918
44775.5787 | 42.03 | 47.61 | 118.05 | 28.83 | 29.43 | 29.93 | 41.47 | 29.55 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.3967 | -0.12194 | -0.52753 | -0.32473 | 38.1595 | 30.1654 | 34.1657 | 38.1595 | 34.1657 | 34.1657 | 35.497 | 41.47 | -5.973
44775.5787 | 41.63 | 45.81 | 104.07 | 28.91 | 29.45 | 29.91 | 41.29 | 29.55 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.4233 | -0.098162 | -0.50543 | -0.3018 | 38.5163 | 30.213 | 34.3595 | 38.5163 | 34.3595 | 34.3595 | 35.7451 | 41.29 | -5.5449
44775.5787 | 41.07 | 44.77 | 89.83 | 28.93 | 29.47 | 29.93 | 41.11 | 29.55 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.4433 | -0.092098 | -0.45706 | -0.27458 | 38.2632 | 30.4307 | 34.545 | 38.2632 | 34.545 | 34.545 | 35.7844 | 41.11 | -5.3256
44775.5787 | 40.79 | 43.47 | 81.77 | 28.97 | 29.43 | 29.93 | 41.19 | 29.51 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.4433 | -0.070679 | -0.43885 | -0.25476 | 38.6221 | 30.4512 | 34.7271 | 38.6221 | 34.7271 | 34.7271 | 36.0254 | 41.19 | -5.1646
44775.5787 | 40.57 | 43.01 | 69.81 | 29.01 | 29.45 | 29.93 | 41.43 | 29.55 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.4633 | -0.066198 | -0.36379 | -0.21499 | 38.5695 | 30.9905 | 35.2907 | 38.5695 | 35.2907 | 35.2907 | 36.3836 | 41.43 | -5.0464
44775.5787 | 40.43 | 42.01 | 59.99 | 29.05 | 29.47 | 29.95 | 41.43 | 29.51 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.49 | -0.044967 | -0.2968 | -0.17088 | 39.0494 | 31.5997 | 36.042 | 39.0494 | 36.042 | 36.042 | 37.0445 | 41.43 | -4.3855
44775.5787 | 40.25 | 41.49 | 51.79 | 29.05 | 29.53 | 29.91 | 41.63 | 29.51 |  |  | 0.05 | 0.15 | 0.3 | 0.45 | 29.4967 | -0.036378 | -0.20665 | -0.12151 | 39.1382 | 32.9678 | 36.9651 | 39.1382 | 36.9651 | 36.9651 | 37.6894 | 41.63 | -3.9406
◀ Newest
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Modulised Ln Inputs, Physics Uncertain

## Data Out
Data Out (To Device)
Data entered into the channels below will be sent to the currently connected device as a comma-delimited string.
CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10

## Settings
Workbook Settings
Settings below will affect how data is read into the current workbook from data sources. Clear a field's contents to revert to its default setting.
Data interval (ms) | 150 | 150
Data rows | 15 | 120
Data channels | 10 | 10
Data orientation | Newest last | Newest last
WARNING: Changing settings may result in the loss of content and/or custom formatting in the Data In and Data Out worksheets. Always save before changing values.

## Manifest
USB Serial Device
This manifest was generated for the connected device. You can edit the device name and channel data here and the Data In worksheet will be updated.
Channels
Data Source Id
|  | Id | Name | Description | Unit of Measure | Active | 4E6B12F7-85B8-4FB6-AD3E-B253D0CC9C38 | 1
|  | CH1 | CH1 |  |  | ü | Data Interval (ms)
|  | CH2 | CH2 |  |  | ü | 150
|  | CH3 | CH3 |  |  | ü | Baud Rate
|  | CH4 | CH4 |  |  | ü | 115200
|  | CH5 | CH5 |  |  | ü
|  | CH6 | CH6 |  |  | ü
|  | CH7 | CH7 |  |  | ü
|  | CH8 | CH8 |  |  | ü
|  | CH9 | CH9 |  |  | ü
|  | CH10 | CH10 |  |  | ü