## Data In
Data In (From USB Serial Device (COM7))
Data coming from the current data source will appear below as it is received.
Current Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10
44775.5879 | 36.23 | 36.07 | 37.29 | 29.27 | 29.91 | 30.37 | 41.85 | 30.37
Historical Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10 | track velocity | a | b | c | Tc | k (AB) | k (BC) | k (AC) | Th (AB) | Th (BC) | Th (AC) | Th! (AB) | Th! (BC) | Th! (AC) | Th Pred | Th test | Delta
44775.5872 | 48.67 | 46.85 | 43.63 | 29.01 | 29.57 | 30.17 | 51.09 | 30.37 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.5833 | 0.025053 | 0.051598 | 0.038326 | 50.6818 | 55.6736 | 51.8322 | 50.6818 | 51.8322 | 51.8322 | 51.4488 | 51.09 | 0.35877
44775.5872 | 48.29 | 46.79 | 43.43 | 28.99 | 29.57 | 30.17 | 51.03 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.5767 | 0.020888 | 0.05429 | 0.037589 | 49.9207 | 56.1525 | 51.3262 | 49.9207 | 51.3262 | 51.3262 | 50.8577 | 51.03 | -0.17231
44775.5872 | 48.23 | 46.59 | 43.63 | 28.99 | 29.57 | 30.15 | 51.05 | 30.35 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.57 | 0.022998 | 0.047764 | 0.035381 | 50.028 | 54.5107 | 51.0668 | 50.028 | 51.0668 | 51.0668 | 50.7206 | 51.05 | -0.32943
44775.5872 | 47.55 | 46.35 | 43.59 | 29.01 | 29.59 | 30.21 | 50.93 | 30.35 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6033 | 0.017301 | 0.045024 | 0.031162 | 48.836 | 53.6114 | 49.9325 | 48.836 | 49.9325 | 49.9325 | 49.567 | 50.93 | -1.363
44775.5872 | 47.33 | 46.29 | 43.51 | 28.99 | 29.59 | 30.19 | 51.05 | 30.35 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.59 | 0.015103 | 0.045521 | 0.030312 | 48.4348 | 53.6265 | 49.6168 | 48.4348 | 49.6168 | 49.6168 | 49.2228 | 51.05 | -1.8272
44775.5872 | 46.61 | 46.13 | 43.31 | 29.05 | 29.59 | 30.19 | 51.07 | 30.37 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.61 | 0.0071604 | 0.046794 | 0.026977 | 47.1039 | 53.6309 | 48.5471 | 47.1039 | 48.5471 | 48.5471 | 48.066 | 51.07 | -3.004
44775.5873 | 46.11 | 45.91 | 43.19 | 29.01 | 29.59 | 30.21 | 50.87 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6033 | 0.0030476 | 0.045621 | 0.024334 | 46.3125 | 53.0926 | 47.7975 | 46.3125 | 47.7975 | 47.7975 | 47.3025 | 50.87 | -3.5675
44775.5873 | 45.89 | 45.61 | 43.13 | 29.01 | 29.61 | 30.17 | 51.01 | 30.37 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.5967 | 0.0043336 | 0.042066 | 0.0232 | 46.1749 | 52.0167 | 47.4744 | 46.1749 | 47.4744 | 47.4744 | 47.0412 | 51.01 | -3.9688
44775.5873 | 46.03 | 45.37 | 43.27 | 29.03 | 29.59 | 30.19 | 50.63 | 30.37 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6033 | 0.010252 | 0.035735 | 0.022993 | 46.7176 | 50.5876 | 47.6125 | 46.7176 | 47.6125 | 47.6125 | 47.3142 | 50.63 | -3.3158
44775.5873 | 45.57 | 45.23 | 43.07 | 28.99 | 29.57 | 30.21 | 50.47 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.59 | 0.0053766 | 0.037156 | 0.021266 | 45.9174 | 50.6438 | 46.9888 | 45.9174 | 46.9888 | 46.9888 | 46.6317 | 50.47 | -3.8383
44775.5873 | 45.75 | 45.05 | 43.01 | 28.99 | 29.61 | 30.17 | 50.07 | 30.41 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.59 | 0.011071 | 0.035377 | 0.023224 | 46.4817 | 50.1075 | 47.3231 | 46.4817 | 47.3231 | 47.3231 | 47.0427 | 50.07 | -3.0273
44775.5873 | 45.71 | 44.91 | 43.13 | 29.01 | 29.59 | 30.19 | 50.31 | 30.35 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.5967 | 0.012731 | 0.030892 | 0.021811 | 46.5518 | 49.2031 | 47.179 | 46.5518 | 47.179 | 47.179 | 46.9699 | 50.31 | -3.3401
44775.5873 | 45.39 | 44.85 | 42.97 | 29.01 | 29.61 | 30.19 | 51.21 | 30.37 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6033 | 0.0087012 | 0.032899 | 0.0208 | 45.9491 | 49.4404 | 46.7597 | 45.9491 | 46.7597 | 46.7597 | 46.4895 | 51.21 | -4.7205
44775.5873 | 45.31 | 44.81 | 42.81 | 29.01 | 29.61 | 30.21 | 51.01 | 30.37 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.61 | 0.0080913 | 0.03527 | 0.02168 | 45.8264 | 49.765 | 46.7323 | 45.8264 | 46.7323 | 46.7323 | 46.4304 | 51.01 | -4.5796
44775.5873 | 45.39 | 44.51 | 42.77 | 28.99 | 29.61 | 30.23 | 50.27 | 30.41 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.61 | 0.014346 | 0.031045 | 0.022695 | 46.322 | 48.7106 | 46.8896 | 46.322 | 46.8896 | 46.8896 | 46.7004 | 50.27 | -3.5696
44775.5873 | 45.97 | 44.29 | 42.89 | 29.01 | 29.61 | 30.23 | 50.59 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6167 | 0.0271 | 0.025069 | 0.026084 | 47.8423 | 47.5486 | 47.7685 | 47.8423 | 47.7685 | 47.7685 | 47.7931 | 50.59 | -2.7969
44775.5873 | 46.05 | 44.39 | 42.77 | 29.03 | 29.61 | 30.23 | 52.61 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6233 | 0.026633 | 0.029051 | 0.027842 | 47.8966 | 48.2535 | 47.9852 | 47.8966 | 47.9852 | 47.9852 | 47.9557 | 52.61 | -4.6543
44775.5873 | 46.17 | 43.89 | 42.57 | 29.05 | 29.63 | 30.21 | 52.77 | 30.41 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.63 | 0.037081 | 0.024284 | 0.030682 | 48.8145 | 46.9477 | 48.3298 | 48.8145 | 48.3298 | 48.3298 | 48.4914 | 52.77 | -4.2786
44775.5873 | 46.31 | 43.27 | 42.57 | 29.03 | 29.61 | 30.21 | 52.77 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6167 | 0.050256 | 0.013158 | 0.031707 | 50.0269 | 44.7855 | 48.5673 | 50.0269 | 48.5673 | 48.5673 | 49.0538 | 52.77 | -3.7162
44775.5873 | 46.69 | 43.31 | 42.53 | 29.05 | 29.61 | 30.21 | 53.71 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6233 | 0.055176 | 0.01467 | 0.034923 | 50.9047 | 45.0143 | 49.2486 | 50.9047 | 49.2486 | 49.2486 | 49.8007 | 53.71 | -3.9093
44775.5873 | 46.63 | 43.41 | 42.39 | 29.01 | 29.65 | 30.23 | 55.87 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.63 | 0.052499 | 0.019226 | 0.035862 | 50.6024 | 45.7011 | 49.2522 | 50.6024 | 49.2522 | 49.2522 | 49.7023 | 55.87 | -6.1677
44775.5873 | 47.17 | 43.31 | 42.29 | 29.03 | 29.65 | 30.23 | 57.03 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6367 | 0.062164 | 0.019382 | 0.040773 | 52.1197 | 45.6033 | 50.2759 | 52.1197 | 50.2759 | 50.2759 | 50.8905 | 57.03 | -6.1395
44775.5873 | 47.43 | 43.39 | 42.43 | 29.05 | 29.65 | 30.23 | 58.31 | 30.41 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6433 | 0.064413 | 0.018098 | 0.041256 | 52.6573 | 45.5316 | 50.6213 | 52.6573 | 50.6213 | 50.6213 | 51.3 | 58.31 | -7.01
44775.5874 | 47.19 | 43.67 | 42.15 | 29.05 | 29.61 | 30.23 | 60.63 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.63 | 0.055928 | 0.028646 | 0.042287 | 51.5925 | 47.286 | 50.4262 | 51.5925 | 50.4262 | 50.4262 | 50.815 | 60.63 | -9.815
44775.5874 | 48.19 | 43.83 | 42.09 | 29.03 | 29.65 | 30.23 | 62.29 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6367 | 0.066969 | 0.032696 | 0.049833 | 53.8893 | 48.0733 | 52.2826 | 53.8893 | 52.2826 | 52.2826 | 52.8182 | 62.29 | -9.4718
44775.5874 | 49.41 | 44.41 | 42.03 | 29.05 | 29.63 | 30.21 | 63.29 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.63 | 0.072849 | 0.043895 | 0.058372 | 56.1015 | 50.6281 | 54.6121 | 56.1015 | 54.6121 | 54.6121 | 55.1085 | 63.29 | -8.1815
44775.5874 | 49.79 | 44.71 | 41.31 | 29.05 | 29.63 | 30.21 | 65.51 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.63 | 0.072583 | 0.063873 | 0.068228 | 56.5813 | 54.7673 | 56.1159 | 56.5813 | 56.1159 | 56.1159 | 56.271 | 65.51 | -9.239
44775.5874 | 50.61 | 44.87 | 41.35 | 29.03 | 29.63 | 30.21 | 66.89 | 30.47 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6233 | 0.079882 | 0.065624 | 0.072753 | 58.511 | 55.397 | 57.6989 | 58.511 | 57.6989 | 57.6989 | 57.9696 | 66.89 | -8.9204
44775.5874 | 52.43 | 44.67 | 41.45 | 29.05 | 29.67 | 30.21 | 67.21 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6433 | 0.10409 | 0.060291 | 0.082189 | 64.1974 | 53.984 | 61.2994 | 64.1974 | 61.2994 | 61.2994 | 62.2654 | 67.21 | -4.9446
44775.5874 | 53.71 | 45.45 | 41.27 | 29.05 | 29.65 | 30.23 | 67.99 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6433 | 0.1051 | 0.076783 | 0.090941 | 66.2864 | 58.8586 | 64.2689 | 66.2864 | 64.2689 | 64.2689 | 64.9414 | 67.99 | -3.0486
44775.5874 | 56.31 | 45.39 | 41.55 | 29.03 | 29.67 | 30.23 | 69.23 | 30.47 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6433 | 0.1317 | 0.069883 | 0.10079 | 74.8028 | 57.1847 | 69.5512 | 74.8028 | 69.5512 | 69.5512 | 71.3017 | 69.23 | 2.0717
44775.5874 | 58.05 | 45.89 | 42.09 | 29.05 | 29.63 | 30.21 | 71.45 | 30.47 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.63 | 0.1396 | 0.066546 | 0.10307 | 79.3038 | 57.3202 | 72.5517 | 79.3038 | 72.5517 | 72.5517 | 74.8024 | 71.45 | 3.3524
44775.5874 | 58.99 | 47.17 | 42.31 | 29.05 | 29.67 | 30.25 | 72.57 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6567 | 0.12894 | 0.08126 | 0.1051 | 78.7875 | 63.207 | 74.3188 | 78.7875 | 74.3188 | 74.3188 | 75.8084 | 72.57 | 3.2384
44775.5874 | 60.09 | 47.53 | 42.67 | 29.03 | 29.65 | 30.27 | 73.75 | 30.49 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.65 | 0.13302 | 0.079299 | 0.10616 | 81.4729 | 63.3695 | 76.1938 | 81.4729 | 76.1938 | 76.1938 | 77.9535 | 73.75 | 4.2035
44775.5874 | 61.91 | 48.53 | 42.67 | 29.03 | 29.67 | 30.25 | 74.43 | 30.47 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.65 | 0.13393 | 0.092904 | 0.11342 | 84.7722 | 69.3494 | 80.4298 | 84.7722 | 80.4298 | 80.4298 | 81.8773 | 74.43 | 7.4473
44775.5874 | 62.09 | 49.53 | 42.69 | 29.07 | 29.67 | 30.25 | 73.79 | 30.49 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6633 | 0.12248 | 0.10551 | 0.114 | 82.5906 | 75.8704 | 80.8241 | 82.5906 | 80.8241 | 80.8241 | 81.4129 | 73.79 | 7.6229
44775.5874 | 62.39 | 50.25 | 42.87 | 29.05 | 29.67 | 30.25 | 71.45 | 30.49 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6567 | 0.11586 | 0.11094 | 0.1134 | 81.6867 | 79.678 | 81.1771 | 81.6867 | 81.1771 | 81.1771 | 81.3469 | 71.45 | 9.8969
44775.5874 | 62.77 | 51.15 | 43.27 | 29.07 | 29.67 | 30.23 | 69.53 | 30.51 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6567 | 0.10805 | 0.11417 | 0.11111 | 80.6722 | 83.2342 | 81.3009 | 80.6722 | 81.3009 | 81.3009 | 81.0913 | 69.53 | 11.5613
44775.5874 | 63.23 | 52.77 | 43.11 | 29.05 | 29.65 | 30.27 | 66.97 | 30.51 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6567 | 0.093331 | 0.1353 | 0.11431 | 78.4237 | 97.8792 | 82.6934 | 78.4237 | 82.6934 | 82.6934 | 81.2702 | 66.97 | 14.3002
44775.5874 | 64.87 | 54.19 | 43.09 | 29.03 | 29.65 | 30.25 | 65.11 | 30.51 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6433 | 0.090307 | 0.15046 | 0.12038 | 80.1968 | 111.4424 | 86.6598 | 80.1968 | 86.6598 | 86.6598 | 84.5054 | 65.11 | 19.3954
44775.5875 | 65.71 | 54.81 | 44.25 | 29.05 | 29.67 | 30.27 | 62.79 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6633 | 0.090022 | 0.13615 | 0.11309 | 81.3347 | 104.3992 | 86.329 | 81.3347 | 86.329 | 86.329 | 84.6642 | 62.79 | 21.8742
44775.5875 | 66.07 | 55.11 | 44.53 | 29.11 | 29.71 | 30.27 | 60.75 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6967 | 0.08964 | 0.1346 | 0.11212 | 81.7567 | 104.2913 | 86.6547 | 81.7567 | 86.6547 | 86.6547 | 85.0221 | 60.75 | 24.2721
44775.5875 | 66.81 | 56.51 | 44.71 | 29.05 | 29.67 | 30.33 | 59.49 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6833 | 0.081235 | 0.14489 | 0.11306 | 81.0646 | 115.185 | 88.041 | 81.0646 | 88.041 | 88.041 | 85.7155 | 59.49 | 26.2255
44775.5875 | 67.55 | 57.31 | 44.99 | 29.07 | 29.69 | 30.27 | 58.77 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.6767 | 0.078806 | 0.14757 | 0.11319 | 81.5846 | 119.6596 | 89.2381 | 81.5846 | 89.2381 | 89.2381 | 86.687 | 58.77 | 27.917
44775.5875 | 67.15 | 57.67 | 46.03 | 29.07 | 29.69 | 30.35 | 58.21 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.7033 | 0.072976 | 0.13455 | 0.10376 | 79.8435 | 111.7625 | 86.4148 | 79.8435 | 86.4148 | 86.4148 | 84.2244 | 58.21 | 26.0144
44775.5875 | 66.11 | 57.63 | 46.49 | 29.07 | 29.69 | 30.35 | 56.73 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.7033 | 0.066292 | 0.12725 | 0.096771 | 77.165 | 106.9942 | 83.3187 | 77.165 | 83.3187 | 83.3187 | 81.2674 | 56.73 | 24.5374
44775.5875 | 64.83 | 57.87 | 47.11 | 29.07 | 29.71 | 30.35 | 55.41 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.71 | 0.055217 | 0.12036 | 0.087788 | 73.5102 | 103.4664 | 79.605 | 73.5102 | 79.605 | 79.605 | 77.5734 | 55.41 | 22.1634
44775.5875 | 62.91 | 58.15 | 47.87 | 29.13 | 29.75 | 30.35 | 54.97 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.7433 | 0.03873 | 0.11231 | 0.07552 | 68.4676 | 99.5063 | 74.6069 | 68.4676 | 74.6069 | 74.6069 | 72.5605 | 54.97 | 17.5905
44775.5875 | 61.37 | 58.31 | 48.79 | 29.07 | 29.75 | 30.37 | 54.23 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.73 | 0.025429 | 0.10128 | 0.063354 | 64.7576 | 93.99 | 70.4955 | 64.7576 | 70.4955 | 70.4955 | 68.5829 | 54.23 | 14.3529
44775.5875 | 59.59 | 58.53 | 49.17 | 29.11 | 29.77 | 30.39 | 53.91 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.7567 | 0.0090443 | 0.098372 | 0.053708 | 60.6891 | 92.9644 | 66.7397 | 60.6891 | 66.7397 | 66.7397 | 64.7228 | 53.91 | 10.8128
44775.5875 | 58.49 | 58.63 | 49.59 | 29.11 | 29.81 | 30.39 | 53.23 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.77 | -0.0012157 | 0.093941 | 0.046363 | 58.3507 | 90.9602 | 64.342 | 58.3507 | 64.342 | 64.342 | 62.3449 | 53.23 | 9.1149
44775.5875 | 57.43 | 59.17 | 49.87 | 29.13 | 29.77 | 30.37 | 52.65 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.7567 | -0.015245 | 0.095016 | 0.039886 | 55.7929 | 92.6587 | 62.2168 | 55.7929 | 62.2168 | 62.2168 | 60.0755 | 52.65 | 7.4255
44775.5875 | 56.57 | 59.27 | 49.99 | 29.13 | 29.79 | 30.41 | 52.67 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.7767 | -0.024003 | 0.094455 | 0.035226 | 54.1172 | 92.5674 | 60.6243 | 54.1172 | 60.6243 | 60.6243 | 58.4552 | 52.67 | 5.7852
44775.5875 | 55.45 | 59.31 | 50.11 | 29.13 | 29.79 | 30.41 | 52.35 | 30.61 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.7767 | -0.035017 | 0.093314 | 0.029149 | 52.0945 | 92.0813 | 58.6249 | 52.0945 | 58.6249 | 58.6249 | 56.4481 | 52.35 | 4.0981
44775.5875 | 54.19 | 59.59 | 50.49 | 29.13 | 29.81 | 30.43 | 51.75 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.79 | -0.049981 | 0.091094 | 0.020556 | 49.7685 | 91.5501 | 56.2811 | 49.7685 | 56.2811 | 56.2811 | 54.1102 | 51.75 | 2.3602
44775.5875 | 53.69 | 59.37 | 50.61 | 29.13 | 29.81 | 30.43 | 51.43 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.79 | -0.053305 | 0.087796 | 0.017246 | 49.1007 | 89.4981 | 55.3969 | 49.1007 | 55.3969 | 55.3969 | 53.2981 | 51.43 | 1.8681
44775.5875 | 52.89 | 59.49 | 50.89 | 29.13 | 29.83 | 30.43 | 50.79 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.7967 | -0.062845 | 0.085491 | 0.011323 | 47.757 | 88.6385 | 53.96 | 47.757 | 53.96 | 53.96 | 51.8923 | 50.79 | 1.1023
44775.5876 | 52.45 | 59.07 | 50.87 | 29.15 | 29.85 | 30.41 | 50.35 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8033 | -0.064109 | 0.082189 | 0.0090401 | 47.3274 | 86.2877 | 53.2839 | 47.3274 | 53.2839 | 53.2839 | 51.2984 | 50.35 | 0.9484
44775.5876 | 52.11 | 58.89 | 50.65 | 29.15 | 29.85 | 30.41 | 49.99 | 30.61 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8033 | -0.066349 | 0.083271 | 0.0084614 | 46.9104 | 86.4284 | 52.8779 | 46.9104 | 52.8779 | 52.8779 | 50.8887 | 49.99 | 0.89874
44775.5876 | 51.75 | 58.33 | 50.93 | 29.17 | 29.87 | 30.45 | 49.69 | 30.61 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.83 | -0.065626 | 0.075158 | 0.0047658 | 46.6892 | 81.826 | 52.1719 | 46.6892 | 52.1719 | 52.1719 | 50.3443 | 49.69 | 0.65431
44775.5876 | 51.05 | 57.61 | 50.75 | 29.17 | 29.87 | 30.43 | 49.05 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8233 | -0.067325 | 0.070883 | 0.0017792 | 46.0387 | 78.8135 | 51.2016 | 46.0387 | 51.2016 | 51.2016 | 49.4806 | 49.05 | 0.43064
44775.5876 | 50.37 | 56.99 | 50.55 | 29.15 | 29.87 | 30.41 | 49.29 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.81 | -0.069783 | 0.067604 | -0.0010896 | 45.3624 | 76.49 | 50.2806 | 45.3624 | 50.2806 | 50.2806 | 48.6412 | 49.29 | -0.64882
44775.5876 | 49.93 | 56.45 | 50.25 | 29.15 | 29.89 | 30.43 | 49.03 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8233 | -0.070215 | 0.066268 | -0.0019737 | 45.0065 | 75.0668 | 49.7719 | 45.0065 | 49.7719 | 49.7719 | 48.1834 | 49.03 | -0.84657
44775.5876 | 49.49 | 56.05 | 49.91 | 29.17 | 29.89 | 30.43 | 48.65 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.83 | -0.071984 | 0.0667 | -0.0026423 | 44.5713 | 74.5365 | 49.2833 | 44.5713 | 49.2833 | 49.2833 | 47.7126 | 48.65 | -0.93738
44775.5876 | 49.03 | 55.37 | 49.51 | 29.21 | 29.91 | 30.45 | 48.27 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8567 | -0.07142 | 0.065239 | -0.0030908 | 44.2655 | 72.8528 | 48.7944 | 44.2655 | 48.7944 | 48.7944 | 47.2848 | 48.27 | -0.98523
44775.5876 | 48.75 | 54.97 | 49.25 | 29.19 | 29.87 | 30.43 | 47.85 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.83 | -0.07106 | 0.064539 | -0.0032605 | 44.0689 | 71.9606 | 48.5048 | 44.0689 | 48.5048 | 48.5048 | 47.0262 | 47.85 | -0.8238
44775.5876 | 48.35 | 54.43 | 48.87 | 29.19 | 29.93 | 30.45 | 47.63 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8567 | -0.071063 | 0.06413 | -0.0034663 | 43.7743 | 70.9031 | 48.0954 | 43.7743 | 48.0954 | 48.0954 | 46.655 | 47.63 | -0.97498
44775.5876 | 47.77 | 53.91 | 48.53 | 29.19 | 29.91 | 30.45 | 47.23 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.85 | -0.073658 | 0.063274 | -0.005192 | 43.1969 | 69.7647 | 47.4017 | 43.1969 | 47.4017 | 47.4017 | 46.0001 | 47.23 | -1.2299
44775.5876 | 47.29 | 52.93 | 48.43 | 29.19 | 29.91 | 30.43 | 47.05 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8433 | -0.070027 | 0.054203 | -0.007912 | 43.0278 | 65.4622 | 46.7465 | 43.0278 | 46.7465 | 46.7465 | 45.5069 | 47.05 | -1.5431
44775.5876 | 46.71 | 52.19 | 48.31 | 29.19 | 29.91 | 30.43 | 46.91 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8433 | -0.070334 | 0.047677 | -0.011329 | 42.5738 | 62.5669 | 45.9628 | 42.5738 | 45.9628 | 45.9628 | 44.8331 | 46.91 | -2.0769
44775.5876 | 46.45 | 51.99 | 48.11 | 29.21 | 29.91 | 30.43 | 46.37 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.85 | -0.071996 | 0.048168 | -0.011914 | 42.2963 | 62.3985 | 45.6775 | 42.2963 | 45.6775 | 45.6775 | 44.5504 | 46.37 | -1.8196
44775.5876 | 46.13 | 51.55 | 47.61 | 29.21 | 29.93 | 30.45 | 46.15 | 30.61 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8633 | -0.071895 | 0.050125 | -0.010885 | 42.0646 | 62.2484 | 45.4369 | 42.0646 | 45.4369 | 45.4369 | 44.3128 | 46.15 | -1.8372
44775.5876 | 45.71 | 51.15 | 47.19 | 29.19 | 29.91 | 30.45 | 45.89 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.85 | -0.073727 | 0.051423 | -0.011152 | 41.6594 | 61.9896 | 45.0181 | 41.6594 | 45.0181 | 45.0181 | 43.8985 | 45.89 | -1.9915
44775.5877 | 45.53 | 50.81 | 46.73 | 29.23 | 29.97 | 30.47 | 45.47 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.89 | -0.072718 | 0.054237 | -0.0092407 | 41.5826 | 62.175 | 44.9625 | 41.5826 | 44.9625 | 44.9625 | 43.8358 | 45.47 | -1.6342
44775.5877 | 45.07 | 50.41 | 46.61 | 29.23 | 29.91 | 30.49 | 45.23 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8767 | -0.075298 | 0.051162 | -0.012068 | 41.1187 | 60.7948 | 44.354 | 41.1187 | 44.354 | 44.354 | 43.2756 | 45.23 | -1.9544
44775.5877 | 44.81 | 50.07 | 46.19 | 29.23 | 29.93 | 30.45 | 44.85 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | -0.07541 | 0.053323 | -0.011044 | 40.9197 | 60.8167 | 44.1644 | 40.9197 | 44.1644 | 44.1644 | 43.0828 | 44.85 | -1.7672
44775.5877 | 44.61 | 49.79 | 46.01 | 29.21 | 29.93 | 30.43 | 44.85 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8567 | -0.075231 | 0.052567 | -0.011332 | 40.7761 | 60.2106 | 43.9562 | 40.7761 | 43.9562 | 43.9562 | 42.8962 | 44.85 | -1.9538
44775.5877 | 44.49 | 49.13 | 45.53 | 29.25 | 29.97 | 30.49 | 44.39 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.9033 | -0.069048 | 0.05183 | -0.0086089 | 40.9698 | 59.0091 | 43.9963 | 40.9698 | 43.9963 | 43.9963 | 42.9874 | 44.39 | -1.4026
44775.5877 | 44.19 | 48.99 | 45.47 | 29.23 | 29.93 | 30.45 | 44.21 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | -0.072269 | 0.050866 | -0.010702 | 40.595 | 58.592 | 43.5899 | 40.595 | 43.5899 | 43.5899 | 42.5916 | 44.21 | -1.6184
44775.5877 | 43.61 | 48.27 | 45.23 | 29.23 | 30.01 | 30.47 | 43.71 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.9033 | -0.073164 | 0.045236 | -0.013964 | 40.1323 | 56.2785 | 42.8654 | 40.1323 | 42.8654 | 42.8654 | 41.9544 | 43.71 | -1.7556
44775.5877 | 43.23 | 47.89 | 45.25 | 29.21 | 29.99 | 30.45 | 43.47 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8833 | -0.074869 | 0.039635 | -0.017617 | 39.776 | 54.6086 | 42.3219 | 39.776 | 42.3219 | 42.3219 | 41.4732 | 43.47 | -1.9968
44775.5877 | 43.17 | 47.45 | 45.05 | 29.21 | 29.97 | 30.43 | 43.09 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | -0.069749 | 0.036696 | -0.016527 | 39.932 | 53.4483 | 42.3192 | 39.932 | 42.3192 | 42.3192 | 41.5235 | 43.09 | -1.5665
44775.5877 | 42.83 | 47.05 | 44.85 | 29.25 | 29.93 | 30.43 | 42.87 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | -0.07047 | 0.034257 | -0.018106 | 39.6466 | 52.4667 | 41.9246 | 39.6466 | 41.9246 | 41.9246 | 41.1652 | 42.87 | -1.7048
44775.5877 | 42.59 | 46.71 | 44.49 | 29.27 | 29.97 | 30.47 | 42.45 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.9033 | -0.070306 | 0.035417 | -0.017445 | 39.48 | 52.215 | 41.7349 | 39.48 | 41.7349 | 41.7349 | 40.9833 | 42.45 | -1.4667
44775.5877 | 42.29 | 46.37 | 44.03 | 29.25 | 29.93 | 30.43 | 42.15 | 30.59 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | -0.071013 | 0.038235 | -0.016389 | 39.2189 | 52.274 | 41.5019 | 39.2189 | 41.5019 | 41.5019 | 40.7409 | 42.15 | -1.4091
44775.5877 | 42.19 | 46.11 | 43.99 | 29.25 | 29.97 | 30.45 | 41.95 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.89 | -0.069161 | 0.035018 | -0.017072 | 39.2174 | 51.3542 | 41.3781 | 39.2174 | 41.3781 | 41.3781 | 40.6579 | 41.95 | -1.2921
44775.5877 | 41.81 | 45.83 | 43.63 | 29.23 | 29.93 | 30.43 | 41.93 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8633 | -0.072513 | 0.037063 | -0.017725 | 38.8021 | 51.3409 | 40.9923 | 38.8021 | 40.9923 | 40.9923 | 40.2623 | 41.93 | -1.6677
44775.5877 | 41.71 | 45.69 | 43.33 | 29.25 | 29.93 | 30.45 | 41.53 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8767 | -0.072483 | 0.040407 | -0.016038 | 38.7317 | 51.7246 | 40.9747 | 38.7317 | 40.9747 | 40.9747 | 40.227 | 41.53 | -1.303
44775.5877 | 41.29 | 45.27 | 43.23 | 29.27 | 29.93 | 30.43 | 41.35 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8767 | -0.074788 | 0.035542 | -0.019623 | 38.339 | 50.3326 | 40.4284 | 38.339 | 40.4284 | 40.4284 | 39.7319 | 41.35 | -1.6181
44775.5877 | 41.29 | 45.23 | 42.97 | 29.25 | 29.93 | 30.43 | 41.15 | 30.55 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | -0.0741 | 0.039789 | -0.017156 | 38.3607 | 50.9869 | 40.5326 | 38.3607 | 40.5326 | 40.5326 | 39.8086 | 41.15 | -1.3414
44775.5878 | 40.99 | 44.61 | 42.67 | 29.25 | 29.97 | 30.45 | 40.89 | 30.57 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.89 | -0.070566 | 0.035331 | -0.017617 | 38.2602 | 49.4182 | 40.2347 | 38.2602 | 40.2347 | 40.2347 | 39.5766 | 40.89 | -1.3134
44775.5878 | 40.79 | 44.53 | 42.71 | 29.21 | 29.93 | 30.41 | 40.75 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.85 | -0.073515 | 0.033091 | -0.020212 | 38.0028 | 48.9792 | 39.9403 | 38.0028 | 39.9403 | 39.9403 | 39.2945 | 40.75 | -1.4555
44775.5878 | 40.81 | 44.25 | 42.33 | 29.23 | 29.97 | 30.41 | 40.55 | 30.51 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | -0.068353 | 0.035829 | -0.016262 | 38.1929 | 49.0232 | 40.121 | 38.1929 | 40.121 | 40.121 | 39.4783 | 40.55 | -1.0717
44775.5878 | 40.53 | 43.99 | 42.13 | 29.25 | 29.93 | 30.43 | 40.29 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | -0.070273 | 0.035313 | -0.01748 | 37.9178 | 48.5994 | 39.8101 | 37.9178 | 39.8101 | 39.8101 | 39.1793 | 40.29 | -1.1107
44775.5878 | 40.27 | 43.67 | 41.95 | 29.25 | 29.99 | 30.43 | 40.07 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.89 | -0.070834 | 0.033331 | -0.018752 | 37.7089 | 47.8809 | 39.5199 | 37.7089 | 39.5199 | 39.5199 | 38.9162 | 40.07 | -1.1538
44775.5878 | 40.07 | 43.49 | 41.45 | 29.25 | 29.99 | 30.45 | 39.77 | 30.51 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8967 | -0.072452 | 0.040651 | -0.015901 | 37.5105 | 48.7142 | 39.4431 | 37.5105 | 39.4431 | 39.4431 | 38.7989 | 39.77 | -0.97111
44775.5878 | 39.71 | 43.21 | 41.25 | 29.27 | 29.97 | 30.43 | 39.55 | 30.53 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.89 | -0.076211 | 0.039792 | -0.01821 | 37.1297 | 48.2029 | 39.0202 | 37.1297 | 39.0202 | 39.0202 | 38.39 | 39.55 | -1.16
44775.5878 | 39.71 | 43.13 | 41.31 | 29.25 | 29.97 | 30.45 | 39.31 | 30.51 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.89 | -0.074705 | 0.036969 | -0.018868 | 37.1734 | 47.6864 | 38.9961 | 37.1734 | 38.9961 | 38.9961 | 38.3886 | 39.31 | -0.92144
44775.5878 | 39.41 | 42.93 | 40.85 | 29.25 | 29.97 | 30.43 | 39.31 | 30.51 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8833 | -0.078609 | 0.043418 | -0.017596 | 36.8397 | 48.3483 | 38.7625 | 36.8397 | 38.7625 | 38.7625 | 38.1216 | 39.31 | -1.1884
44775.5878 | 39.15 | 42.61 | 40.55 | 29.27 | 29.97 | 30.43 | 39.15 | 30.49 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.89 | -0.079368 | 0.044169 | -0.017599 | 36.6312 | 48.0012 | 38.5205 | 36.6312 | 38.5205 | 38.5205 | 37.8907 | 39.15 | -1.2593
44775.5878 | 39.03 | 42.31 | 40.67 | 29.27 | 29.99 | 30.43 | 38.85 | 30.49 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8967 | -0.07671 | 0.035424 | -0.020643 | 36.6167 | 46.377 | 38.3061 | 36.6167 | 38.3061 | 38.3061 | 37.743 | 38.85 | -1.107
44775.5878 | 39.01 | 41.95 | 40.53 | 29.25 | 29.97 | 30.43 | 38.75 | 30.47 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8833 | -0.069812 | 0.0313 | -0.019256 | 36.7863 | 45.3834 | 38.3334 | 36.7863 | 38.3334 | 38.3334 | 37.8177 | 38.75 | -0.93228
44775.5878 | 38.63 | 41.53 | 40.53 | 29.25 | 29.99 | 30.43 | 38.61 | 30.49 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.89 | -0.071634 | 0.022457 | -0.024589 | 36.4525 | 43.8208 | 37.8113 | 36.4525 | 37.8113 | 37.8113 | 37.3584 | 38.61 | -1.2516
44775.5878 | 38.49 | 41.09 | 40.65 | 29.25 | 30.01 | 30.41 | 38.35 | 30.49 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.89 | -0.066038 | 0.01002 | -0.028009 | 36.4936 | 42.0247 | 37.5785 | 36.4936 | 37.5785 | 37.5785 | 37.2169 | 38.35 | -1.1331
44775.5878 | 38.01 | 40.67 | 40.53 | 29.25 | 29.99 | 30.39 | 38.33 | 30.47 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8767 | -0.070739 | 0.003264 | -0.033738 | 36.0056 | 40.9555 | 36.9832 | 36.0056 | 36.9832 | 36.9832 | 36.6573 | 38.33 | -1.6727
44775.5878 | 37.95 | 40.13 | 40.73 | 29.25 | 29.93 | 30.43 | 38.09 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | -0.059715 | -0.014208 | -0.036962 | 36.2332 | 39.0276 | 36.8395 | 36.2332 | 36.8395 | 36.8395 | 36.6374 | 38.09 | -1.4526
44775.5878 | 37.55 | 39.99 | 40.53 | 29.25 | 29.97 | 30.41 | 38.25 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8767 | -0.069026 | -0.013005 | -0.041015 | 35.6987 | 38.9907 | 36.389 | 35.6987 | 36.389 | 36.389 | 36.1589 | 38.25 | -2.0911
44775.5879 | 37.51 | 39.39 | 40.79 | 29.27 | 29.99 | 30.43 | 37.71 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8967 | -0.055172 | -0.03439 | -0.044781 | 36.0023 | 37.1067 | 36.2614 | 36.0023 | 36.2614 | 36.2614 | 36.1751 | 37.71 | -1.5349
44775.5879 | 37.51 | 39.05 | 40.61 | 29.25 | 29.93 | 30.41 | 37.55 | 30.47 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8633 | -0.045871 | -0.039211 | -0.042541 | 36.2282 | 36.5765 | 36.3135 | 36.2282 | 36.3135 | 36.3135 | 36.2851 | 37.55 | -1.2649
44775.5879 | 37.21 | 38.67 | 40.53 | 29.21 | 29.97 | 30.43 | 37.61 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | -0.045353 | -0.047937 | -0.046645 | 35.9922 | 35.867 | 35.9607 | 35.9922 | 35.9607 | 35.9607 | 35.9712 | 37.61 | -1.6388
44775.5879 | 37.11 | 38.43 | 40.65 | 29.23 | 29.91 | 30.37 | 38.49 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8367 | -0.041693 | -0.057448 | -0.049571 | 35.9928 | 35.2637 | 35.8018 | 35.9928 | 35.8018 | 35.8018 | 35.8655 | 38.49 | -2.6245
44775.5879 | 36.79 | 37.71 | 40.63 | 29.21 | 29.97 | 30.39 | 39.75 | 30.41 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8567 | -0.031149 | -0.079034 | -0.055092 | 35.9778 | 34.0298 | 35.4188 | 35.9778 | 35.4188 | 35.4188 | 35.6051 | 39.75 | -4.1449
44775.5879 | 36.73 | 37.51 | 40.75 | 29.23 | 29.93 | 30.41 | 39.73 | 30.43 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8567 | -0.026873 | -0.088252 | -0.057563 | 36.0295 | 33.6344 | 35.3164 | 36.0295 | 35.3164 | 35.3164 | 35.5541 | 39.73 | -4.1759
44775.5879 | 36.87 | 37.41 | 40.43 | 29.25 | 29.93 | 30.41 | 39.81 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8633 | -0.018561 | -0.08415 | -0.051355 | 36.3686 | 33.7127 | 35.5689 | 36.3686 | 35.5689 | 35.5689 | 35.8355 | 39.81 | -3.9745
44775.5879 | 36.87 | 37.21 | 40.03 | 29.23 | 29.97 | 30.35 | 39.71 | 30.37 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.85 | -0.011824 | -0.081091 | -0.046458 | 36.5457 | 33.6971 | 35.6795 | 36.5457 | 35.6795 | 35.6795 | 35.9682 | 39.71 | -3.7418
44775.5879 | 36.79 | 36.85 | 39.31 | 29.25 | 29.97 | 30.37 | 40.27 | 30.41 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.8633 | -0.0021562 | -0.075415 | -0.038785 | 36.7305 | 33.685 | 35.7946 | 36.7305 | 35.7946 | 35.7946 | 36.1066 | 40.27 | -4.1634
44775.5879 | 36.55 | 36.53 | 38.95 | 29.25 | 29.93 | 30.37 | 40.43 | 30.37 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.85 | 0.00074738 | -0.077289 | -0.038271 | 36.5701 | 33.4495 | 35.599 | 36.5701 | 35.599 | 35.599 | 35.9227 | 40.43 | -4.5073
44775.5879 | 36.53 | 36.31 | 38.33 | 29.27 | 29.91 | 30.37 | 40.55 | 30.39 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.85 | 0.0083722 | -0.06802 | -0.029824 | 36.7575 | 33.5989 | 35.7788 | 36.7575 | 35.7788 | 35.7788 | 36.105 | 40.55 | -4.445
44775.5879 | 36.57 | 36.17 | 37.77 | 29.27 | 29.97 | 30.37 | 41.29 | 30.37 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.87 | 0.015389 | -0.056578 | -0.020594 | 36.9954 | 33.8765 | 36.0402 | 36.9954 | 36.0402 | 36.0402 | 36.3586 | 41.29 | -4.9314
44775.5879 | 36.23 | 36.07 | 37.29 | 29.27 | 29.91 | 30.37 | 41.85 | 30.37 |  |  | 0.05 | 0.2 | 0.4 | 0.6 | 29.85 | 0.0063495 | -0.044775 | -0.019213 | 36.3941 | 34.1974 | 35.7581 | 36.3941 | 35.7581 | 35.7581 | 35.9701 | 41.85 | -5.8799
◀ Newest
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Modulised Ln Inputs, Physics Uncertain

## Data Out
Data Out (To Device)
Data entered into the channels below will be sent to the currently connected device as a comma-delimited string.
CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10

## Settings
Workbook Settings
Settings below will affect how data is read into the current workbook from data sources. Clear a field's contents to revert to its default setting.
Data interval (ms) | 150 | 150
Data rows | 15 | 120
Data channels | 10 | 10
Data orientation | Newest last | Newest last
WARNING: Changing settings may result in the loss of content and/or custom formatting in the Data In and Data Out worksheets. Always save before changing values.

## Manifest
USB Serial Device
This manifest was generated for the connected device. You can edit the device name and channel data here and the Data In worksheet will be updated.
Channels
Data Source Id
|  | Id | Name | Description | Unit of Measure | Active | 966C2B1B-D344-426D-A83D-694359566BF2 | 1
|  | CH1 | CH1 |  |  | ü | Data Interval (ms)
|  | CH2 | CH2 |  |  | ü | 150
|  | CH3 | CH3 |  |  | ü | Baud Rate
|  | CH4 | CH4 |  |  | ü | 115200
|  | CH5 | CH5 |  |  | ü
|  | CH6 | CH6 |  |  | ü
|  | CH7 | CH7 |  |  | ü
|  | CH8 | CH8 |  |  | ü
|  | CH9 | CH9 |  |  | ü
|  | CH10 | CH10 |  |  | ü