## Data In
Data In (From USB Serial Device (COM7))
Data coming from the current data source will appear below as it is received.
Current Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10
44775.5702 | 49.19 | 48.97 | 48.91 | 28.49 | 28.63 | 28.79 | 50.35 | 28.27
Historical Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10 | track velocity | a | b | c | Tc | k (AB) | k (BC) | k (AC) | Th (AB) | Th (BC) | Th (AC) | Th! (AB) | Th! (BC) | Th! (AC) | Th Pred | Th test | Delta | ABS(Delta) | Average(Delta) | [8 empty] | 0.05 | 45.19 | 0.05 | 45.07
44775.5695 | 45.07 | 45.09 | 44.77 | 27.91 | 28.05 | 28.11 | 45.41 | 27.71 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0233 | -0.0011726 | 0.018928 | 0.0088777 | 45.05 | 45.7485 | 45.222 | 45.05 | 45.222 | 45.222 | 45.1647 | 45.41 | -0.24532 | 0.24532 | 0.47715 | [8 empty] | 0.1 | 44.77 | 0.1 | 45.09
44775.5695 | 45.09 | 45.03 | 44.93 | 27.89 | 28.03 | 28.13 | 45.59 | 27.73 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0167 | 0.0035204 | 0.0058951 | 0.0047078 | 45.1502 | 45.2318 | 45.1706 | 45.1502 | 45.1706 | 45.1706 | 45.1638 | 45.59 | -0.42622 | 0.42622 | [9 empty] | 0.15 | 44.61 | 0.15 | 44.77
44775.5695 | 45.19 | 44.77 | 44.61 | 27.91 | 28.07 | 28.13 | 45.83 | 27.71 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0367 | 0.02479 | 0.0096078 | 0.017199 | 45.6205 | 45.0946 | 45.4876 | 45.6205 | 45.4876 | 45.4876 | 45.5319 | 45.83 | -0.29811 | 0.29811
44775.5695 | 44.99 | 44.65 | 44.33 | 27.89 | 28.03 | 28.11 | 46.41 | 27.73 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.01 | 0.020227 | 0.019418 | 0.019822 | 45.3369 | 45.3089 | 45.3299 | 45.3369 | 45.3299 | 45.3299 | 45.3323 | 46.41 | -1.0777 | 1.0777
44775.5696 | 45.35 | 44.81 | 44.11 | 27.91 | 28.03 | 28.11 | 47.17 | 27.73 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0167 | 0.031649 | 0.042577 | 0.037113 | 45.9074 | 46.3027 | 46.0054 | 45.9074 | 46.0054 | 46.0054 | 45.9727 | 47.17 | -1.1973 | 1.1973
44775.5696 | 45.93 | 44.61 | 44.23 | 27.91 | 28.05 | 28.17 | 47.51 | 27.75 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0433 | 0.076663 | 0.023205 | 0.049934 | 47.3552 | 45.397 | 46.8458 | 47.3552 | 46.8458 | 46.8458 | 47.0156 | 47.51 | -0.49439 | 0.49439
44775.5696 | 46.61 | 45.05 | 44.19 | 27.89 | 28.07 | 28.15 | 47.69 | 27.75 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0367 | 0.08773 | 0.051871 | 0.0698 | 48.313 | 46.9098 | 47.9527 | 48.313 | 47.9527 | 47.9527 | 48.0728 | 47.69 | 0.38284 | 0.38284
44775.5696 | 46.83 | 45.49 | 44.07 | 27.87 | 28.05 | 28.13 | 48.25 | 27.75 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0167 | 0.07389 | 0.084759 | 0.079325 | 48.2728 | 48.7179 | 48.3831 | 48.2728 | 48.3831 | 48.3831 | 48.3464 | 48.25 | 0.096353 | 0.096353
44775.5696 | 47.35 | 46.29 | 44.65 | 27.91 | 28.05 | 28.11 | 48.61 | 27.77 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0233 | 0.056408 | 0.09407 | 0.075239 | 48.4715 | 50.0712 | 48.8602 | 48.4715 | 48.8602 | 48.8602 | 48.7307 | 48.61 | 0.12065 | 0.12065
44775.5696 | 47.89 | 46.79 | 45.27 | 27.91 | 28.07 | 28.15 | 49.31 | 27.75 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0433 | 0.05702 | 0.084557 | 0.070789 | 49.0545 | 50.2442 | 49.3458 | 49.0545 | 49.3458 | 49.3458 | 49.2487 | 49.31 | -0.061257 | 0.061257
44775.5696 | 48.49 | 47.35 | 45.95 | 27.91 | 28.09 | 28.15 | 49.39 | 27.77 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.05 | 0.057389 | 0.075304 | 0.066347 | 49.6973 | 50.4871 | 49.8921 | 49.6973 | 49.8921 | 49.8921 | 49.8272 | 49.39 | 0.43719 | 0.43719
44775.5696 | 48.77 | 48.05 | 46.59 | 27.93 | 28.05 | 28.15 | 50.19 | 27.77 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0433 | 0.035356 | 0.075775 | 0.055566 | 49.5159 | 51.3238 | 49.9543 | 49.5159 | 49.9543 | 49.9543 | 49.8082 | 50.19 | -0.38184 | 0.38184
44775.5696 | 49.41 | 48.49 | 47.07 | 27.91 | 28.09 | 28.17 | 51.49 | 27.75 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0567 | 0.04404 | 0.072027 | 0.058034 | 50.3714 | 51.6561 | 50.6859 | 50.3714 | 50.6859 | 50.6859 | 50.5811 | 51.49 | -0.90894 | 0.90894
44775.5696 | 50.35 | 48.91 | 47.79 | 27.93 | 28.07 | 28.17 | 52.11 | 27.77 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0567 | 0.066774 | 0.055205 | 0.060989 | 51.8894 | 51.3443 | 51.752 | 51.8894 | 51.752 | 51.752 | 51.7978 | 52.11 | -0.31221 | 0.31221
44775.5696 | 51.39 | 49.65 | 48.13 | 27.91 | 28.07 | 28.15 | 53.15 | 27.77 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0433 | 0.077452 | 0.072946 | 0.075199 | 53.2701 | 53.0438 | 53.2133 | 53.2701 | 53.2133 | 53.2133 | 53.2323 | 53.15 | 0.08227 | 0.08227
44775.5696 | 51.95 | 50.63 | 48.51 | 27.91 | 28.09 | 28.15 | 53.55 | 27.77 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.05 | 0.056814 | 0.098593 | 0.077703 | 53.3472 | 55.5518 | 53.8812 | 53.3472 | 53.8812 | 53.8812 | 53.7032 | 53.55 | 0.15317 | 0.15317
44775.5696 | 52.77 | 51.11 | 50.07 | 27.95 | 28.11 | 28.15 | 54.49 | 27.81 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.07 | 0.069571 | 0.046189 | 0.05788 | 54.5496 | 53.3398 | 54.2418 | 54.5496 | 54.2418 | 54.2418 | 54.3444 | 54.49 | -0.14558 | 0.14558
44775.5696 | 53.41 | 52.07 | 50.47 | 27.93 | 28.09 | 28.13 | 55.19 | 27.81 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.05 | 0.054286 | 0.068933 | 0.06161 | 54.8248 | 55.6207 | 55.0216 | 54.8248 | 55.0216 | 55.0216 | 54.956 | 55.19 | -0.23404 | 0.23404
44775.5696 | 54.09 | 52.61 | 51.09 | 27.95 | 28.13 | 28.17 | 55.23 | 27.81 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0833 | 0.058592 | 0.063977 | 0.061284 | 55.6593 | 55.9579 | 55.7337 | 55.6593 | 55.7337 | 55.7337 | 55.7089 | 55.23 | 0.47887 | 0.47887
44775.5696 | 54.81 | 53.25 | 51.53 | 27.95 | 28.09 | 28.19 | 54.81 | 27.81 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0767 | 0.060126 | 0.070773 | 0.065449 | 56.4667 | 57.0777 | 56.6182 | 56.4667 | 56.6182 | 56.6182 | 56.5677 | 54.81 | 1.7577 | 1.7577
44775.5696 | 54.27 | 53.81 | 51.91 | 27.95 | 28.11 | 28.17 | 54.77 | 27.81 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0767 | 0.017718 | 0.076702 | 0.04721 | 54.7382 | 58.0765 | 55.5362 | 54.7382 | 55.5362 | 55.5362 | 55.2702 | 54.77 | 0.50023 | 0.50023
44775.5697 | 53.91 | 53.85 | 52.23 | 27.95 | 28.13 | 28.19 | 53.99 | 27.85 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.09 | 0.0023265 | 0.064953 | 0.03364 | 53.9701 | 57.4234 | 54.7933 | 53.9701 | 54.7933 | 54.7933 | 54.5189 | 53.99 | 0.52895 | 0.52895
44775.5697 | 53.85 | 53.59 | 52.99 | 27.95 | 28.13 | 28.19 | 53.41 | 27.83 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.09 | 0.010144 | 0.023811 | 0.016978 | 54.1127 | 54.8337 | 54.2911 | 54.1127 | 54.2911 | 54.2911 | 54.2316 | 53.41 | 0.8216 | 0.8216
44775.5697 | 53.15 | 53.59 | 53.05 | 27.95 | 28.13 | 28.21 | 52.81 | 27.85 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.0967 | -0.01741 | 0.02141 | 0.0019997 | 52.7176 | 54.7053 | 53.2002 | 52.7176 | 53.2002 | 53.2002 | 53.0393 | 52.81 | 0.2293 | 0.2293
44775.5697 | 52.57 | 53.09 | 52.69 | 28.01 | 28.13 | 28.19 | 52.05 | 27.85 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.11 | -0.021036 | 0.016142 | -0.002447 | 52.0608 | 53.9096 | 52.5102 | 52.0608 | 52.5102 | 52.5102 | 52.3604 | 52.05 | 0.31042 | 0.31042
44775.5697 | 51.99 | 52.37 | 52.51 | 27.97 | 28.15 | 28.23 | 51.37 | 27.85 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.1167 | -0.015792 | -0.0057558 | -0.010774 | 51.616 | 52.0924 | 51.7342 | 51.616 | 51.7342 | 51.7342 | 51.6948 | 51.37 | 0.32477 | 0.32477
44775.5697 | 51.35 | 51.93 | 52.21 | 27.97 | 28.15 | 28.21 | 50.95 | 27.85 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.11 | -0.024651 | -0.011686 | -0.018168 | 50.7841 | 51.3797 | 50.9316 | 50.7841 | 50.9316 | 50.9316 | 50.8824 | 50.95 | -0.067574 | 0.067574
44775.5697 | 50.73 | 51.23 | 51.47 | 28.01 | 28.17 | 28.21 | 50.93 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.13 | -0.021883 | -0.010336 | -0.016109 | 50.2408 | 50.7574 | 50.3688 | 50.2408 | 50.3688 | 50.3688 | 50.3262 | 50.93 | -0.60383 | 0.60383
44775.5697 | 50.47 | 50.87 | 51.09 | 27.97 | 28.17 | 28.19 | 50.35 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.11 | -0.017731 | -0.0096197 | -0.013675 | 50.077 | 50.4363 | 50.1663 | 50.077 | 50.1663 | 50.1663 | 50.1365 | 50.35 | -0.21346 | 0.21346
44775.5697 | 50.09 | 50.23 | 50.51 | 28.03 | 28.15 | 28.23 | 49.67 | 27.85 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.1367 | -0.0063569 | -0.012594 | -0.0094754 | 49.9509 | 49.6805 | 49.883 | 49.9509 | 49.883 | 49.883 | 49.9056 | 49.67 | 0.23561 | 0.23561
44775.5697 | 49.55 | 49.95 | 50.13 | 28.03 | 28.15 | 28.29 | 49.73 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.1567 | -0.018525 | -0.0082255 | -0.013375 | 49.1573 | 49.5944 | 49.2658 | 49.1573 | 49.2658 | 49.2658 | 49.2296 | 49.73 | -0.50038 | 0.50038
44775.5697 | 49.01 | 49.49 | 49.57 | 28.05 | 28.19 | 28.23 | 49.07 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.1567 | -0.022757 | -0.003743 | -0.01325 | 48.5408 | 49.3309 | 48.7355 | 48.5408 | 48.7355 | 48.7355 | 48.6706 | 49.07 | -0.39939 | 0.39939 |  | set 1 | 49.07 | 47.31 | 45.23 | 44.09 | 0 | 0.05 | 0.1 | 0.15
44775.5697 | 48.87 | 49.27 | 49.33 | 28.05 | 28.19 | 28.27 | 48.59 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.17 | -0.019139 | -0.0028396 | -0.010989 | 48.4776 | 49.1505 | 48.6438 | 48.4776 | 48.6438 | 48.6438 | 48.5884 | 48.59 | -0.0016299 | 0.0016299 |  | set 2 | 48.59 | 47.65 | 45.89 | 44.51
44775.5697 | 48.49 | 48.47 | 48.79 | 28.03 | 28.23 | 28.29 | 47.89 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.1833 | 0.00098538 | -0.015651 | -0.0073327 | 48.51 | 47.8448 | 48.3416 | 48.51 | 48.3416 | 48.3416 | 48.3978 | 47.89 | 0.50777 | 0.50777 |  | set 3 | 47.89 | 48.87 | 46.81 | 44.71
44775.5697 | 47.99 | 48.31 | 48.59 | 28.05 | 28.25 | 28.27 | 47.45 | 27.85 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.19 | -0.016032 | -0.013821 | -0.014926 | 47.6751 | 47.7615 | 47.6967 | 47.6751 | 47.6967 | 47.6967 | 47.6895 | 47.45 | 0.23946 | 0.23946 |  | set 4 | 47.45 | 49.79 | 47.39 | 45.57
44775.5697 | 47.27 | 48.17 | 47.97 | 28.07 | 28.19 | 28.23 | 46.53 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.1633 | -0.046028 | 0.010047 | -0.017991 | 46.4105 | 48.5761 | 46.9293 | 46.4105 | 46.9293 | 46.9293 | 46.7564 | 46.53 | 0.22638 | 0.22638 |  | set 5 | 46.53 | 49.99 | 48.59 | 46.31
44775.5697 | 46.99 | 47.31 | 47.57 | 28.07 | 28.19 | 28.29 | 45.75 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.1833 | -0.016872 | -0.013502 | -0.015187 | 46.6754 | 46.8004 | 46.7065 | 46.6754 | 46.7065 | 46.7065 | 46.6961 | 45.75 | 0.94614 | 0.94614 |  | set 6 | 45.75 | 50.33 | 49.61 | 46.87
44775.5697 | 46.27 | 46.97 | 47.33 | 28.05 | 28.25 | 28.27 | 45.09 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.19 | -0.037986 | -0.018988 | -0.028487 | 45.5961 | 46.2702 | 45.7622 | 45.5961 | 45.7622 | 45.7622 | 45.7068 | 45.09 | 0.61684 | 0.61684
44775.5698 | 45.31 | 46.41 | 46.97 | 28.09 | 28.25 | 28.27 | 44.97 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2033 | -0.06232 | -0.030294 | -0.046307 | 44.2765 | 45.3396 | 44.5359 | 44.2765 | 44.5359 | 44.5359 | 44.4494 | 44.97 | -0.52058 | 0.52058
44775.5698 | 44.65 | 45.91 | 46.47 | 28.09 | 28.23 | 28.27 | 44.91 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.1967 | -0.07379 | -0.031125 | -0.052457 | 43.4796 | 44.841 | 43.8091 | 43.4796 | 43.8091 | 43.8091 | 43.6993 | 44.91 | -1.2107 | 1.2107
44775.5698 | 44.55 | 44.75 | 46.01 | 28.11 | 28.19 | 28.27 | 44.57 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.19 | -0.012151 | -0.073331 | -0.042741 | 44.3524 | 42.491 | 43.8655 | 44.3524 | 43.8655 | 43.8655 | 44.0278 | 44.57 | -0.5422 | 0.5422
44775.5698 | 44.45 | 44.35 | 45.27 | 28.09 | 28.23 | 28.23 | 44.41 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.1833 | 0.0061665 | -0.055347 | -0.02459 | 44.5506 | 42.6559 | 44.0549 | 44.5506 | 44.0549 | 44.0549 | 44.2201 | 44.41 | -0.18988 | 0.18988
44775.5698 | 44.19 | 44.13 | 44.49 | 28.09 | 28.27 | 28.29 | 44.73 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2167 | 0.0037633 | -0.02237 | -0.0093036 | 44.2502 | 43.4337 | 44.0421 | 44.2502 | 44.0421 | 44.0421 | 44.1115 | 44.73 | -0.61854 | 0.61854
44775.5698 | 43.81 | 44.01 | 44.01 | 28.09 | 28.23 | 28.27 | 44.67 | 27.91 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.1967 | -0.012728 | 0 | -0.0063641 | 43.6125 | 44.01 | 43.711 | 43.6125 | 43.711 | 43.711 | 43.6781 | 44.67 | -0.99186 | 0.99186
44775.5698 | 44.09 | 43.73 | 43.67 | 28.11 | 28.25 | 28.29 | 44.93 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2167 | 0.022941 | 0.0038751 | 0.013408 | 44.4584 | 43.8507 | 44.3043 | 44.4584 | 44.3043 | 44.3043 | 44.3556 | 44.93 | -0.57437 | 0.57437
44775.5698 | 44.43 | 43.49 | 43.63 | 28.09 | 28.25 | 28.31 | 45.03 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2167 | 0.059726 | -0.0091245 | 0.025301 | 45.4279 | 43.2138 | 44.8454 | 45.4279 | 44.8454 | 44.8454 | 45.0396 | 45.03 | 0.0095767 | 0.0095767
44775.5698 | 44.57 | 43.77 | 43.41 | 28.09 | 28.25 | 28.31 | 45.41 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2167 | 0.050157 | 0.023418 | 0.036788 | 45.4111 | 44.5158 | 45.1828 | 45.4111 | 45.1828 | 45.1828 | 45.2589 | 45.41 | -0.15108 | 0.15108
44775.5698 | 44.65 | 43.97 | 43.19 | 28.09 | 28.23 | 28.29 | 45.91 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2033 | 0.042225 | 0.050737 | 0.046481 | 45.3593 | 45.6539 | 45.4325 | 45.3593 | 45.4325 | 45.4325 | 45.4081 | 45.91 | -0.50189 | 0.50189
44775.5698 | 44.95 | 44.13 | 43.27 | 28.11 | 28.23 | 28.29 | 45.89 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.21 | 0.050225 | 0.055534 | 0.052879 | 45.8122 | 46.0001 | 45.859 | 45.8122 | 45.859 | 45.859 | 45.8434 | 45.89 | -0.046572 | 0.046572
44775.5698 | 45.37 | 44.25 | 43.51 | 28.11 | 28.25 | 28.31 | 47.05 | 27.87 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2233 | 0.06755 | 0.047273 | 0.057411 | 46.5683 | 45.8392 | 46.3832 | 46.5683 | 46.3832 | 46.3832 | 46.4449 | 47.05 | -0.6051 | 0.6051
44775.5698 | 45.59 | 44.61 | 43.59 | 28.09 | 28.23 | 28.31 | 47.87 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.21 | 0.058039 | 0.064213 | 0.061126 | 46.6286 | 46.8574 | 46.6855 | 46.6286 | 46.6855 | 46.6855 | 46.6665 | 47.87 | -1.2035 | 1.2035
44775.5698 | 46.47 | 44.95 | 43.81 | 28.09 | 28.23 | 28.31 | 48.11 | 27.91 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.21 | 0.086912 | 0.07053 | 0.078721 | 48.128 | 47.486 | 47.9655 | 48.128 | 47.9655 | 47.9655 | 48.0197 | 48.11 | -0.090302 | 0.090302
44775.5698 | 47.31 | 45.23 | 44.09 | 28.11 | 28.23 | 28.31 | 49.25 | 27.91 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2167 | 0.11534 | 0.069357 | 0.092349 | 49.6443 | 47.7615 | 49.1572 | 49.6443 | 49.1572 | 49.1572 | 49.3196 | 49.25 | 0.069591 | 0.069591
44775.5698 | 47.65 | 45.89 | 44.51 | 28.11 | 28.27 | 28.31 | 50.21 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.23 | 0.095001 | 0.081365 | 0.088183 | 49.5854 | 49.0108 | 49.4403 | 49.5854 | 49.4403 | 49.4403 | 49.4887 | 50.21 | -0.72134 | 0.72134
44775.5698 | 48.87 | 46.81 | 44.71 | 28.11 | 28.25 | 28.31 | 50.55 | 27.89 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2233 | 0.10511 | 0.11989 | 0.1125 | 51.1583 | 51.8465 | 51.3285 | 51.1583 | 51.3285 | 51.3285 | 51.2717 | 50.55 | 0.72175 | 0.72175
44775.5699 | 49.79 | 47.39 | 45.57 | 28.13 | 28.23 | 28.31 | 50.59 | 27.91 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2233 | 0.11798 | 0.099772 | 0.10887 | 52.4905 | 51.6229 | 52.2706 | 52.4905 | 52.2706 | 52.2706 | 52.3439 | 50.59 | 1.7539 | 1.7539
44775.5699 | 49.99 | 48.59 | 46.31 | 28.11 | 28.27 | 28.33 | 51.61 | 27.93 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2367 | 0.066522 | 0.11881 | 0.092665 | 51.4863 | 54.0492 | 52.1021 | 51.4863 | 52.1021 | 52.1021 | 51.8968 | 51.61 | 0.28684 | 0.28684
44775.5699 | 50.33 | 49.61 | 46.87 | 28.13 | 28.27 | 28.35 | 52.21 | 27.91 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.25 | 0.033152 | 0.13728 | 0.085218 | 51.0743 | 56.3589 | 52.2941 | 51.0743 | 52.2941 | 52.2941 | 51.8875 | 52.21 | -0.3225 | 0.3225
44775.5699 | 51.49 | 49.67 | 47.91 | 28.13 | 28.29 | 28.33 | 51.95 | 27.93 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.25 | 0.08155 | 0.085739 | 0.083644 | 53.4646 | 53.6768 | 53.5175 | 53.4646 | 53.5175 | 53.5175 | 53.4999 | 51.95 | 1.5499 | 1.5499
44775.5699 | 51.69 | 50.33 | 49.33 | 28.15 | 28.29 | 28.35 | 52.55 | 27.97 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2633 | 0.059807 | 0.046376 | 0.053091 | 53.1338 | 52.4747 | 52.9674 | 53.1338 | 52.9674 | 52.9674 | 53.0228 | 52.55 | 0.47285 | 0.47285
44775.5699 | 51.59 | 51.01 | 48.93 | 28.15 | 28.33 | 28.35 | 53.05 | 27.93 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2767 | 0.025193 | 0.095956 | 0.060574 | 52.1848 | 55.8195 | 53.0458 | 52.1848 | 53.0458 | 53.0458 | 52.7588 | 53.05 | -0.29118 | 0.29118
44775.5699 | 52.07 | 51.01 | 49.37 | 28.17 | 28.29 | 28.35 | 53.41 | 27.93 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.27 | 0.04556 | 0.074852 | 0.060206 | 53.1794 | 54.6823 | 53.5469 | 53.1794 | 53.5469 | 53.5469 | 53.4244 | 53.41 | 0.014419 | 0.014419
44775.5699 | 52.35 | 50.87 | 50.21 | 28.19 | 28.33 | 28.37 | 54.03 | 27.95 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2967 | 0.063504 | 0.029674 | 0.046589 | 53.927 | 52.2502 | 53.4971 | 53.927 | 53.4971 | 53.4971 | 53.6404 | 54.03 | -0.38956 | 0.38956
44775.5699 | 52.83 | 51.69 | 50.15 | 28.19 | 28.31 | 28.35 | 54.19 | 27.99 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2833 | 0.047555 | 0.068057 | 0.057806 | 54.0255 | 55.103 | 54.2908 | 54.0255 | 54.2908 | 54.2908 | 54.2024 | 54.19 | 0.012352 | 0.012352
44775.5699 | 53.31 | 51.75 | 50.13 | 28.17 | 28.35 | 28.41 | 53.59 | 27.97 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.31 | 0.064432 | 0.071617 | 0.068024 | 54.9738 | 55.3598 | 55.0698 | 54.9738 | 55.0698 | 55.0698 | 55.0378 | 53.59 | 1.4478 | 1.4478
44775.5699 | 53.69 | 52.37 | 50.49 | 28.17 | 28.31 | 28.41 | 53.55 | 27.99 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.2967 | 0.053382 | 0.081313 | 0.067347 | 55.0824 | 56.6213 | 55.4591 | 55.0824 | 55.4591 | 55.4591 | 55.3335 | 53.55 | 1.7835 | 1.7835
44775.5699 | 52.93 | 52.81 | 51.19 | 28.19 | 28.37 | 28.41 | 53.83 | 27.99 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.3233 | 0.0048887 | 0.068449 | 0.036669 | 53.0506 | 56.4024 | 53.849 | 53.0506 | 53.849 | 53.849 | 53.5829 | 53.83 | -0.24711 | 0.24711
44775.5699 | 52.67 | 52.87 | 51.55 | 28.23 | 28.31 | 28.45 | 53.87 | 28.03 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.33 | -0.0081834 | 0.05529 | 0.023554 | 52.4716 | 55.7394 | 53.2501 | 52.4716 | 53.2501 | 53.2501 | 52.9906 | 53.87 | -0.87939 | 0.87939
44775.5699 | 53.15 | 52.49 | 51.91 | 28.25 | 28.37 | 28.45 | 53.13 | 28.03 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.3567 | 0.026981 | 0.024327 | 0.025654 | 53.828 | 53.6932 | 53.7943 | 53.828 | 53.7943 | 53.7943 | 53.8055 | 53.13 | 0.67553 | 0.67553
44775.5699 | 53.25 | 52.09 | 52.13 | 28.17 | 28.37 | 28.45 | 52.89 | 28.03 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.33 | 0.047667 | -0.0016821 | 0.022993 | 54.4666 | 52.0102 | 53.8296 | 54.4666 | 53.8296 | 53.8296 | 54.042 | 52.89 | 1.152 | 1.152
44775.5699 | 52.43 | 52.45 | 51.63 | 28.19 | 28.37 | 28.43 | 53.05 | 28.07 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.33 | -0.00082953 | 0.034588 | 0.016879 | 52.41 | 54.1776 | 52.8402 | 52.41 | 52.8402 | 52.8402 | 52.6968 | 53.05 | -0.35317 | 0.35317
44775.5699 | 52.19 | 52.25 | 51.37 | 28.19 | 28.35 | 28.45 | 52.67 | 28.07 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.33 | -0.0025115 | 0.037483 | 0.017486 | 52.1302 | 54.1121 | 52.6109 | 52.1302 | 52.6109 | 52.6109 | 52.4506 | 52.67 | -0.21936 | 0.21936
44775.57 | 52.37 | 51.69 | 51.47 | 28.23 | 28.37 | 28.49 | 52.43 | 28.07 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.3633 | 0.028734 | 0.009476 | 0.019105 | 53.0698 | 52.1363 | 52.8331 | 53.0698 | 52.8331 | 52.8331 | 52.912 | 52.43 | 0.48198 | 0.48198
44775.57 | 52.03 | 51.33 | 51.21 | 28.23 | 28.39 | 28.45 | 52.59 | 28.07 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.3567 | 0.030015 | 0.0052371 | 0.017626 | 52.7513 | 51.5719 | 52.451 | 52.7513 | 52.451 | 52.451 | 52.5511 | 52.59 | -0.038911 | 0.038911
44775.57 | 51.65 | 51.51 | 50.69 | 28.27 | 28.37 | 28.49 | 52.21 | 28.05 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.3767 | 0.0060336 | 0.03609 | 0.021062 | 51.7908 | 53.2415 | 52.1454 | 51.7908 | 52.1454 | 52.1454 | 52.0272 | 52.21 | -0.1828 | 0.1828
44775.57 | 51.67 | 51.17 | 50.65 | 28.25 | 28.41 | 28.51 | 51.65 | 28.09 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.39 | 0.021712 | 0.023092 | 0.022402 | 52.181 | 52.2467 | 52.1974 | 52.181 | 52.1974 | 52.1974 | 52.1919 | 51.65 | 0.54192 | 0.54192
44775.57 | 51.49 | 51.01 | 50.41 | 28.25 | 28.39 | 28.51 | 51.47 | 28.09 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.3833 | 0.020992 | 0.026875 | 0.023934 | 51.9802 | 52.2595 | 52.0497 | 51.9802 | 52.0497 | 52.0497 | 52.0265 | 51.47 | 0.55653 | 0.55653
44775.57 | 50.81 | 50.75 | 50.25 | 28.25 | 28.39 | 28.49 | 51.21 | 28.11 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.3767 | 0.0026782 | 0.022602 | 0.01264 | 50.8702 | 51.7845 | 51.0954 | 50.8702 | 51.0954 | 51.0954 | 51.0203 | 51.21 | -0.18971 | 0.18971
44775.57 | 50.51 | 51.03 | 50.05 | 28.27 | 28.41 | 28.51 | 50.65 | 28.11 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.3967 | -0.023243 | 0.044264 | 0.010511 | 50.0019 | 53.1251 | 50.7437 | 50.0019 | 50.7437 | 50.7437 | 50.4964 | 50.65 | -0.15358 | 0.15358
44775.57 | 50.47 | 49.97 | 49.85 | 28.29 | 28.39 | 28.51 | 50.09 | 28.13 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.3967 | 0.022912 | 0.005578 | 0.014245 | 50.9816 | 50.212 | 50.7867 | 50.9816 | 50.7867 | 50.7867 | 50.8517 | 50.09 | 0.76165 | 0.76165
44775.57 | 49.95 | 49.97 | 50.15 | 28.27 | 28.45 | 28.51 | 50.11 | 28.09 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.41 | -0.00092807 | -0.0083141 | -0.0046211 | 49.93 | 49.6145 | 49.8507 | 49.93 | 49.8507 | 49.8507 | 49.8771 | 50.11 | -0.23287 | 0.23287
44775.57 | 49.53 | 49.83 | 49.39 | 28.29 | 28.47 | 28.53 | 49.93 | 28.11 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.43 | -0.014118 | 0.020775 | 0.0033286 | 49.2342 | 50.7379 | 49.6004 | 49.2342 | 49.6004 | 49.6004 | 49.4783 | 49.93 | -0.4517 | 0.4517
44775.57 | 49.57 | 49.43 | 49.31 | 28.27 | 28.45 | 28.55 | 49.51 | 28.13 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4233 | 0.0066424 | 0.0057289 | 0.0061856 | 49.7109 | 49.6721 | 49.7012 | 49.7109 | 49.7012 | 49.7012 | 49.7045 | 49.51 | 0.19445 | 0.19445
44775.57 | 49.45 | 49.01 | 49.11 | 28.29 | 28.49 | 28.55 | 49.27 | 28.11 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4433 | 0.021168 | -0.0048505 | 0.0081589 | 49.8994 | 48.8114 | 49.6221 | 49.8994 | 49.6221 | 49.6221 | 49.7145 | 49.27 | 0.44453 | 0.44453
44775.57 | 48.87 | 48.99 | 48.43 | 28.29 | 28.45 | 28.55 | 49.37 | 28.09 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.43 | -0.0058537 | 0.027615 | 0.010881 | 48.7507 | 50.1575 | 49.0936 | 48.7507 | 49.0936 | 49.0936 | 48.9793 | 49.37 | -0.39069 | 0.39069
44775.57 | 48.69 | 49.05 | 48.25 | 28.31 | 28.47 | 28.57 | 49.19 | 28.11 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.45 | -0.01763 | 0.039609 | 0.010989 | 48.3363 | 50.7483 | 48.9137 | 48.3363 | 48.9137 | 48.9137 | 48.7212 | 49.19 | -0.4688 | 0.4688
44775.57 | 48.69 | 48.47 | 48.31 | 28.29 | 28.47 | 28.57 | 48.89 | 28.11 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4433 | 0.010925 | 0.0080214 | 0.0094734 | 48.9124 | 48.7939 | 48.8827 | 48.9124 | 48.8827 | 48.8827 | 48.8926 | 48.89 | 0.002617 | 0.002617
44775.57 | 48.39 | 48.19 | 48.27 | 28.31 | 28.47 | 28.57 | 49.23 | 28.11 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.45 | 0.010081 | -0.0040445 | 0.0030181 | 48.592 | 48.031 | 48.4503 | 48.592 | 48.4503 | 48.4503 | 48.4975 | 49.23 | -0.73248 | 0.73248
44775.57 | 48.37 | 48.27 | 47.69 | 28.29 | 28.49 | 28.57 | 49.49 | 28.11 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.45 | 0.0050327 | 0.0297 | 0.017366 | 48.4705 | 49.483 | 48.719 | 48.4705 | 48.719 | 48.719 | 48.6361 | 49.49 | -0.85386 | 0.85386
44775.5701 | 48.41 | 48.19 | 47.53 | 28.31 | 28.47 | 28.59 | 49.81 | 28.13 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4567 | 0.011087 | 0.034018 | 0.022553 | 48.6325 | 49.5793 | 48.8651 | 48.6325 | 48.8651 | 48.8651 | 48.7876 | 49.81 | -1.0224 | 1.0224
44775.5701 | 48.99 | 47.87 | 47.55 | 28.31 | 28.49 | 28.59 | 50.37 | 28.15 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4633 | 0.056108 | 0.016627 | 0.036367 | 50.1746 | 48.5262 | 49.7502 | 50.1746 | 49.7502 | 49.7502 | 49.8917 | 50.37 | -0.47829 | 0.47829
44775.5701 | 49.25 | 48.23 | 47.53 | 28.31 | 28.49 | 28.59 | 50.83 | 28.13 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4633 | 0.050315 | 0.036055 | 0.043185 | 50.3226 | 49.708 | 50.1673 | 50.3226 | 50.1673 | 50.1673 | 50.2191 | 50.83 | -0.6109 | 0.6109
44775.5701 | 49.71 | 48.61 | 47.19 | 28.35 | 28.49 | 28.61 | 50.87 | 28.15 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4833 | 0.053213 | 0.073166 | 0.063189 | 50.8701 | 51.7816 | 51.0946 | 50.8701 | 51.0946 | 51.0946 | 51.0198 | 50.87 | 0.14976 | 0.14976
44775.5701 | 50.31 | 48.79 | 47.69 | 28.35 | 28.51 | 28.57 | 51.03 | 28.13 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4767 | 0.07216 | 0.055673 | 0.063917 | 51.9437 | 51.1825 | 51.7511 | 51.9437 | 51.7511 | 51.7511 | 51.8153 | 51.03 | 0.7853 | 0.7853
44775.5701 | 50.23 | 49.23 | 47.89 | 28.33 | 28.51 | 28.61 | 51.31 | 28.15 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4833 | 0.047075 | 0.066769 | 0.056922 | 51.2782 | 52.194 | 51.5038 | 51.2782 | 51.5038 | 51.5038 | 51.4286 | 51.31 | 0.11858 | 0.11858
44775.5701 | 50.47 | 49.87 | 48.05 | 28.33 | 28.49 | 28.61 | 51.31 | 28.15 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4767 | 0.02766 | 0.088911 | 0.058286 | 51.0868 | 54.0334 | 51.79 | 51.0868 | 51.79 | 51.79 | 51.5556 | 51.31 | 0.2456 | 0.2456
44775.5701 | 50.79 | 49.79 | 48.63 | 28.35 | 28.49 | 28.61 | 51.11 | 28.21 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4833 | 0.045866 | 0.055981 | 0.050923 | 51.8369 | 52.3142 | 51.9554 | 51.8369 | 51.9554 | 51.9554 | 51.9159 | 51.11 | 0.80588 | 0.80588
44775.5701 | 51.03 | 49.99 | 49.27 | 28.35 | 28.51 | 28.61 | 51.33 | 28.17 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.49 | 0.047239 | 0.034062 | 0.04065 | 52.1203 | 51.5057 | 51.9651 | 52.1203 | 51.9651 | 51.9651 | 52.0169 | 51.33 | 0.68686 | 0.68686
44775.5701 | 50.65 | 50.19 | 49.23 | 28.35 | 28.49 | 28.63 | 51.37 | 28.17 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.49 | 0.020977 | 0.045248 | 0.033112 | 51.1198 | 52.2454 | 51.3961 | 51.1198 | 51.3961 | 51.3961 | 51.304 | 51.37 | -0.066048 | 0.066048
44775.5701 | 50.63 | 50.49 | 49.39 | 28.35 | 28.53 | 28.63 | 51.17 | 28.17 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.5033 | 0.0063473 | 0.051325 | 0.028836 | 50.7709 | 52.8668 | 51.2773 | 50.7709 | 51.2773 | 51.2773 | 51.1085 | 51.17 | -0.061477 | 0.061477
44775.5701 | 50.67 | 49.97 | 49.53 | 28.35 | 28.53 | 28.61 | 51.33 | 28.15 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.4967 | 0.032079 | 0.020703 | 0.026391 | 51.3928 | 50.8778 | 51.263 | 51.3928 | 51.263 | 51.263 | 51.3062 | 51.33 | -0.02375 | 0.02375
44775.5701 | 50.61 | 50.01 | 49.65 | 28.39 | 28.53 | 28.61 | 51.55 | 28.17 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.51 | 0.027525 | 0.016886 | 0.022205 | 51.2267 | 50.7485 | 51.1062 | 51.2267 | 51.1062 | 51.1062 | 51.1464 | 51.55 | -0.4036 | 0.4036
44775.5701 | 50.47 | 50.25 | 49.49 | 28.37 | 28.55 | 28.63 | 51.53 | 28.19 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.5167 | 0.010072 | 0.035595 | 0.022834 | 50.6922 | 51.8536 | 50.977 | 50.6922 | 50.977 | 50.977 | 50.8821 | 51.53 | -0.6479 | 0.6479
44775.5701 | 50.97 | 49.91 | 49.29 | 28.39 | 28.55 | 28.65 | 51.39 | 28.19 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.53 | 0.048389 | 0.029428 | 0.038909 | 52.0826 | 51.2061 | 51.8603 | 52.0826 | 51.8603 | 51.8603 | 51.9344 | 51.39 | 0.54439 | 0.54439
44775.5701 | 50.97 | 49.97 | 49.41 | 28.39 | 28.55 | 28.67 | 51.65 | 28.17 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.5367 | 0.045601 | 0.026475 | 0.036038 | 52.0167 | 51.1355 | 51.7932 | 52.0167 | 51.7932 | 51.7932 | 51.8677 | 51.65 | 0.21768 | 0.21768
44775.5701 | 50.77 | 50.49 | 49.31 | 28.37 | 28.53 | 28.67 | 51.83 | 28.17 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.5233 | 0.012666 | 0.055214 | 0.03394 | 51.0536 | 53.0548 | 51.538 | 51.0536 | 51.538 | 51.538 | 51.3765 | 51.83 | -0.45347 | 0.45347
44775.5702 | 50.75 | 50.37 | 49.29 | 28.39 | 28.57 | 28.69 | 51.59 | 28.21 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.55 | 0.017265 | 0.050763 | 0.034014 | 51.1366 | 52.7016 | 51.5181 | 51.1366 | 51.5181 | 51.5181 | 51.3909 | 51.59 | -0.19906 | 0.19906
44775.5702 | 51.29 | 50.15 | 49.67 | 28.41 | 28.57 | 28.67 | 51.67 | 28.21 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.55 | 0.051432 | 0.022473 | 0.036953 | 52.4902 | 51.143 | 52.146 | 52.4902 | 52.146 | 52.146 | 52.2607 | 51.67 | 0.59073 | 0.59073
44775.5702 | 51.15 | 50.33 | 49.67 | 28.39 | 28.57 | 28.69 | 51.79 | 28.21 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.55 | 0.036958 | 0.030772 | 0.033865 | 52.0009 | 51.7125 | 51.9284 | 52.0009 | 51.9284 | 51.9284 | 51.9526 | 51.79 | 0.16259 | 0.16259
44775.5702 | 50.81 | 50.49 | 49.31 | 28.45 | 28.57 | 28.75 | 51.49 | 28.17 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.59 | 0.014506 | 0.055387 | 0.034947 | 51.1347 | 53.0554 | 51.6002 | 51.1347 | 51.6002 | 51.6002 | 51.4451 | 51.49 | -0.044946 | 0.044946
44775.5702 | 51.07 | 50.39 | 49.33 | 28.41 | 28.59 | 28.73 | 51.33 | 28.25 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.5767 | 0.030698 | 0.049815 | 0.040256 | 51.7712 | 52.6752 | 51.994 | 51.7712 | 51.994 | 51.994 | 51.9197 | 51.33 | 0.58971 | 0.58971
44775.5702 | 51.05 | 50.45 | 49.77 | 28.41 | 28.59 | 28.73 | 50.97 | 28.21 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.5767 | 0.027061 | 0.031582 | 0.029321 | 51.6665 | 51.8762 | 51.7187 | 51.6665 | 51.7187 | 51.7187 | 51.7013 | 50.97 | 0.73129 | 0.73129
44775.5702 | 50.75 | 50.47 | 49.57 | 28.45 | 28.61 | 28.73 | 51.29 | 28.25 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.5967 | 0.01272 | 0.042016 | 0.027368 | 51.0336 | 52.3875 | 51.3647 | 51.0336 | 51.3647 | 51.3647 | 51.2543 | 51.29 | -0.035694 | 0.035694
44775.5702 | 50.33 | 50.47 | 49.31 | 28.47 | 28.59 | 28.75 | 50.65 | 28.25 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.6033 | -0.006423 | 0.054508 | 0.024042 | 50.1909 | 52.9886 | 50.8587 | 50.1909 | 50.8587 | 50.8587 | 50.6361 | 50.65 | -0.013908 | 0.013908
44775.5702 | 50.53 | 49.85 | 49.71 | 28.45 | 28.59 | 28.77 | 50.13 | 28.27 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.6033 | 0.031504 | 0.0066111 | 0.019057 | 51.2318 | 50.1328 | 50.9519 | 51.2318 | 50.9519 | 50.9519 | 51.0452 | 50.13 | 0.91517 | 0.91517
44775.5702 | 50.23 | 49.91 | 49.81 | 28.45 | 28.57 | 28.75 | 49.79 | 28.27 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.59 | 0.014898 | 0.0047015 | 0.0097997 | 50.5548 | 50.1114 | 50.4431 | 50.5548 | 50.4431 | 50.4431 | 50.4803 | 49.79 | 0.69034 | 0.69034
44775.5702 | 49.59 | 49.91 | 49.33 | 28.45 | 28.59 | 28.79 | 49.97 | 28.27 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.61 | -0.015137 | 0.027608 | 0.0062351 | 49.2748 | 51.1192 | 49.7212 | 49.2748 | 49.7212 | 49.7212 | 49.5724 | 49.97 | -0.39758 | 0.39758
44775.5702 | 49.29 | 49.69 | 49.27 | 28.49 | 28.61 | 28.79 | 49.85 | 28.29 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.63 | -0.019176 | 0.020145 | 0.00048426 | 48.8976 | 50.5558 | 49.3 | 48.8976 | 49.3 | 49.3 | 49.1659 | 49.85 | -0.68413 | 0.68413
44775.5702 | 49.37 | 49.19 | 49.03 | 28.49 | 28.61 | 28.77 | 49.57 | 28.29 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.6233 | 0.0087139 | 0.00781 | 0.008262 | 49.5516 | 49.5138 | 49.5421 | 49.5516 | 49.5421 | 49.5421 | 49.5453 | 49.57 | -0.024729 | 0.024729
44775.5702 | 49.19 | 48.97 | 48.91 | 28.49 | 28.63 | 28.79 | 50.35 | 28.27 |  |  | 0.05 | 0.05 | 0.1 | 0.15 | 28.6367 | 0.010762 | 0.0029552 | 0.0068584 | 49.4124 | 49.0905 | 49.3314 | 49.4124 | 49.3314 | 49.3314 | 49.3584 | 50.35 | -0.99158 | 0.99158
◀ Newest
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Modulised Ln Inputs, Physics Uncertain

## Data Out
Data Out (To Device)
Data entered into the channels below will be sent to the currently connected device as a comma-delimited string.
CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10

## Settings
Workbook Settings
Settings below will affect how data is read into the current workbook from data sources. Clear a field's contents to revert to its default setting.
Data interval (ms) | 150 | 150
Data rows | 15 | 120
Data channels | 10 | 10
Data orientation | Newest last | Newest last
WARNING: Changing settings may result in the loss of content and/or custom formatting in the Data In and Data Out worksheets. Always save before changing values.

## Manifest
USB Serial Device
This manifest was generated for the connected device. You can edit the device name and channel data here and the Data In worksheet will be updated.
Channels
Data Source Id
|  | Id | Name | Description | Unit of Measure | Active | E666CC70-A827-4E8A-AD76-BA039E1BE3B5 | 1
|  | CH1 | CH1 |  |  | ü | Data Interval (ms)
|  | CH2 | CH2 |  |  | ü | 150
|  | CH3 | CH3 |  |  | ü | Baud Rate
|  | CH4 | CH4 |  |  | ü | 115200
|  | CH5 | CH5 |  |  | ü
|  | CH6 | CH6 |  |  | ü
|  | CH7 | CH7 |  |  | ü
|  | CH8 | CH8 |  |  | ü
|  | CH9 | CH9 |  |  | ü
|  | CH10 | CH10 |  |  | ü